## 1200A
GENERAL
PAYMENT | ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
REFERS | NO
SANS 1200 A | 110.00 | GENERAL
FIXED CHARGE ITEMS
8.3 | 110.01 | Contractual Requirements | Item | 1
8.3.3 | 110.02 | Specific requirements
| 110.02.01 | Provision of security for Contract duration | Sum | 1
TIME RELATED ITEMS
8.4.1 | 110.03 | Contractual Requirements | Item | 1
PSA 8.4.6.2 | 110.03.01 | Security Services Costs | Month | 18
8.5 | 110.04 | Sums stated provisionally by the Engineer
8.5.2 | 110.04.01 | Training of labour | P.Sum | 1 | 250000 | 250000
| 110.04.02 | Overheads, charges and profit on item 110.04.01 | % | 250000 |  | 0
PSSC 9 | 110.04.03 | Provide administrative, planning and on the job training to SMME's | P.Sum | 1 | 216000 | 216000
PSSC 10 | 110.04.04 | Overhead, charges and profit on SMME training | % | 216000 |  | 0
8.7 | 110.05 | Daywork (Provisional)
| 110.05.01 | Allowance for labour | P.Sum | 1 | 2000000 | 2000000
TOTAL SECTION 1200 A CARRIED TO SUMMARY

## 1200C
SECTION 1200 C
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SANS | 130.00 | SITE CLEARANCE
1200 C
PSC | 130.01 | Clear and grub:
8.2.1
|  | .01 | Areas (chambers, structures, etc) |  | m² | 1322
|  | .02 | Strips, 3,0 m wide (water) |  | m | 6847
8.2.2 | 130.02 | Remove and grub large trees and tree
stumps of girth:
|  | .01 | Over 1,0 m and up to and including
|  |  | 2,0 m |  | number | 50
|  | .02 | Over 2,0 m and up to and including
|  |  | 3,0 m |  | number | 10
| 130.03 | Extra over item 130.02 above to Reinstate
Trees:
|  | .01 | Over 1,0 m and up to and including
|  |  | 2,0 m |  | number | 30
8.2.4 | 130.04 | Reclear surfaces (only on instructions
from the Engineer):
|  | .01 | Areas |  | m² | 50
|  | .02 | Strips, 3,0 m wide (water) |  | m | 100
8.2.5 | 130.05 | Take down existing fences |  |  | km | 10
8.2.7 | 130.06 | Demolish and remove structures
or buildings and dismantle steelwork etc.
|  | .01 | Carport and Name Boards |  | number | 115
|  | .02 | Carefully remove paving blocks for |  | m² | 28187
re-use (car parking)
|  | .03 | Asphalt surfacing (car parking) |  | m² | 1000
|  | .04 | Carefully remove paving blocks for
|  |  | re-use (Erf 3544) |  | m² | 775
| 130.07 | Extra over item 130.06 above for:
|  | .01 | Re-erection and Reinstatement of Carport |  | number | 115
and Name Boards
|  | .02 | Reinstatement of Paving Blocks
|  |  | (car parking) |  | m² | 14094
|  | .03 | Reinstatement of Asphalt/ concrete paving |  | m² | 1000
(car parking)
|  | .04 | Reinstatement of paving blocks for
|  |  | re-use (Erf 3544) |  | m² | 775
8.2.9 | 130.08 | Transport materials and debris to
|  | unspecified site and dump |  |  | m³ | 10
8.2.10 | 130.09 | Remove topsoil to nominal depth of
|  | 150 mm and stockpile |  |  | m³ | 3074
1200 C | Carried forward
SECTION 1200 C
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
Brought forward
PSC | 130.10 | Temporary fencing:
8.2.11
|  | .01 | 1,8 m barbed wire class B fence |  | m | 4900
PSC | 130.11 | Take down and re-erect existing fences
8.2.12
|  | .01 | Weldmesh fencing |  | m | 30
|  | .02 | Boundary Brick wall |  | m | 30
|  | .03 | Double Brick wall with Palisade fence |  | m | 30
|  | .04 | Palisade fence |  | m | 60
|  | .05 | Clear View(vu) fence or similar |  | m | 150
|  | .06 | Electrical fence |  | number | 20
PSC | 130.12 | Final finishing and cleaning up of the
8.2.13 |  | Site of the Works |  |  | sum | 1
TOTAL SECTION 1200 C CARRIED TO SUMMARY

## 1200 D
SECTION 1200 D
PAYMENT
REFERS | ITEM |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  | TITY
SANS | 140.00 | EARTHWORKS
1200 D
PSD | 140.06 | Topsoiling |  | m³ | 3074
8.3.10
8.3.11 | 140.07 | Grassing or other vegetation cover: |  | m² | 2700
TOTAL SECTION 1200 D CARRIED TO SUMMARY

## 1200DB
SECTION 1200 DB
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SANS | 142.00 | EARTHWORKS (PIPE TRENCHES)
1200 DB
TRENCHES FOR WATER PIPES
PSDB | 142.01 | Excavate in all materials for trenches,
8.3.2 |  | backfill, compact and dispose of surplus
material:
|  | .01 | Pipes over 125 mm dia up to 400 mm
dia for depths:
|  |  | .02 | Over 1,0 m up to 2,0 m | m | 62
PSDB
8.3.6 | 142.07 | Finishing:
|  | .01 | Reinstate road surfaces complete with
all courses:
|  |  | .01 | Gravel on shoulders | m³ | 10
|  |  | .02 | Asphalt of thickness 40 mm in
|  |  |  | parking area | m² | 450
|  |  | .03 | Gravel surfacing | m³ | 10
|  |  | .04 | Paving blocks/bricks | m² | 450
|  |  | .05 | Kerbing | m | 50
PSDB | 142.07 | Accommodation of traffic |  |  | sum | 1
8.3.7
PSDB | 142.08 | Supply all barricading and support |  |  | Sum | 1
8.3.13 |  | as required for the construction of the
bulk water line (within Erven 3544,
Juskei View Property)
TOTAL SECTION 1200 DB CARRIED TO SUMMARY

## 1200DK
SECTION 1200 DK
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SANS | 146.00 | GABIONS AND PITCHING
1200 DK
8.2.1 | 146.01 | Surface preparation for bedding of
gabions: 5 no. Scour Valves
|  | .01 | Cavities filled with approved excavated
|  |  | material or rock |  | m² | 126
8.2.2 | 146.02 | Gabions:
|  | .01 | Gabion boxes of galvanized wire:
|  |  | .01 | 100 mm x 100 mm mesh,
2,7 mm dia wire, 1,0 m x
|  |  |  | 1,0 m x 0,5 m boxes | m³ | 25
|  | .02 | Gabion mattresses of galvanized wire,
up to 0,3 m deep:
|  |  | .01 | 80 mm x 100 mm mesh,
2,6 mm dia wire, 6,0 m x
|  |  |  | 2,0 m x 0,3 m mattress | m³ | 38
8.2.4 | 146.03 | Geotextile:
|  | .01 | Grade 4 or approved equivalent |  | m² | 147
TOTAL SECTION 1200 DK CARRIED TO SUMMARY

## 2001 CC1
SECTION 2001 CC
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SANS | 170.00 | CONCRETE (STRUCTURAL)
2001 CC
SCHEDULED FORMWORK ITEMS
SD8.2.1 | 170.01 | Rough:
|  | .01 | Vertical formwork to:
|  |  | .01 | Outsides of sumps (floor edge and sides) | m² | 39
SD8.2.2 | 170.02 | Smooth:
|  | .01 | Vertical formwork to:
|  |  | .01 | Insides of chamber walls | m² | 634
|  |  | .02 | Outsides of chamber walls | m² | 694
|  |  | .03 | Insides of sumps | m² | 15
|  |  | .04 | Outsides of plinths and thrust blocks | m² | 42
|  |  | .05 | Outsides of floor slabs | m² | 83
|  | .04 | Horizontal formwork to:
|  |  | .01 | Soffits of roof slabs | m² | 58
SD8.2.6 | 170.04 | Box out holes/form voids:
|  | .01 | Small circular, of diameter up to and
including 0,35 m, and in the following
depth ranges:
|  |  | .01 | 0 m up to and including 0,5 m
(for 100 mm dia ventilator sleeve
|  |  |  | in roof slab) | number | 40
|  | .02 | Large, circular, of diameter over 0,35 m up to and
including 0,7 m and in the following depth ranges:
|  |  | .01 | 0 m up to and including 0,5 m (for 700 mm dia
|  |  |  | manhole cover and frame in roof slab) | number | 26
SCHEDULED REINFORCEMENT ITEMS
SD8.3.1 | 170.05 | Mild-steel and high-tensile steel bars (all diameters) |  |  | t | 32
SD8.4.2 | 170.06 | Blinding layer:
|  | .02 | Class 15 MPa/19 mm concrete of:
|  |  | .02 | 75 mm thickness | m² | 242
SD8.4.3 | 170.07 | Strength concrete:
|  | .01 | Class 20 MPa/19 mm concrete in:
|  |  | .01 | Thrust blocks | m³ | 20
|  |  | .02 | Plinths | m³ | 40
|  | .02 | Class 30 MPa/19 mm concrete in:
|  |  | .01 | Floor slabs and sumps | m³ | 87
|  |  | .02 | Walls | m³ | 169
|  |  | .03 | Roof slabs and upstands | m³ | 20
2001 CC | Carried forward
SECTION 1200 C
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
Brought forward
SD8.4.4 | 170.08 | Unformed surface finishes:
|  | .01 | Wood-floated finishes to:
|  |  | .01 | Floors and sumps | m² | 143
|  | .02 | Steel-floated finishes to:
|  |  | .01 | Roof slabs and upstands | m² | 233
|  |  | .02 | Plinths and thrust blocks including forming half
|  |  |  | round segments for pipes | m² | 21
SD8.6 | 170.11 | Manufacture (or supply) and erect
precast elements for units bigger than
0,5 m³ of formed concrete:
|  | .01 | The following types and sizes,
complete with box-outs for covers, etc,
lifting handles or hooks, reinforcing
(allow min 120 kg/m³), smooth off-
shutter finish to all surfaces, drip
grooves, etc:
|  |  | .01 | 3,275 m x 1,370 m x 200 mm thick
roof slab panel as shown on
Drawing No.
|  |  |  | 111242-0000-DRG-WW-0501 | number | 15
|  |  | .02 | 2,820 m x 1,350 m x 200 mm thick
roof slab panel as shown on
Drawing No.
|  |  |  | 111242-0000-DRG-WW-0502 | number | 5
|  |  | .03 | 2,820 m x 1,050 m x 200 mm thick
roof slab panel as shown on
Drawing No.
|  |  |  | 111242-0000-DRG-WW-0502 | number | 20
|  |  | .04 | 2,45 m x 2,45 m x 150 mm thick
roof slab panel, tapered down to
125 mm thick around edges as
shown on Drawing No.
|  |  |  | 111242-0000-DRG-WW-0500 | number | 9
|  |  | .05 | Square manhole shaft unit size
2,0 m x 2,0 m x 1,0 m high
internally with 125 mm thick walls
complete with toggle type joints
as supplied by SPC or equal
approved as shown on Drawing
|  |  |  | No. 111242-0000-DRG-WW-0500 | number | 18
|  |  | .06 | 2,700 m x 1,443 m x 150 mm thick
roof slab panel as shown on
Drawing No.
|  |  |  | 111242-0000-DRG-WW-0508 | number | 6
SD8.8 | 170.12 | HD bolts and miscellaneous metal work:
|  | .01 | Steel strap pipe fixing bracket
complete with malthoid packings
as shown on Drawing No's
111242-0000-DRG-WW-0502-0503
|  |  | .01 | 200 mm dia pipe | number | 10
2001 CC | Carried forward
SECTION 1200 C
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
Brought forward
SD8.8 | 170.12 | .02 | 10 mm thick x 2.020 m long x 1,60 m girth L-shaped
galvanized steel plate fixed with chemical anchors
at maximum 200 mm centres in both directions to
concrete walls and floors as shown on Drawing No.
|  |  | 111242-0000-DRG-WW-0502 |  | number | 5
|  | .03 | Galvanized mild steel grid formed of 100 mm x
3 mm thick x 1 600 mm long flat section base
plate with 20 mm dia x 150 mm long studs welded
welded on at 150 mm centres and six times bolted to
to concrete with chemical anchors as shown on
|  |  | Drawing No. 111242-0000-DRG-WW-0502 |  | number | 70
SD8.13 | 170.13 | Miscellaneous work other than metal
work:
|  | .01 | Malthoid insulation between steel
pipes and steel straps:
|  |  | .01 | 3 mm thick x 50 mm wide strips | m | 119
|  |  | .03 | 10 mm thick x 70 mm wide strips | m | 10
|  | .02 | Malthoid insulation between steel
pipes and concrete surfaces:
|  |  | .01 | 3 mm thick x 200 mm wide strips | m | 80
|  |  | .03 | HPDE insulation pads 1,6 mm thick between
steel pipes and concrete surfaces (at thrust
|  |  |  | blocks) | m² | 10
|  |  | .04 | Cement : sand floor screeds with falls including
|  |  |  | a smooth towelled finish to finish to top | m² | 250
SD8.12 | 170.14 | Cast in of pipes with or without puddle
flanges:
|  | .01 | Up to 300 mm nominal bore:
|  |  | .01 | Through 200 mm thick wall | number | 10
|  |  | .02 | Through 300 mm thick wall | number | 5
|  | .02 | Over 300 mm up to 700 mm nominal bore:
|  |  | .01 | Through 200 mm thick floor slab | number | 9
|  |  | .02 | Through 250 mm thick wall | number | 10
|  |  | .02 | Through 450 mm thick wall | number | 10
SANS | 170.15 | Accessories:
1200 LE
8.2.10 |  | .01 | Manhole covers including frames:
|  |  | .01 | 700mm diameter manhole cover
and frame with lockable cover to
SANS 558 Type 4 Mild Steel. As seen on
drawing no. 111242-0000-DRG-WW-0501
|  |  |  | (Detail B) | number | 26
|  | .02 | Step irons:
|  |  | .01 | Calcamite 4 Ever type step irons | number | 176
2001 CC | Carried forward
SECTION 1200 C
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
Brought forward
|  | .03 | Air breather as shown on Drawing No
111242-0000-DRG-WW-0502 complete
including casting into precast or in-situ
|  |  | concrete roof slabs |  | number | 40
SANS | 170.16 | Soilcrete:
1200 DB
PSDB 8.3.2 |  | .01 | Soilcrete backfill where directed by the
|  |  | Engineer |  | m³ | 100
| 170.17 | Pipes in subsurface drains:
|  | .01 | Normal duty uPVC pipes complete with couplings:
|  |  | .01 | 160 mm internal dia, perforated | m | 100
TOTAL SECTION 2001 CC CARRIED TO SUMMARY

## 1200HA
SECTION 1200 HA
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SANS | 181.00 | STRUCTURAL STEELWORK (SUNDRY
1200 HA |  | ITEMS)
PSHA
8.3.1 | 181.01 | Structural steel:
|  | .01 | Pipe support brackets complete with
100 x 10mm flat bar clamp lined with
990 x 100 x 10mm thick rubber strip
including 6mm thick gusset connected by
M16 SS bolts with nyloc nuts and 10mm
thick plate connected to 75 x 75 x 6mm
SS angle with 6mm thick ribs. Fixed to
concrete using 80 x 80 x 8mm SS angle
|  |  | and M16 stainless steel chemical anchors |  | number | 3
8.3.2 | 181.02 | Handrails
|  | .01 | Handrail assembly complete:
|  |  | .01 | Horizontal | m | 33
8.3.3 | 181.03 | Ladders, complete and installed:
|  | .01 | Galvanized mild steel ladders
bolted to concrete walls complete as
shown on Drawings
|  |  | .01 | Air Valve Chambers | number | 9
|  |  | .02 | Isolating Valve Chambers | number | 5
|  |  | .03 | Scour Valve Chambers | number | 5
|  |  | .04 | Water Meter Chambers | number | 2
|  | .02 | Galvanized mild steel ladders
bolted to concrete walls complete as
shown on Drawing no.
111242-0000-DRG-WW-0515
|  |  | .01 | Access Chamber 1 (10m high
|  |  |  | cat-ladder) | number | 3
|  | .03 | Galvanized mild steel ladders
bolted to concrete walls complete as
shown on Drawing no.
111242-0000-DRG-WW-0513
|  |  | .01 | Access Chamber 1 (4.45m high
|  |  |  | cat-ladder) | number | 1
8.3.4 | 181.04 | Walkway flooring, complete and installed
with frames:
|  | .01 | As shown on Drawing No
|  |  | 111242-0000-DRG-SS-3002 & 3003 |  | m² | 17
| 181.05 | Staircases, complete and installed :
|  | .01 | As shown on Drawing No
|  |  | 111242-0000-DRG-SS-3002 & 3003 |  | m² | 1
TOTAL SECTION 1200 HA CARRIED TO SUMMARY

## 1200L
SECTION 1200 L
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SANS | 210.00 | MEDIUM-PRESSURE PIPELINES
1200 L
8.2.1 | 210.03 | Supply, lay and bed on flexible pipe
bedding, complete with couplings:
|  | .02 | mPVC class 16, to SANS 966 Part 2
pipes with spigot and socket ends:
|  |  | .01 | 315 mm dia pipe | m | 62
8.2.2 | 210.06 | Extra over item 210.03.01 for the
supplying, laying and bedding of mPVC
specials complete with couplings:
|  | .01 | Flange adaptor:
|  |  | .01 | 315 mm dia | number | 3
|  | .02 | Blank flange:
|  |  | .01 | 315 mm dia | number | 3
|  | .03 | End caps:
|  |  | .01 | 315 mm dia | number | 3
PSL | 210.11 | Pipeline route markers:
8.2.18
|  | .01 | Type as shown on Drawing No
|  |  | 111242-0000-DRG-WW-0507 |  | number | 160
TOTAL SECTION 1200 L CARRIED TO SUMMARY

## 1200LB
SECTION 1200 LB
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SANS | 211.00 | BEDDING (PIPES)
1200 LB
BEDDING FOR WATER PIPES
|  | Note: |  | Beddings as shown on Drawing
No 111242-0000-DRG-WW-0504
PSLB
8.2.1 | 211.01 | Provision of bedding from trench
excavation:
|  | .01 | Selected granular material |  | m³ | 20
|  | .02 | Selected fill material |  | m³ | 20
PSLB | 211.02 | Supply only of bedding by importation:
8.2.2
|  | .01 | From other necessary excavations:
|  |  | .01 | Selected granular material | m³ | 5
|  |  | .02 | Selected fill material | m³ | 10
|  | .02 | From commercial sources:
|  |  | .01 | Selected granular material | m³ | 20
|  |  | .02 | Selected fill material | m³ | 113
TOTAL SECTION 1200 LB CARRIED TO SUMMARY

## 1200LE
SECTION 1200 LE
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 214.00 | STORMWATER DRAINAGE
1200 LE
8.2.10 | 214.01 | Accessories:
|  | .01 | Submersible pump connected to 160mm dia pipe |  | No | 2
PSLE | 214.02 | Pipes in subsurface drains:
8.2.14
|  | .01 | Normal duty uPVC pipes complete
with couplings:
|  |  | .01 | 160 mm internal dia, perforated | m | 100
|  |  | .02 | 160 mm internal dia, perforated | m | 28
PSLE | 214.03 | Geofabric
8.2.15
|  | .01 | A4 Bidum Geotextile or similar approved |  | m² | 8
PSLE | 214.04 | Crushed stone in subsurface drains
8.2.16
|  | .01 | Single sized crushed stone, ,nominal size
|  |  | 19mm clean washed aggregate |  | m³ | 4
TOTAL SECTION 1200 LE CARRIED TO SUMMARY

## PART PD
PARTICULAR SPECIFICATION PD
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
PD 10 |  | BUILDING WORK
| PD.01 | Brickwork:
|  | .01 | 230 mm thick, outside face: face brick
standard/extra/aesthetic, inside face:
non-facing plastered/extra, engineering
|  |  | bricks |  | m² | 548
|  | .02 | 230 mm thick, NFX solid plastered/
|  |  | extra, engineering bricks |  | m² | 548
| PD.02 | Plaster work:
|  | .01 | 15mm thick, steel-float finish |  | m² | 460
| PD.08 | Miscellaneous work:
|  | .01 | 2 x 50mm dia nextube sleeves @ 2500c/c |  | sum | 1
| PD.09 | 4 mm Derbigum fusion bonded waterproofing
including turn-ups, sealing along edges and
bituminous paint coat:
|  | .01 | Flat roofs including sides and
|  |  | tops of upstand beams |  | m² | 114
|  | .02 | Soild insecticide poisoning under footings,
bases, floors, etc as specified by the
|  |  | Architect with a ten year guarantee |  | m² | 140
TOTAL PARTICULAR SPECIFICATION PD CARRIED TO SUMMARY

## ELECTRICAL
ELECTRICAL WORKS
PAYMENT
REFERS | ITEM |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  | TITY
ELECTRICAL WORKS
BILL 5: LOW VOLTAGE CABLES
1. This Bill of Quantities shall be read in
conjunction with the Installer's Scope of
Work, Technical Specifications and the
Engineer design drawings with all other
Engineering decipline drawings.
2. All rates shall include Supply and Install.
These items shall the items in this Bill shall
include all wiring, cabling, connections,
terminations, installation and termination
accessories, possible cable-joints, cable-
glands, cable-ties, cable-clips, clamps,
shrouds, couplers, lugs, screw-caps, nuts,
connectors, terminal strips, heat-shrink,
insulating material, etc. for the electrical
cables and conductors. It is the
responsibility of the contractor to make a
fully working system.
3. It is the responsibility of the contractor to
ensure all items are allowed for in this Bill of
Quantities.
4. NB: It is the responsibility of the
contractor to supply a fully operational and
compliant system.
5. The electrical cable and wiring shall
comply with the SANS wiring colour codes:
Protective earth (PE) - green-yellow
Neutral (N) - black
Line, single phase (L) - red
Line, three phase (L1) - red
Line, three phase (L2) - yellow
Line, three phase (L3) - blue
6. The Contractor shall supply, install and
commission all the reticulation and
distribution cables as specified in the cable
schedules. The rate shall include for all the
labeling materials required to complete the
instalaltion. All cables will be installed in the
ground and enter the DB's via sleeves.
| 500 | PVC/PVC/SWA/PVC Cu
| 500.01 | 95mm², 4-Core |  | m | 340
| 500.02 | 10mm², 4-Core |  | m | 100
| 500.03 | 6mm², 3-Core |  | m | 100
| 500.04 | 4mm², 3-Core |  | m | 100
| 501 | BCEW (Bare Cu Earth Wire)
| 501.01 | 95mm², 1-Core |  | m | 340
| 501.02 | 6mm², 1-Core |  | m | 100
| 501.03 | 4mm², 1-Core |  | m | 200
| 502 | Ancillaries and accessories
| 502.01 | Any other item required for completion of the |  | Sum | 1
installation, not specified else where - specify
Total carried to summary
ELECTRICAL WORKS
PAYMENT
REFERS | ITEM |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  | TITY
BILL 6: CABLE ROUTING & WIRE WAYS
1. This Bill of Quantities shall be read in
conjunction with the Installer's Scope of
Work, Technical Specifications and the
Engineer design drawings with all other
Engineering decipline drawings.
2. All rates shall include Supply and Install.
These items shall the items in this Bill shall
include all wiring, cabling, connections,
terminations, installation and termination
accessories, possible cable-joints, cable-
glands, cable-ties, cable-clips, clamps,
shrouds, couplers, lugs, screw-caps, nuts,
connectors, terminal strips, heat-shrink,
insulating material, etc. for the electrical
cables and conductors. It is the
responsibility of the contractor to make a
fully working system.
3. It is the responsibility of the contractor to
ensure all items are allowed for in this Bill of
Quantities.
4. NB: It is the responsibility of the
contractor to supply a fully operational and
compliant system.
5. All items in this Bill of quantities are
remeasurable and only installed Quantities
will be paid for.
| 600 | Marker tape
| 600.01 | Supply and install PVC marker type suitably to |  | m | 450
be laid in cable trenches, 150mm wide, yellow
coloured and marked
"DANGER: ELECTRIC CABLE BELOW"
| 601 | Cable route marker
| 601.01 | 500x300x300mm Concrete cable route marker |  | No | 8
plate as per specification drawing
| 602 | Cable trenching
| 602.01 | Excavation, backfilling, leveling and carting away |  | m | 200
of excess material to cable trenches as specified,
600mm deep for LV cabling.
| 602.02 | Extra over excavation for excavation in soft rock |  | m | 100
(Provisional)
| 602.03 | Extra over excavation for excavation in hard rock |  | m | 100
(Provisional)
| 602.04 | Backfilling and compact of trench with imported |  | m | 200
soil (Provisional)
| 602.05 | Backfilling of cable trench with imported sifted |  | m | 200
soft soil 200mm thick (Provisional)
| 603 | Services holes (Man holes)
| 603.01 | 800mm deep, 800mm x 800mm services |  | No | 4
holes (manhole) with a heavy duty cast iron
cover and frame for sleeves and to pull cabling
and wiring through
| 604 | Trunking, for Electrical Wiring-(Gray)
Cross-arm supports shall be wide enough to
accommodate specified tray only, unless
otherwise satted. Hangers to be M8, not
not exceeding 1,2m spacings
| 604.01 | P9000 |  | m | 150
| 604.02 | Bend |  | No | 20
| 604.03 | T-Off |  | No. | 10
| 605 | Cable tray
MILD STEEL HOT DIPTED GALV.
PT-76 mild duty
Supply and install galv steel cable trays
complete with all wall and floor mounting
P2000 supports, splicing other fixing
materials required as per suppliers
speifications. Cable tray earth wire at
every joint.
| 605.01 | 300mm x 76mm - striaght runs |  | m | 150
(excluding cover)
| 606 | Cable tray - Wire Mesh
MILD STEEL HOT DIPTED GALV.
GS-50 gridspan Wire Mesh
Supply and install galv steel cable trays
complete with all wall and floor mounting
P2000 supports, splicing other fixing
materials required as per suppliers
speifications. Cable tray earth wire at
every joint.
| 606.01 | 300mm x 50mm - striaght runs |  | m | 300
| 606.02 | 300mm - T-off |  | No | 4
| 607 | Cable ladder -
MILD STEEL HOT DIPTED GALV.
Supply and install galv steel cable ladders
complete with all wall and floor mounting
supports, splicing other fixing
materials required as per suppliers
speifications. Cable tray earth wire at
every joint.
| 607.01 | 50mm x 50mm |  | m | 200
| 607.02 | T-offs |  | No | 12
| 608 | Conduits & Wire Ways
| 608.01 | 110mm diameter PVC sleeves |  | m | 250
| 608.02 | 50mm diameter PVC sleeves |  | m | 250
| 608.03 | 25mm GALV. steel conduit |  | m | 250
| 608.04 | 32mm GALV. steel conduit |  | m | 250
| 608.05 | 25mm PVC. conduit |  | m | 250
| 609 | Ancillaries and accessories
| 609.01 | Any other item required for completion of the |  | Sum | 1
installation, not specified else where - specify
Total carried to summary
ELECTRICAL WORKS
PAYMENT
REFERS | ITEM |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  | TITY
BILL 7: SMALL POWER & LIGHTING
1. This Bill of Quantities shall be read in
conjunction with the Installer's Scope of
Work, Technical Specifications and the
Engineer design drawings with all other
Engineering decipline drawings.
2. All rates shall include Supply and Install.
These items shall the items in this Bill shall
include all wiring, cabling, connections,
terminations, installation and termination
accessories, possible cable-joints, cable-
glands, cable-ties, cable-clips, clamps,
shrouds, couplers, lugs, screw-caps, nuts,
connectors, terminal strips, heat-shrink,
insulating material, etc. for the electrical
cables and conductors. It is the
responsibility of the contractor to make a
fully working system.
3. It is the responsibility of the contractor to
ensure all items are allowed for in this Bill of
Quantities.
4. NB: It is the responsibility of the
contractor to supply a fully operational and
compliant system.
5. All items in this Bill of quantities are
remeasurable and only installed Quantities
will be paid for.
| 700 | Supply, and install switched & unswitched
socket outlets points, surface/flush mounted
or flush in power skirting mounted, complete
with cradle, galvanized wall-draw box, cover
plate, including PVC/GALV. conduits and all
conduit accessories, all mounting
accessories, and wiring:
| 700.01 | 16A, Dual switched socket outlet, New ZA Plug |  | No | 6
recessed in wall. (SANS-164-1&2)
| 700.02 | 16A, Dedicated switched socket outlet (RED) |  | No | 6
| 700.03 | 16A, IP65 (water & dust proof) |  | No | 6
single switched socket outlet,
surface mounted on wall. (SANS-164-1&2)
| 700.04 | 32A, IP65 (water & dust proof) 5-PIN, |  | No | 2
400V, industrial welding socket outlet,
surface mounted on wall. (IEC 60 309-1, -2, -4)
| 700.05 | Power Skirting 2 Tier - Grey |  | m | 10
| 701 | Supply, and install isolator switch power
outlets points, surface/flush mounted,
complete with conduits and all conduit
accessories, mounting accessories,
and wiring:
| 701.01 | 32A, IP65 (water & dust proof) 3-Pole |  | No | 4
lockable isolator switch, for extractor fans,
surface mounted.
| 702 | Supply, deliver and install luminaires,
complete with all mounting accessories,
wiring terminations. Install luminaires as per
luminaire schedule in Annexure 3
| 702.01 | Type L5: 49W LED, 4000K |  | No | 30
LED vapor proof industrial luminaire, surface
mounted, IP66,
| 702.02 | Type L5E: 49W LED, 4000K |  | No | 10
LED vapour proof industrial luminaire, surface
mounted IP66, with electronic control gear,
60min self maintained battery back-up,
| 702.03 | Type L6: 52W LED, 4000K |  | No | 15
LED Linear Floodlight industrial luminaire, surface
mounted, IP66,
| 702.04 | Type L6E: 52W LED, 4000K |  | No | 5
LED Linear Floodlight industrial luminaire, surface
mounted IP66, with electronic control gear,
60min self maintained battery back-up,
| 702.05 | Type L2: 15-18W LED BULKHEAD, 4000K |  | No | 10
LED industrial luminaire, surface mounted, IP65,
| 702.06 | Type L4 STREET LIGHT 55W, LED luminaire |  | No | 1
| 703 | Glavanised steel light pole, including internal
wiring, circuit breakers, connectors for
4-core cabling + earth, earthing electrode,
surge protection, mounting accessories and
concrete foundation with reinforcement, etc.
| 703.01 | Galvanised steel light pole, 6m |  | No. | 1
| 703.02 | Cheery Picker Hire - |  | Sum | 1
| 704 | Supply, deliver and install light switch points
complete with cradle, cover plate, including
all mounting and installation accessories with
PVC/GALV. conduits and all conduit
accessories, wall boxes, wiring, etc.:
| 704.01 | 1 lever 1 way light switch, surface mounted |  | No. | 2
| 704.02 | 1 lever 1 way WATER TIGHT light switch |  | No. | 2
(water & dust proof), surface mounted
| 704.03 | Weather proof photo-cell light switch |  | No. | 2
| 705 | Ancillaries and accessories
| 705.01 | Any other item required for completion of the |  | Sum | 1
installation, not specified else where - specify
| 706 | Test Commission and Issue CoC |  | Sum | 1
Total carried to summary
ELECTRICAL WORKS
REFERENCES | BILL |  | ITEM | UNIT | QUAN- | RATE | AMOUNT
TITY
| Bill 5: | LOW VOLTAGE CABLES
| Bill 6: | CABLE ROUTING & WIRE WAYS
| Bill 7: | SMALL POWER & LIGHTING
TOTAL ELECTRICAL WORKS CARRIED TO SUMMARY

## SANS-SUM
JOHANNESBURG WATER
CONTRACT NO |  | JW 14324
FOR |  | HALFWAY HOUSE WATER UPGRADE PROJECT
SUMMARY OF SCHEDULE OF QUANTITIES:
SANS 1200 A | : | GENERAL . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SANS 1200 C | : | SITE CLEARANCE . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SANS 1200 D | : | EARTHWORKS . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SANS 1200 DB | : | EARTHWORKS (PIPE TRENCHES) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SANS 1200 DK | : | GABIONS AND PITCHING . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SANS 2001 CC | : | CONCRETE (STRUCTURAL) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SANS 1200 HA | : | STRUCTURAL STEELWORK (SUNDRY ITEMS) . . . . . . . . . . . . . . . . . . . . . . . | R
SANS 1200 L | : | MEDIUM-PRESSURE PIPELINES. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SANS 1200 LB | : | BEDDING (PIPES) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SANS 1200 LE | : | STORMWATER DRAINAGE . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
PARTICULAR SPECIFICATION PD: BUILDING WORK : . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
ELECTRICAL : . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .. . . . . . . . . |  | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
TOTAL OF SCHEDULE OF QUANTITIES CARRIED TO CALCULATION OF TENDER SUM |  |  | R
CALCULATION OF TENDER SUM
TOTAL OF SCHEDULE OF QUANTITIES . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
CONTINGENCIES
The tenderer shall add 10% of the total of Schedule of Quantities for Contingencies . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
SUBTOTAL . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
VALUE-ADDED TAX (VAT)
The tenderer shall add 15% of the subtotal for value-added tax . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
TENDER SUM CARRIED TO FORM OF TENDER |  |  | R