## Sheet1
SCHEDULE : REFURBISHMENT AND INSTALLATION OF SCREW PUMP no. 7 and 9 FOR SCREW PUMPSTATION AT OLIFANTSVLEI
ITEM No. | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | SECTION 1 : PRELIMINARY & GENERAL
1.1 | SCHEDULED FIXED-CHARGE AND VALUE RELATED ITEMS
1,1,1 | Compliance with the Health & Safety Specification | No | 1
1,1,2 | Compliance with the Environmental Management Plan | No. | 1
1.2 | Quality Control and Method Statement
1.2.1 | Quality Control Plan | No. | 1
1.3 | Inlet Pump Station - Olifantsvlei Works
1.3.1 | Refurbishment, Repairs and Installation
1.3.1.1 | Cutting of Damage Base Plate section for Screw Pump No.07 Drive Unit | No | 1
1.3.1.2 | Baseplate Assessment Report Olifantsvlei Works | No. | 1
1.3.1.3 | Based Plate materials Transportation to Olifantsvlei Works | No. | 1
1.3.2 | Base Plate Repairs - Screw Pump No. 07
1.3.2.1 | Repair of the Based Plate | No. | 1
1.3.2.2 | Non destructive testing | No. | 1
1.3.2.3 | Base Plate Stress Treatment | No. | 1
1.3.2.4 | Base Plate Blasting | No. | 1
1.3.2.5 | Corrossion Protection | No. | 1
1.3.3 | Supply , Delivery and Install - Screw Pump No. 07
1.3.3.1 | Base Plate Repaired Drive Unit checks and amendments | No. | 1
1.3.4 | Top Bearing for Screw Pump No. 07
1.3.4.1 | Supply and Delivery of Top Bearing | No. | 1
1.3.4.2 | Top Stub Shaft Bearing Installation | No. | 1
1.3.4.3 | Top Bearing Concrete Reconditioning | No. | 1
1.3.4.4 | Top Bearing Cover Repairs | No. | 1
1.3.4.5 | Top Bearing Installation | No. | 1
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
1.3.4.6 | Supply and Delivery Top Bearing Stud Shaft | No. | 1
1.3.4.7 | Supply and Delivery Top Bearing Cover | No. | 1
1.3.5 | Bottom Bearing for Screw Pump No. 07
1.3.5.1 | Supply and Delivery of Bottom Bearing Assembly | No. | 1
1.3.5.2 | Repair of Bottom Bearing Foot mount | No. | 1
1.3.5.3 | Foot Mount Reinstallation | No. | 1
1.3.5.4 | Rehabilitation of Damage Concrete | No. | 1
1.3.6 | Screw Pump Refurbishment No. 07
1.3.6.1 | Removal of the screw pump with mobile crane ( 120 - 200) ton | No. | 1
1.3.6.2 | Repair the bottom side of the screw for bottom bearing installation | No. | 1
1.3.6.3 | Re-instate the bottom bearing mounting treaded hole ( Line Boring) | No | 1
1.3.6.4 | Localised Corrosion Protection | No. | 1
1.3.6.5 | Re-installation of the screw pump with mobile crane ( 120 - 200) ton | No. | 1
1.3.7 | Gearbox and Screw Pump Coupling No. 07 & 09
1.3.7.1 | Geabox Coupling ( PN 725) | No. | 1
1.3.7.2 | Screw Pump Coupling (PN 725) | No. | 1
1.3.7.3 | Geabox Coupling Installation | No. | 1
1.3.7.4 | Screw Pump Coupling Installation | No. | 1
1.3.7.5 | Gearbox Refurbishment – 160kW ( Overhual Service and Bearing Kits) | No. | 2
1.3.7.6 | Repair of Screw Pump Top Bearing Housing | No. | 1
1.3.7.7 | Supply and Delivery of New Top Bearing Housing | No. | 1
1.3.8 | Motor and Gearbox Coupling No. 07 & 09
1.3.8.1 | Supply and Delivery Gearbox Coupling ( PN 235) | No. | 2
1.3.8.2 | Supply and Delivery Motor Coupling ( PN 235) | No. | 2
1.3.8.3 | Gearbox Coupling Installation | No. | 2
1.3.8.4 | Motor Coupling Installation | No. | 2
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
1.3.8.5 | Motor Refurbishment ( Complete Refurbishment with new terminal and Fan) | No. | 2
1.3.8.6 | Supply and Delivery of New Motor – 160kW | No. | 1 |  | Rate Only
1.3.9 | Supply, Delivery and Install MCC Components for Screw Pump no,07
1.3.9.1 | 3E0MCC02 : Inlet Works Screw Pump - Screw Pump 07 160 kW Motor Bucket | Sum | 1
1.3.9.2 | 3E0MCC02 : Inlet Works Screw Pump - Screw Pump 07 2,2kw Oil Pump Motor Bucket | Sum | 1
1.3.9.3 | Replacement of stolen power supply cables for Screw pump no.07 | Sum | 1
a | PVC/SWA/PVC/PVC Cu cable - 120 mm² x 4 Core | m | 30
b | PVC/SWA/PVC/PVC Cu Power cable- 120 mm² x 3 Core | m | 30
c | PVC/SWA/PVC/PVC cu Control Cable – 1.5 mm² x 10Core | m | 30
1.3.9.4 | Refurbishment of Change over Bucket - 1600A, 65KA, CAT B, 690V | No. | 1
1.3.9.5 | 3E1MCC01Refurbishment of Change over Bucket - 500A, 65KA | No. | 1
1.3.9.6 | Commissioning of Inlet Pump Station Back-up Generator | No. | 1
1.3.10 | Screw Pump Rough Localised Repairs No. 07 & 09
1.3.10.1 | Repair and Rehabilitation of Localised Damage Area | Sum | 1
1.3.10.2 | Supply, Delivery and Install complete oil pump with 2.2KW motor and associated pipework | No. | 2
1.3.11 | Supply, Delivery and Install Pump Station Lighting Inside
1.3.11.1 | Supply and Install Pump Station Lighting Outside ( LED Complete Fiting 12 lights) | Sum | 1
1.3.11.2 | Supply and Install Pump Station Lighting inside ( LED Complete Fiting 58 lights) | Sum | 1
1.3.11.3 | Supply and Install Street Lighting to Inlet Pump Station ( LED Complete Fiting 12 lights) | Sum | 2
1.3.11.4 | Missing Trunk Grating ( GRP Moulded Gratings) | m2 | 38.4
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
1.3,12 | Screw Pump Refurbishment No. 09
1.3.12.1 | Removal of the screw pump with mobile crane ( 120 - 200) ton | No. | 1
1.3.12.2 | Repair the bottom side of the screw for bottom bearing installation | No. | 1
1.3.12.3 | Re-instate the bottom bearing mounting treaded hole ( Line Boring) | No | 1
1.3.12.4 | Localised Corrosion Protection | No. | 1
1.3.12.5 | Re-installation of the screw pump with mobile crane ( 120 - 200) ton | No. | 1
1.3.12.6 | Supply ,Delivery and installation of Bottom Bearing Assembly | No. | 1
1.3.12.7 | Supply ,Delivery and installation Top Bearing | No | 1
1.3.12.8 | Trough Concrete Repair and rehabilitation | No. | 1
1.3.13 | Screw Pump Commissioning
1.3.13.1 | Screw Pump Commissioning | Sum | 1
1.3.14 | Screw Pump Critical Spares
1.3.14.1 | Supply and Delivery High Speed Coupling (PN 235)- ( Complete with associated bushes and pins) | No. | 2
1.3.14.2 | Supply and Delivery Top Bearing Stud Shaft | No. | 2
1.3.14.3 | Supply and Delivery of Bottom Bearing Assembly | No. | 2
1.3.14.4 | Supply and Delivery Coupling (PN 725)- ( Complete with associated bushes and pins) | No. | 2
1.3.14.5 | Supply and Deliver of 1600A 65KA Circuit Breaker | No. | 2
1.3.14.6 | Supply and Delivery of 160kW Soft Starter | No. | 2
1.3.14.7 | Supply and Delivery of 500A Fuses | No. | 12
1.3.15 | SCHEDULE 3:PROVISIONAL SUM
1.3.15.1 | Employer's provisional Sum | Sum | 1 |  | 600000
TOTAL OFFER
-397997