## SCHEDULE 1
CONTRACT NO |  | : JW14337
Section C2.2: Schedule of Quantities (Electrical and Electronic Works)
SCHEDULE1 : Preliminary and General
Item | Payment | Description | Unit | Qty | Rate | Amount
| Reference |  |  |  | (R) | (R)
SCHEDULE1 : Preliminary and General
1.1 | SANS | FIXED CHARGE ITEMS
1200 A
| 8.3.1 | Contractual Requirements
1.1.1 |  | Surety or bank guarantee | Sum | 1
1.1.2 |  | Insurance of Works | Sum | 1
1.1.3 |  | Common Law Liability insurance | Sum | 1
1.1.4 |  | Third Party insurance | Sum | 1
1.1.5 |  | Insurance of construction plant and equipment | Sum | 1
1.1.6 |  | Design and Drawings | Sum | 1
1.1.7 |  | Other (Detail ………………...................................................……….) | Sum | 1
(…................................................................................................)
1.1.8 |  | Advance Payment Guarantee or Other Forms of Guarantee that may be required, to the value of R5 million | Sum | 1
Forward cover
1.1.9 |  | In respect of the total value of imported content of goods used in the Treatment Works from page RD72 Imported Content Sheet:
R …...............................................................................................
1.1.10 |  | Allow a Provisional Sum to cover variation in exchange rate prior to obtaining forward cover. Tenderer is to insert an amount = 20% of the above amount from Item 1.1.9 | Prov. Sum | 1
1.1.11 |  | Allow a Provisional Sum to cover the cost of forward cover. Tenderer is to insert an amount = 10% of the above amount from Item 1.1.9 | Prov. Sum | 1
1.1.12 |  | Allowance as a percentage of the PC value of Items under 1.1.10 and 1.1.11 for Contractor's cost and profit. Tenderer to insert summed rate and state percentage. | %
| SANS 1200A | Establish Facilities on the Site
| 8.3.2.1 | Facilities for the Engineer
1.1.13 | PSAB | (c) Nameboards (2 No) (PSAB 3.1) | Sum | 1
8.3.9
1.1.14 | PSA 8.3.11 | Services for offices | Sum | 1
1.1.15 | PSAB 8.3.13 | (i) Personal Protection Equipment | Sum | 1
| SANS 1200A | Facilities for the Contractor
1.1.16 | 8.3.2.2 | (a) Offices and storage sheds | Sum | 1
1.1.17 |  | (b) Workshops | Sum | 1
1.1.18 |  | (d) Living accommodation | Sum | 1
1.1.19 |  | (e) Ablution and latrine facilities | Sum | 1
SUB-TOTAL CARRIED FORWARD
brought forward
1.1.20 |  | (f) Tools and equipment | Sum | 1
1.1.21 |  | (g) Water supplies, electric power & communications | Sum | 1
1.1.22 |  | (h) Dealing with water | Sum | 1
1.1.23 |  | (i) Access | Sum | 1
1.1.24 |  | (j) Plant | Sum | 1
1.1.25 | 8.3.3 | Other fixed charge obligations | Sum | 1
1.1.26 | 8.3.4 | Removal of site establishment | Sum | 1
1.1.27 |  | Compliance with the Occupational Health and Safety Act and Specification | Sum | 1
1.1.28 |  | Compliance with the Environmental Management Plan | Sum | 1
1.1.29 |  | Hazard Identification and Risk Assessment (OHS Spec Clause 4.1) | Sum | 1
1.1.30 |  | Health & Safety Plan (PS 7) | Sum | 1
1.1.31 |  | Construction Safety Officer and other appointments (OHS Spec Clause 4.3) | Sum | 1
1.1.32 | PSA 8.3.1 | Work Skills Plan and Implementation Report to CETA | Sum | 1
1.1.33 |  | Pre-employment medical examination (Clause 3.1 Annexure 2 of OHS Specification), including annual medicals and certificates, and exit medicals | Sum | 1
1.1.34 |  | Provision of Operating and Maintenance Manuals (Full version and Summary version for daily operator use) | Sum | 1
1.1.35 |  | Quality Control Plan and Compliance | Sum | 1
1.2 | SANS 1200A | TIME RELATED ITEMS
| 8.4 | Contractual Requirements
1.2.1 | 8.4.1 | Surety or bank guarantee | Sum | 1
1.2.2 |  | Insurance of works | Sum | 1
1.2.3 |  | Common Law Liability insurance | Sum | 1
1.2.4 |  | Third Party insurance | Sum | 1
1.2.5 |  | Insurance of construction plant and equipment | Sum | 1
1.2.6 |  | Other | Sum | 1
(Detail …………………………….......................................................)
SUB-TOTAL CARRIED FORWARD
brought forward
| 8.4.2 | Operate and Maintain Facilities on the Site
| 8.4.2.1 | Facilities for Engineer for the Duration of Construction
1.2.7 |  | (c) Nameboards (2 No.) | Sum | 1
1.2.8 | 8.3.11 | Services for offices | Sum | 1
1.2.9 | 8.3.12 | Treatment and maintenance of areas surrounding offices | Sum | 1
| 8.4.2.2 | Facilities for Contractor for the Duration of Construction
1.2.10 |  | (a) Offices and storage sheds | Sum | 1
1.2.11 |  | (b) Workshops | Sum | 1
1.2.12 |  | (d) Living accommodation | Sum | 1
1.2.13 |  | (e) Ablution and latrine facilities | Sum | 1
1.2.14 |  | (f) Tools and equipment | Sum | 1
1.2.15 |  | (g) Water supplies, electric power and communications, dealing with water and access | Sum | 1
1.2.16 |  | (h) Dealing with water | Sum | 1
1.2.17 |  | (i) Access | Sum | 1
1.2.18 |  | (j) Plant | Sum | 1
1.2.19 |  | Other time-related obligations
|  | ……………………………………………………… | Sum | 1
|  | ……………………………………………………… | Sum | 1
1.2.20 | 8.4.3 | Supervision for duration of construction | Sum | 1
1.2.21 |  | Project Management for the duration of the Contract | Sum | 1
1.2.22 |  | Quality Assurance and Quality Control | Sum | 1
1.2.23 |  | Servicing Visits during Defects Liability Period | No. | 4
1.2.24 | 8.4.4 | Company and head office overhead costs for the duration of the contract | Sum | 1
1.2.25 | 8.4.5 | Other time-related obligations (list) | Sum | 1
…..................................................................................................
Security for the duration of the contract
1.2.26 |  | Dayshift - 2 no. of armed guards (grade of guard to be determined by Contractor, appropriate for the assignment at hand), including patrol vehicles (if required) for the duration of the contract | Months | 12
SUB-TOTAL CARRIED FORWARD
brought forward
1.2.27 |  | Nightshift - 2 no. of armed guards (grade of guard to be determined by Contractor, appropriate for the assignment at hand), including patrol vehicles (if required) for the duration of the contract | Months | 12
1.2.28 |  | Compliance with the Occupational Health and Safety Act and Specification (Including compliance with COVID-19 Regulations) | Sum | 1
1.2.29 |  | Construction Safety Officer and Other Appointments | Sum | 1
1.2.30 |  | Hazard Identification and Risk Assessment (OHS Spec Clause 4.1) | Sum | 1
1.2.31 |  | Compliance with the Environmental Management Plan and Vegetation Management Plan | Sum | 1
1.2.32 | PSA 8.3.1 | Workplace Skills Plan and Implementation Report to CETA | Sum | 1
1.2.33 |  | Quality Control Plan and Compliance | Sum | 1
1.3 | PSA 8.7 | DAYWORK
1.3.1 |  | Expenditure on dayworks (i.e. wages paid to workmen and invoiced cost of materials, delivered on site) | Prov. Sum | 1 | 200000
| 8.7.2 | Extra over item above for supervision, overheads and all other costs related to the daywork items under items below for the following:
1.3.2 |  | Skilled artisans | % | 100000
1.3.3 |  | Unskilled labourers | % | 50000
1.3.4 |  | Material | % | 50000
TOTAL: SCHEDULE1 (CARRIED FORWARD TO SUMMARY)

## SCHEDULE 2
#REF! |  | : JW14337
Section C2.2: Schedule of Quantities (Electrical Works)
Schedule E2: ELECTRICAL CABLE RACKS
Item | Payment | Description | Unit | Qty | Rate | Amount
| Reference |  |  |  | (R) | (R)
2 |  | Schedule E2: ELECTRICAL CABLE RACKS
2.1 |  | RATE TO INCLUDE FOR THE SUPPLY ONLY OF THE FOLLOWING PLANT AND EQUIPMENT INCLUDING DELIVERY, STORAGE, QUALITY ASSURANCE AND ALL NECESSARY INSURANCE
2.1.1 | E02.7 | Supply and Delivery of Cable Ladders (all cable ladders must be covered )
a |  | 100mm x 76mm | m | 300
2.1.2. | E02.7 | Supply and Delivery of Horizontal Cable Ladder bends (all cable ladders must be covered )
a |  | 100mm x 76mm | ea | 8
2.1.3. | E02.7 | Supply and Delivery of Internal Cable Ladder bends (all cable ladders must be covered )
a |  | 100mm x 76mm | ea | 4
2.1.5. | E02.7 | Supply and Delivery of Cable Ladder Tee-pieces (all cable ladders must be covered )
a |  | 100mm x 76mm | ea | 3
2.2 |  | RATE TO INCLUDE ONLY FOR INSTALLATION, COMMISSIONING, TESTING AND ADJUSTING THE FOLLOWING PLANT AND EQUIPMENT AS A COMPLETELY SEPARATE OPERATION SOMETIME AFTER THE COMPLETION AND/OR ERECTION AND INSTALLATION, INCLUDING TRANSPORTATION AND ACCOMMODATION FOR PERSONNEL
2.2.1 | E02.7 | Installation of Cable Ladders (all cable ladders must be covered )
a |  | 100mm x 76mm | m | 300
2.2.2. | E02.7 | Installation of Horizontal Cable Ladder bends (all cable ladders must be covered )
a |  | 100mm x 76mm | ea | 8
2.2.3. | E02.7 | Installation of Internal Cable Ladder bends
a |  | 100mm x 76mm | ea | 4
2.2.5. | E02.7 | Installation of Cable Ladder Tee-pieces
a |  | 100mm x 76mm | ea | 3
TOTAL: SCHEDULE 2 (CARRIED FORWARD TO SUMMARY)

## SCHEDULE 3
CONTRACT NO |  | : JW14337
Section C2.2: Schedule of Quantities (Electrical and Electronic Works)
Schedule 3: Programmable Logic Controllers
Item | Payment | Description | Unit | Qty | Rate | Amount
| Reference |  |  |  | (R) | (R)
3 |  | Schedule 3: Programmable Logic Controllers
3.1 |  | RATE TO INCLUDE FOR THE SUPPLY ONLY OF THE FOLLOWING PLANT AND EQUIPMENT INCLUDING DELIVERY, STORAGE, QUALITY ASSURANCE AND ALL NECESSARY INSURANCE
3.1.1 | C3.10.5 | PC Amount for PLC system | Prov Sum | - | - | 1450000
3.1.2 | C3.10.5 | % Markup on PLC system | %
3.1.3 | C3.10.5 | PC Amount for SCADA Software | Prov Sum | - | - | 425000
3.1.4 | C3.10.5 | % Markup on SCADA Software | %
3.1.5 | C3.10.5 | PC Amount for testing and restoration of fibre network in the area | Prov Sum | - | - | 200000
3.1.6 | C3.10.5 | % Markup on FIBRE works | %
TOTAL: SCHEDULE 3 (CARRIED FORWARD TO SUMMARY)

## SCHEDULE 4
CONTRACT NO |  | : JW14337
Section C2.2: Schedule of Quantities (Electrical and Electronic Works)
Schedule 4: Electrical Distribution System
Item | Payment | Description | Unit | Qty | Rate | Amount
| Reference |  |  |  | (R) | (R)
4 |  | Schedule 4: Electrical Distribution System
4.1 |  | RATE TO INCLUDE FOR THE SUPPLY ONLY OF THE FOLLOWING PLANT AND EQUIPMENT INCLUDING DELIVERY, STORAGE, QUALITY ASSURANCE AND ALL NECESSARY INSURANCE
4.1.1 |  | Nett amount for MLSS and kiosk | Each | 2
4.1.2 |  | Nett amount for flow meter installation and kiosk | Sum | 2
4.1.3 |  | Nett amount for DO meter installation and kiosk | Sum | 3
4.1.4 |  | Nett amount for notices at all Buildings | Sum | 1
4.1.5 |  | Nett amount for lightning protection at New MCC for BR2 | Sum | 1
4.1.6 |  | Nett amount for MCC at BR2 | Sum | 1
4.1.7 |  | Nett amount for Fire Suppresion system in MCC at BR2 | Sum | 1
4.2 |  | RATE TO INCLUDE ONLY FOR HANDLING INCLUDING DOUBLE HANDLING IF STORED, TRANSPORTATION AND HANDLING ON SITE, ERECTION, QUALITY ASSURANCE AND INSTALLATION OF THE FOLLOWING PLANT AND EQUIPMENT
4.2.1 |  | Nett amount for MLSS and kiosk | Each | 2
4.2.2 |  | Nett amount for flow meter installation and kiosk | Sum | 2
4.2.3 |  | Nett amount for DO meter installation and kiosk | Sum | 3
4.2.4 |  | Nett amount for notices at all Buildings | Sum | 1
4.2.5 |  | Nett amount for lightning protection at New MCC for BR2 | Sum | 1
4.2.6 |  | Nett amount for MCC at BR2 | Sum | 1
4.2.7 |  | Nett amount for Fire Suppresion system in MCC at BR2 | Sum | 1
4.3 |  | RATE TO INCLUDE ONLY FOR COMMISSIONING, TESTING AND ADJUSTING THE FOLLOWING PLANT AND EQUIPMENT AS A COMPLETELY SEPARATE OPERATION SOMETIME AFTER THE COMPLETION AND/OR ERECTION AND INSTALLATION, INCLUDING TRANSPORTATION AND ACCOMMODATION FOR PERSONNEL
4.3.1 |  | Nett amount for MLSS meter and kiosk | Each | 2
4.3.2 |  | Nett amount for flow meter installation and kiosk | Sum | 2
4.3.3 |  | Nett amount for DO meter installation and kiosk | Sum | 3
4.3.4 |  | Nett amount for notices at all Buildings | Sum | 1
4.3.5 |  | Nett amount for lightning protection at New MCC for BR2 | Sum | 1
4.3.6 |  | Nett amount for MCC at BR2 | Sum | 1
4.3.7 |  | Nett amount for Fire Suppresion system in MCC at BR2 | Sum | 1
4.4 |  | Provisional sum for working on existing equipment, structures, etc. | ProvSum | 1 | 200000 | 200000
TOTAL: SCHEDULE 4 (CARRIED FORWARD TO SUMMARY)

## SCHEDULE 5
CONTRACT NO |  | :JW14337
Section C2.2: Schedule of Quantities (Electrical and Electronic Works)
Schedule 5: Electrical Installation in Buildings and on Structures
Item | Payment | Description | Unit | Qty | Rate | Amount
| Reference |  |  |  | (R) | (R)
5 |  | Schedule 5: Electrical Installation in Buildings and on Structures
5.1 |  | RATE TO INCLUDE FOR THE SUPPLY ONLY OF THE FOLLOWING PLANT AND EQUIPMENT INCLUDING DELIVERY, STORAGE, QUALITY ASSURANCE AND ALL NECESSARY INSURANCE
5.1.1 | C3.10.12 | Nett amount for complete electrical installation in existing MCC building | Sum | 1
| DRW's | Type A Light Fitting | Each | 10
| DRW's | Type B Light Fitting | Each | 10
5.2 |  | RATE TO INCLUDE ONLY FOR HANDLING INCLUDING DOUBLE HANDLING IF STORED, TRANSPORTATION AND HANDLING ON SITE, ERECTION, QUALITY ASSURANCE AND INSTALLATION OF THE FOLLOWING PLANT AND EQUIPMENT
5.2.1 | C3.10.12 | Nett amount for complete electrical installation in existing MCC building | Sum | 1
| DRW's | Type A Light Fitting | Each | 10
| DRW's | Type B Light Fitting | Each | 10
5.3 |  | RATE TO INCLUDE ONLY FOR COMMISSIONING, TESTING AND ADJUSTING THE FOLLOWING PLANT AND EQUIPMENT AS A COMPLETELY SEPARATE OPERATION SOMETIME AFTER THE COMPLETION AND/OR ERECTION AND INSTALLATION, INCLUDING TRANSPORTATION AND ACCOMMODATION FOR PERSONNEL
5.3.1 | C3.10.12 | Nett amount for complete electrical installation in existing MCC building | Sum | 1
| DRW's | Type A Light Fitting | Each | 10
| DRW's | Type B Light Fitting | Each | 10
TOTAL: SCHEDULE 5 (CARRIED FORWARD TO SUMMARY) | [5 empty] | 0

## SCHEDULE 6
CONTRACT NO |  | : JW14337
Section C2.2: Schedule of Quantities (Electrical and Electronic Works)
Schedule 6: Multicore Cables and Earthwires
Item | Payment | Description | Unit | Qty | Rate | Amount
| Reference |  |  |  | (R) | (R)
6 |  | Schedule 6: Multicore Cables and Earthwires
6.1 |  | RATE TO INCLUDE FOR THE SUPPLY ONLY OF THE FOLLOWING PLANT AND EQUIPMENT INCLUDING DELIVERY, STORAGE, QUALITY ASSURANCE AND ALL NECESSARY INSURANCE
6.1.1 | C3.10.10 | Nett amount for all cables, terminations, joints, cable route marking tape and other accessories carried forward from Excell cable schedule. (include electronic schedule as part of tender). | Sum | 1
6.1.2 | C3.10.10.18 | Nett amount for cable route markers | Each | 5
6.1.3 | C3.10.10.7 | Nett amount for concrete cable slabs | Each | 2
6.1.4 | C3.10.10.14 | Nett amount for cable name tags | Sum | 1
6.1.5 | C3.10.10.10-11 | Nett amount for cable supports | Sum | 1
6.1.6 | C3.10.10 | Nett amount for pump set sensor termination cubicle | Each | 0
6.1.7 |  | Nett amount for core drilling 100mm diameter holes through 250mm concrete | Each | 5
6.2 |  | RATE TO INCLUDE ONLY FOR HANDLING INCLUDING DOUBLE HANDLING IF STORED, TRANSPORTATION AND HANDLING ON SITE, ERECTION, QUALITY ASSURANCE AND INSTALLATION OF THE FOLLOWING PLANT AND EQUIPMENT
6.2.1 | C3.10.10 | Nett amount for all cables, terminations, joints, cable route marking tape and other accessories carried forward from Excell cable schedule. (include electronic schedule as part of tender). | Sum | 1
6.2.2 | C3.10.10.18 | Nett amount for cable route markers | Each | 5
6.2.3 | C3.10.10.7 | Nett amount for concrete cable slabs | Each | 2
6.2.4 | C3.10.10.14 | Nett amount for cable name tags | Sum | 1
6.2.5 | C3.10.10.10-11 | Nett amount for cable supports | Sum | 1
6.2.6 | C3.10.10 | Nett amount for pump set sensor termination cubicle | Each | 0
6.3 |  | RATE TO INCLUDE ONLY FOR COMMISSIONING, TESTING AND ADJUSTING THE FOLLOWING PLANT AND EQUIPMENT AS A COMPLETELY SEPARATE OPERATION SOMETIME AFTER THE COMPLETION AND/OR ERECTION AND INSTALLATION, INCLUDING TRANSPORTATION AND ACCOMMODATION FOR PERSONNEL
6.3.1 | C3.10.10 | Nett amount for all cables, terminations, joints, cable route marking tape and other accessories carried forward from Excell cable schedule. (include electronic schedule as part of tender). | Sum | 1
TOTAL: SCHEDULE 6 (CARRIED FORWARD TO SUMMARY)

## SCHEDULE 7
CONTRACT NO |  | : JW14337
Section C2.2: Schedule of Quantities (Electrical and Electronic Works)
Schedule 7: Power Supply Units
Item | Payment | Description | Unit | Qty | Rate | Amount
| Reference |  |  |  | (R) | (R)
7 |  | Schedule 7: Power Supply Units
7.1 |  | The tendered rate shall include full compensation for the manufacture, supply, testing and delivery of the UPS incorporating all options/extras as detailed in the detail specification.
7.1.1 |  | Supply and deliver UPS | No | 2
Supply and deliver 3kVA hybrid inverter with 4x100Ah batteries
7.1.2 |  | for PLC | No | 2
7.2 |  | The tendered rate shall include full compensation for the installation, site testing and commissioning plus the 12 months maintenance of the UPS incorporating all options/extras as detailed in the detail specification.
7.2.1 |  | Install standby UPS | No | 2
Supply and deliver 3kVA hybrid inverter with 4x100Ah batteries
7.2.2 |  | for PLC | No | 2
7.3 |  | The tendered rate shall include full compensation for the manufacture, supply, testing and delivery of the support platform/stand for UPS as detailed in the detail specification.
7.3.1 |  | Supply and deliver support platform/stand for UPS | No | 2
7.3.2 |  | Supply and deliver 3kVA hybrid inverter with 4x100Ah batteries | No | 2
for PLC
7.4 |  | The tendered rate shall include full compensation for the installation of the support platform/stand as detailed in the detail specification.
7.4.1 |  | Install support platform/stand for UPS | No | 2
TOTAL: SCHEDULE 7 (CARRIED FORWARD TO SUMMARY)

## SCHEDULE 8
CONTRACT NO |  | : JW14337
Section C2.2: Schedule of Quantities (Electrical and Electronic Works)
Schedule 8: Civil Works
Item | Payment | Description | Unit | Qty | Rate | Amount
| Reference |  |  |  | (R) | (R)
8 |  | Schedule 8: Civil Works
8.1 |  | Refurbishment of the Ceilings
8.1.1 |  | Replacement of damaged ceiling units | m2 | 15
8.1.2 |  | Painting of ceiling units | m2 | 2
8.2 |  | Replacement of the Building Door. The tendered rate shall include full compensation for the supply and installation of the same door type as installed (specifications of the door are provided on the as-built drawing for the Control Building) | No. | 1
TOTAL: SCHEDULE 8 (CARRIED FORWARD TO SUMMARY)

## SUMMARY
CONTRACT NO | :JW14337
Section C2.2: Schedule of Quantities (Electrical and Electronic Works)
Summary of Schedules (Electrical and Electronic Works)
SUMMARY OF BILL OF QUANTITIES
SECTION 1 | PRELIMINARY AND GENERAL | R
SECTION 2 | ELECTRICAL CABLE RACKS | R
SECTION 3 | PROGRAMMABLE LOGIC CONTROLLERS | R
SECTION 4 | ELECTRICAL DISTRIBUTION SYSTEM | R
SECTION 5 | ELECTRICAL INSTALLATION IN BUILDINGS AND ON STRUCTURES | R
SECTION 6 | MULTICORE CABLES AND EARTHWIRES | R
SECTION 7 | POWER SUPPLY UNITS | R
SECTION 8 | CIVIL WORKS | R
| Sub-Total 1 | R
The above prices are Firm/Not Firm*(delete one). IF NOT FIRM the client will allow for CONTRACT PRICE ADJUSTMENTS on all sums as provided for in Clause 6.8 of the General Conditions of Contract.
ADD | Escalation at 10% | R
| Sub-Total 2 | R
ADD | Contingency at 15% | R
| Sub-Total 3 | R
ADD | VAT @ 15% | R
| TOTAL CARRIED TO FORM OFFER | R