## Preliminaries and General
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION No. 1
BILL NO. 1
PRELIMINARIES AND GENERAL
PRELIMINARIES NOTES
Any reference to the words "Tender" or "Tenderer" herein and/or in any other documentation shall be construed to have the same meaning as the words "Bid" or "Bidder"
PRELIMINARIES
The JBCC Preliminaries Code 2103, May 2005 edition for use with the JBCC Principal Building Agreement Edition 4.1 Code 2101, March 2005 is taken to be incorporated herein. The tenderer is deemed to have referred to these documents for the full intent and meaning of each clause. These clauses are referred to by number and heading only. Where standard clauses or options are not applicable to the contract such modifications or corrections as are necessary are given under each relevant clause. Where an item is not relevant to this specific contract such item is marked "N/A" signifying "Not Applicable"
PRICING OF PRELIMINARIES
Should Option A, as set out in clause B10.3.1 hereinafter be used for the adjustment of preliminaries then each item priced is to be allocated to one or more of the three categories Fixed, Value Related or Time Related and the respective amounts entered in the spaces provided under each item
Items not priced in these Preliminaries shall be deemed to be included elsewhere in these Bills of Quantities
SECTION A: JBCC PRINCIPAL BUILDING AGREEMENT
DEFINITIONS
A | A1.0 DEFINITIONS AND INTERPRETATIONClause 1.0 Clause 1.1 Definition of "Commencement Date" is added:
"COMMENCEMENT DATE" means the date that the agreement, made in terms of the Form of Offer and Acceptance, comes into effect
Clause 1.1 Definition of "Construction Guarantee" is amended by replacing it with the following:
"CONSTRUCTION GUARANTEE" means a guarantee at call obtained by the contractor from an institution approved by the employer in terms of the employer's construction guarantee form as selected in the schedule
Clause 1.1 Definition of "Construction Period" is amended by replacing it with the following:
"CONSTRUCTION PERIOD" means the period commencing on the commencement date and ending on the date of practical completion
Clause 1.1 Definition of "Corrupt Practice" is added:
"CORRUPT PRACTICE" means the offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution
Clause 1.1 Definition of "Fraudulent Practice" is added:
"FRAUDULENT PRACTICE" means a mispresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of any tenderer and includes collusive practice among tenderers (prior to or after the tender submission) designed to establish tender prices at artificial non-competitive levels and to deprive the tenderer of the benefits of free and open competition
Total Carried Forward
Total Brought Forward
Clause 1.1 Definition of "Interest" is amended by replacing it with the following:
"INTEREST" means the interest rates applicable on this contract, whether specifically indicated in the relevant clauses or not, will be the rate as determined by the Minister of Finance, from time to time, in terms of section 80(1)(b) of the Public Finance Management Act, 1999 (Act No. 1 of 1999)
Clause 1.1 Definition of "Principal Agent" is amended by replacing it with the following:
"PRINCIPAL AGENT" means the person or entity appointed by the employer and named in the schedule. In the event of a principal agent not being appointed, then all the duties and obligations of a principal agent as detailed in the agreement shall be fulfilled by a representative of the employer as named in the schedule
Clause 1.1 Definition of "Security" is amended by replacing it with the following:
"SECURITY" means the form of security provided by the employer or contractor, as stated in the schedule, from which the contractor or employer may recover expense or loss
Clause 1.6 is amended by replacing the words "prepaid registered post, telefax or e-mail" with "prepaid registered post or telefax"
Clause 1.6.4 is amended by replacing it with the following:
No clause Fixed:....................... Value related:....................... Time related:......................
OBJECTIVE AND PREPARATION
A | A2.0 OFFER, ACCEPTANCE AND PERFORMANCE Clause 2.0 Fixed:......................... Value related:......................... Time related:...................... | Item
B | A3.0 DOCUMENTS Clause 3.0Clause 3.2.1 is amended by replacing"14.1" with "14.0"Clause 3.7 is amended by the addition of the following: The contractor shall supply and keep a copy of the JBCC Series 2000 Principal Building Agreement and Preliminaries applicable to this contract on the site, to which the employer, principal agent and agents shall have access at all timesClause 3.10 is amended by replacing the second reference to "principal agent" with the word "employer" Fixed:...................... Value related:.......................... Time related:........................ | Item
C | A4.0 DESIGN RESPONSIBILITY Clause 4.0Clause 4.3 is amended by replacing it with the following:No clause Fixed:............................ Value related:......................... Time related:.......................... | Item
D | A5.0 EMPLOYER'S AGENTS Clause 5.0 Clause 5.1.2 is amended to include clauses 32.6.3, 34.3, 34.4 and 38.5.8 Fixed:............................. Value related:......................... Time related:........................... | Item
E | A6.0 SITE REPRESENTATIVE Clause 6.0 Fixed:...................... Value related:....................... Time related:....................... | Item
F | A7.0 COMPLIANCE WITH REGULATIONS Clause 7.0 Note: A separate clause has been included in Section C : Specific Preliminaries of the bills of quantities / lump sum document for the contractor to have the opportunity to price for all the requirements of the Occupational Health and Safety Act, Construction Regulations and Health and Safety SpecificationFixed:........................ Value related:...................... Time related:...................... | Item
Total Carried Forward
Total Brought Forward
A | A8.0 WORKS RISK Clause 8.0 Fixed:........................ Value related:.......................... Time related:.......................... | Item
B | A9.0 INDEMNITIES Clause 9.0 Fixed:....................... Value related:........................ Time related:....................... | Item
C | A10.0 WORKS INSURANCES Clause 10.0 Clause 10.0 is amended by the addition of the following clauses:
10.5 Damage to the Works (a) Without in any way limiting the contractor's obligations in terms of the contract, the contractor shall bear the full risk of damage to and/or destruction of the works by whatever cause during construction of the works and hereby indemnifies and holds harmless the employer against any such damage. The contractor shall take such precautions and security measures and other steps for the protection and security of the works as the contractor may deem necessary
(b) The contractor shall at all times proceed immediately to remove or dispose of any debris arising from damage to or destruction of the works and to rebuild, restore, replace and/or repair the works
(c) The employer shall carry the risk of damage to or destruction of the works and materials paid for by the employer that is the result of the excepted risks as set out in 10.6
(d) Where the employer bears the risk in terms of this contract, the contractor shall, if requested to do so, reinstate any damage or destroyed portions of the works and the costs of such reinstatement shall be measured and valued in terms of 32.0 hereof
10.6 Injury to Persons or loss of or damage to Properties (a) The contractor shall be liable for and hereby indemnifies the employer against any liability, loss, claim or proceeding whether arising in common law or by statute, consequent upon personal injuries to or the death of any person whomsoever arising out of or in the course of or caused by the execution of the works unless due to any act or negligence of any person for whose actions the employer is legally liable
(b) The contractor shall be liable for and hereby indemnifies the employer against any liability, loss, claim or proceeding consequent upon loss of or damage to any moveable or immovable or personal property or property contiguous to the site, whether belonging to or under the control of the employer or any other body or person, arising out of or in the course of or by reason of the execution of the works unless due to any act or negligence of any person for whose actions the employer is legally liable
(c) The contractor shall, upon receiving a contract instruction from the principal agent, cause the same to be made good in a perfect and workmanlike manner at his own cost and in default thereof the employer shall be entitled to cause it to be made good and to recover the cost thereof from the contractor or to deduct the same from amounts due to the contractor
(d) The contractor shall be responsible for the protection and safety of such portions of the premises placed under his control by the employer for the purpose of executing the works until the issue of the certificate of practical completion
(e) Where the execution of the works involves the risk of removal of or interference with support to adjoining properties including land or structures or any structures to be altered or added to, the contractor shall obtain adequate insurance and will remain adequately insured or insured to the specific limit stated in the contract against the death of or injury to persons or damage to such property consequent on such removal or interference with the support until such portion of the works has been completed
Total Carried Forward
Total Brought Forward
(f) The contractor shall at all times proceed immediately at his own cost to remove or dispose of any debris and to rebuild, restore, replace and/or repair such property and to execute the works
10.7 High risk insurance In the event of the project being executed in a geological area classified as a "High Risk Area", that is an area which is subject to highly unstable subsurface conditions that might result in catastrophic ground movement evident by sinkhole or doline formation the following will apply:
10.7.1 Damage to the works The contractor shall, from the commencement date of the works until the date of the certificate of practical completion bear the full risk of and hereby indemnifies and holds harmless the employer against any damage to and/or destruction of the works consequent upon a catastrophic ground movement as mentioned above. The contractor shall take such precautions and security measures and other steps for the protection of the works as he may deem necessary
When so instructed to do so by the principal agent, the contractor shall proceed immediately to remove and/or dispose of any debris arising from damage to or destruction of the works and to rebuild, restore, replace and/or repair the works, at the contractor's own costs
10.7.2 Injury to persons or loss of or damage to property The contractor shall be liable for and hereby indemnifies and holds harmless the employer against any liability, loss, claim or proceeding arising at any time during the period of the contract whether arising in common law or by statute, consequent upon personal injuries to or the death of any person whomsoever resulting from, arising out of, or caused by a catastrophic ground movement as mentioned above
The contractor shall be liable for and hereby indemnifies the employer against any and all liability, loss, claim or proceeding consequent upon loss of or damage to any moveable or immovable or personal property or property contiguous to the site, whether belonging to or under the control of the employer or any other body or person whomsoever arising out of or caused by a catastrophic ground movement, as mentioned above, which occurred during the period of the contract
10.7.3 It is the responsibility of the contractor to ensure that he has adequate insurance to cover his risk and liability as mentioned in 10.7.1 and 10.7.2. Without limiting the contractor's obligations in terms of the contract, the contractor shall, within twenty one (21) calendar days of the commencement date but before commencement of the works, submit to the employer proof of such insurance policy, if requested to do so
A | 10.7.4 The employer shall be entitled to recover any and all losses and/or damages of whatever nature suffered or incurred consequent upon the contractor's default of his obligations as set out in 10.7.1; 10.7.2 and 10.7.3. Such losses or damages may be recovered from the contractor or by deducting the same from any amounts still due under this contract or under any other contract presently or hereafter existing between the employer and the contractor and for this purpose all these contracts shall be considered one indivisible whole Fixed:...................... Value related:....................... Time related:........................ | Item
B | A11.0 LIABILITY INSURANCES Clause 11.0 Fixed:........................ Value related:........................ Time related:........................ | Item
C | A12.0 EFFECTING INSURANCES Clause 12.0 Fixed:.......................... Value related:......................... Time related:........................... | Item
D | A13.0 No clause | N/A
E | A14.0 SECURITY Clause 14.0 Clauses 14.1 - 14.8 are amended by replacing them with the following:
Total Carried Forward
Total Brought Forward
14.1 In respect of contracts with a contract sum up to R1 million, the security to be provided by the contractor to the employer will be a payment reduction of five per cent (5%) of the value certified in the payment certificate (excluding VAT)
14.1.1 The payment reduction of the value certified in a payment certificate shall be mutatis mutandi in terms of 31.8(A)
14.1.2 The employer shall be entitled to recover expense and loss from the payment reduction in terms of 33.0 provided that the employer complies with the provisions of 33.4 in which event the employer's entitlement shall take precedence over his obligations to refund the payment reduction security or portions thereof to the contractor
14.2 In respect of contracts with a contract sum above R1 million, the contractor shall have the right to select the security to be provided in terms of 14.3, 14.4, 14.5, 14.6, or 14.7 as stated in the schedule. Such security shall be provided to the employer within twenty one (21) calendar days from commencement date. Should the contractor fail to select the security to be provided or should the contractor fail to provide the employer with the selected security within twenty one (21) calendar days from commencement date, the security in terms of 14.7 shall be deemed to have been selected
14.3 Where security as a cash deposit of ten per cent (10%) of the contract sum (excluding VAT) has been selected:
14.3.1 The contractor shall furnish the employer with a cash deposit equal in value to ten per cent (10%) of the contract sum (excluding VAT) within twenty one (21) calendar days from commencement date
14.3.2 Within twenty one (21) calendar days of the date of practical completion of the works the employer shall reduce the cash deposit to an amount equal to three per cent (3%) of the contract value (excluding VAT), and refund the balance to the contractor
14.3.3 Within twenty one (21) calendar days of the date of final completion of the works the employer shall reduce the cash deposit to an amount equal to one per cent (1%) of the contract value (excluding VAT) and refund the balance to the contractor
14.3.4 On the date of payment of the amount in the final payment certificate, the employer shall refund the remainder of the cash deposit to the contractor
14.3.5 The employer shall be entitled to recover expense and loss from the cash deposit in terms of 33.0 provided that the employer complies with the provisions of 33.4 in which event the employer's entitlement shall take precedence over his obligations to refund the cash deposit security or portions thereof to the contractor
14.3.6 The parties expressly agree that neither the employer nor the contractor shall be entitled to cede the rights to the deposit to any third party
14.4 Where security as a variable construction guarantee of ten percent (10%) of the contract sum (excluding VAT) has been selected:
14.4.1 The contractor shall furnish the employer with an acceptable variable construction guarantee equal in value to ten per cent (10%) of the contract sum (excluding VAT) within twenty one (21) calendar days from commencement date
14.4.2 The variable construction guarantee shall reduce and expire in terms of the Variable Construction Guarantee form included in the invitation to tender
14.4.3 The employer shall return the variable construction guarantee to the contractor within fourteen (14) calendar days of it expiring
Total Carried Forward
Total Brought Forward
14.4.4 Where the employer has a right of recovery against the contractor in terms of 33.0, the employer shall issue a written demand in terms of the variable construction guarantee
14.5 Where security as a fixed construction guarantee of five per cent (5%) of the contract sum (excluding VAT) and a five per cent (5%) payment reduction of the value certified in the payment certificate (excluding VAT) has been selected:
14.5.1 The contractor shall furnish a fixed construction guarantee to the employer equal in value to five per cent (5%) of the contract sum (excluding VAT)
14.5.2 The fixed construction guarantee shall come into force on the date of issue and shall expire on the date of the last certificate of practical completion
14.5.3 The employer shall return the fixed construction guarantee to the contractor within fourteen (14) calendar days of it expiring
14.5.4 The payment reduction of the value certified in a payment certificate shall be in terms of 31.8 (A) and 34.8
14.5.5 Where the employer has a right of recovery against the contractor in terms of 33.0, the employer shall be entitled to issue a written demand in terms of the fixed construction guarantee or may recover from the payment reduction or may do both
14.6 Where security as a cash deposit of five per cent (5%) of the contract sum (excluding VAT) and a payment reduction of five per cent (5%) of the value certified in the payment certificate (excluding VAT) has been selected:
14.6.1 The contractor shall furnish the employer with a cash deposit equal in value to five per cent (5%) of the contract sum (excluding VAT) within twenty one (21) calendar days from commencement date
14.6.2 Within twenty one (21) calendar days of the date of practical completion of the works the employer shall refund the cash deposit in total to the contractor
14.6.3 The payment reduction of the value certified in a payment certificate shall be mutatis mutandi in terms of 31.8(A)
14.6.4 Where the employer has a right of recovery against the contractor in terms of 33.0, the employer may issue a written notice in terms of 33.4 or may recover from the payment reduction or may do both
14.7 Where security as a payment reduction of ten per cent (10%) of the value certified in the payment certificate (excluding VAT) has been selected:
14.7.1 The payment reduction of the value certified in a payment certificate shall be mutatis mutandi in terms of 31.8(B)
14.7.2 The employer shall be entitled to recover expense and loss from the payment reduction in terms of 33.0 provided that the employer complies with the provisions of 33.4 in which event the employer's entitlement shall take precedence over his obligations to refund the payment reduction or portions thereof to the contractor
14.8 Payments made by the guarantor to the employer in terms of the fixed or variable construction guarantee shall not prejudice the rights of the employer or contractor in terms of this agreement
Total Carried Forward
Total Brought Forward
| 14.9 Should the contractor fail to furnish the security in terms of 14.2, the employer, in his sole discretion and without notification to the contractor, is entitled to change the contractor's selected form of security to that of a ten per cent (10%) payment reduction of the value certified in the payment certificate (excluding VAT), whereafter 14.7 shall be applicable Fixed:....................... Value related:...................... Time related:...................... | Item
EXECUTION
A | A15.0 PREPARATION FOR AND EXECUTION OF THE WORKS Clause 15.0 Clause 15.1.1 is amended by replacing it with: No clause Clause 15.1.2 is amended by replacing it with: The security selected in terms of 14.0
Clause 15.1 is amended by the addition of the following clause: 15.1.4 An acceptable health and safety plan, required in terms of the Occupational Health and Safety Act, 1993 (Act 85 of 1993), within twenty one (21) calendar days of commencement date
Clause 15.2.1 is amended by replacing it with the following clause:
| Give the contractor possession of the site within ten (10) working days of the contractor complying with the terms of 15.1.4 Fixed:........................... Value related:........................ Time related:.......................... | Item
B | A16.0 ACCESS TO THE WORKS Clause 16.0 Fixed:........................... Value related:......................... Time related:......................... | Item
C | A17.0 CONTRACT INSTRUCTIONS Clause 17.0 Clause 17.1.11 is amended by deleting the words "and the appointment of nominated and selected subcontractors" Fixed:........................ Value related:......................... Time related:........................ | Item
D | A18.0 SETTING OUT OF THE WORKS Clause 18.0 Fixed:........................ Value related:......................... Time related:......................... | Item
E | A19.0 ASSIGNMENT Clause 19.0 Fixed:......................... Value related:........................ Time related:......................... | Item
F | A20.0 NOMINATED SUBCONTRACTORS Clause 20.0 Clause 20.1.3 is amended by replacing it with the following: No clause Note: See item B9.1 hereinafter for adjustment of attendance on nominated subcontractors executing work allowed for under provisional sums Fixed:........................ Value related:........................... Time related:....................... | Item
G | A21.0 SELECTED SUBCONTRACTORS Clause 21.0 Clause 21 is amended by replacing it with: No clause Fixed:....................... Value related:......................... Time related:......................... | Item
H | A22.0 EMPLOYER'S DIRECT CONTRACTORS Clause 22.0 Fixed:........................ Value related:........................ Time related:.......................... | Item
I | A23.0 CONTRACTOR'S DOMESTIC SUBCONTRACTORS Clause 23.0 Fixed:......................... Value related:......................... Time related:........................ | Item
COMPLETION
J | A24.0 PRACTICAL COMPLETION Clause 24.0 Fixed:........................ Value related:........................... Time related:........................ | Item
K | A25.0 WORKS COMPLETION Clause 25.0 Fixed:.......................... Value related:.......................... Time related:....................... | Item
Total Carried Forward
Total Brought Forward
A | A26.0 FINAL COMPLETION Clause 26.0 Clause 26.1.2 is amended by inserting "#" next to 26.1.2 Fixed:........................ Value related:......................... Time related:.......................... | Item
B | A27.0 LATENT DEFECTS LIABILITY PERIOD Clause 27.0 Fixed:......................... Value related:......................... Time related:......................... | Item
C | A28.0 SECTIONAL COMPLETION Clause 28.0 Fixed:........................ Value related:........................ Time related:........................... | Item
D | A29.0 REVISION OF DATE FOR PRACTICAL COMPLETION Clause 29.0 Clause 29.2.5 is amended by replacing it with: No clause Fixed:........................ Value related:.......................... Time related:......................... | Item
E | A30.0 PENALTY FOR NON-COMPLETION Clause 30.0 Fixed:........................ Value related:......................... Time related:.......................... | Item
PAYMENT
F | A31.0 INTERIM PAYMENT TO THE CONTRACTOR Clause 31.0
Clause 31.5.2 is amended by replacing "14.7.1" with "14.0"
Clause 31.8 is amended by replacing it with the following two alternative clauses:
Alternative A 31.8(A) Where a security is selected in terms of 14.1; 14.5 or 14.6, the value of the works in terms of 31.4.1 and materials and goods in terms of 31.4.2 shall be certified in full. The value certified shall be subject to the following percentage adjustments:
31.8(A).1 Ninety five per cent (95%) of such value in interim payment certificates issued up to the date of practical completion
31.8(A).2 Ninety seven per cent (97%) of such value in interim payment certificates issued on the date of practical completion and up to but excluding the date of final completion
31.8(A).3 Ninety nine per cent (99%) of such value in interim payment certificates issued on the date of final completion and up to but excluding the final payment certificate in terms of 34.6
31.8(A).4 One hundred per cent (100%) of such value in the final payment certificate in terms of 34.6 except where the amount certified is in favour of the employer. In such an event the payment reduction shall remain at the adjustment level applicable to the final payment certificate
Alternative B
31.8(B) Where security as a payment reduction in terms of 14.7 has been selected, the value of the works in terms of 31.4.1 and materials and goods in terms of 31.4.2 shall be certified in full. The value certified shall be subject to the following percentage adjustments:
31.8(B).1 Ninety per cent (90%) of such value in interim payment certificates issued up to the date of practical completion
31.8(B).2 Ninety seven per cent (97%) of such value in interim payment certificates issued on the date of practical completion and up to but excluding the date of final completion
31.8(B).3 Ninety nine per cent (99%) of such value in interim payment certificates issued on the date of final completion and up to but excluding the final payment certificate in terms of 34.6
Total Carried Forward
Total Brought Forward
31.8(B).4 One hundred per cent (100%) of such value in the final payment certificate in terms of 34.6 except where the amount certified is in favour of the employer. In such an event the payment reduction shall remain at the adjustment level applicable to the final payment certificate
Clause 31.12 is amended by deleting the following:
A | Payment shall be subject to the employer giving the contractor a tax invoice for the amount due Fixed:......................... Value related:........................... Time related:....................... | Item
B | A32.0 ADJUSTMENT TO THE CONTRACT VALUE Clause 32.0 Clauses 32.5.1, 32.5.4 and 32.5.7 are amended by the addition of the following at the end of the sentence: "due to no fault of the contractor" Fixed:........................... Value related:......................... Time related:....................... | Item
C | A33.0 RECOVERY OF EXPENSE AND LOSS Clause 33.0 Fixed:........................ Value related:........................ Time related:........................... | Item
D | A34.0 FINAL ACCOUNT AND FINAL PAYMENT Clause 34.0 Clause 34.1 is amended by removing "#" next to 34.1 Clause 34.2 is amended by inserting "#" next to 34.2 Clause 34.8 is amended by deleting the words "where security as a fixed construction guarantee in terms of 14.4 has been selected or where payment reduction has been applied in terms of 14.7.1" Clause 34.13 is amended by replacing "seven (7) calendar days" with "twenty one (21) calendar days" and deleting the words "subject to the employer giving the contractor a tax invoice for the amount due" Fixed:.......................... Value related:........................ Time related:......................... | Item
E | A35.0 PAYMENT TO OTHER PARTIES Clause 35.0 Fixed:........................ Value related:........................... Time related:........................ | Item
CANCELLATION
F | A36.0 CANCELLATION BY EMPLOYER - CONTRACTOR'S DEFAULT Clause 36.0 Clause 36.1 is amended by the addition of the following clauses: 36.1.3 refuses or neglects to comply strictly with any of the conditions of contract 36.1.4 estate being sequestrated, liquidated or surrendered in terms of the insolvency laws in force within the Republic of South Africa 36.1.5 in the judgement of the employer, has engaged in corrupt or fraudulent practices in competing for or in executing the contract Clause 36.3 is amended by removing the reference to "No clause" and replacing the words "principal agent" with "employer"
Clause 36.0 is amended by the addition of the following clause:
| 36.7 Notwithstanding any clause to the contrary, on cancellation of this agreement either by the employer or the contractor; or for any reason whatsoever, the contractor shall on written instruction, discontinue with the works on a date stated and withdraw himself from the site. The contractor shall not be entitled to refuse to withdraw from the works on the grounds of any lien or right of retention or on the grounds of any other right whatsoever Fixed:........................ Value related:......................... Time related:.......................... | Item
G | A37.0 CANCELLATION BY EMPLOYER - LOSS AND DAMAGE Clause 37.0 Clause 37.3.5 is amended by replacing "ninety (90)" with "one hundred and twenty (120)"
Total Carried Forward
Total Brought Forward
| Clause 37.0 is amended by the addition of the following clause: 37.5 Notwithstanding any clause to the contrary, on cancellation of this agreement either by the employer or the contractor; or for any reason whatsoever, the contractor shall on written instruction, discontinue with the works on a date stated and withdraw himself from the site. The contractor shall not be entitled to refuse to withdraw from the works on the grounds of any lien or right of retention or on the grounds of any other right whatsoever Fixed:........................ Value related:......................... Time related:.......................... | Item
A | A38.0 CANCELLATION BY CONTRACTOR - EMPLOYER'S DEFAULT Clause 38.0 Clause 38.5.4 is amended by replacing "ninety (90)" with "one hundred and twenty (120)" Clause 38.0 is amended by the addition of the following clause:
B | 38.7 Notwithstanding any clause to the contrary, on cancellation of this agreement either by the employer or the contractor; or for any reason whatsoever, the contractor shall on written instruction, discontinue with the works on a date stated and withdraw himself from the site. The contractor shall not be entitled to refuse to withdraw from the works on the grounds of any lien or right of retention or on the grounds of any other right whatsoever Fixed:....................... Value related:.......................... Time related:.......................... | Item
C | A39.0 CANCELLATION - CESSATION OF THE WORKS Clause 39.0 Clause 39.3.5 is amended by the addition of the following at the end of the sentence: "within one hundred and twenty (120) working days of completion of such a report" Fixed:....................... Value related:.......................... Time related:......................... | Item
DISPUTE
D | A40.0 DISPUTE SETTLEMENT Clause 40.0 Clause 40.2.2 is amended by replacing "one (1) year" with "three (3) years" Clause 40.6 is amended by removing the reference to: No clause Clause 40.7.1 is amended by replacing "(10)" with "(15)" and by the addition of the following: Whether or not mediation resolves the dispute, the parties shall bear their own costs concerning the mediation and equally share the costs of the mediator and related costs Fixed:........................ Value related:.......................... Time related:........................ | Item
SUBSTITUTE PROVISIONS
E | A41.0 STATE CLAUSES Clause 41.0 Fixed:........................ Value related:......................... Time related:.......................... | Item
CONTRACT VARIABLES
F | A42.0 THE SCHEDULE (DPW-04EC) Clause 42.0 Tenderers are referred to the Contract Data DPW-04(EC) for variables pertaining to this contract Fixed:......................... Value related:.......................... Time related:........................ | Item
SECTION B: JBCC PRELIMINARIES
B1.0 DEFINITIONS AND INTERPRETATION
G | B1.1 Definitions and interpretation See also clause A1.0 of Section A for additional and/or amended definitions which shall apply equally to this Section Fixed:......................... Value related:.......................... Time related:........................ | Item
B2.0 DOCUMENTS
H | B2.1 Checking of documents Fixed:........................ Value related:.......................... Time related:......................... | Item
I | B2.2 Provisional bills of quantities Fixed:........................ Value related:.......................... Time related:......................... | Item
Total Carried Forward
Total Brought Forward
A | B2.3 Availability of construction documentation Fixed:........................... Value related:.......................... Time related:...................... | Item
B | B2.4 Interests of agents Fixed:.......................... Value related:.......................... Time related:....................... | Item
C | B2.5 Priced documents Fixed:........................ Value related:........................ Time related:........................... | Item
D | B2.6 Tender submission Clause 2.6 is amended by replacing "JBCC Form of Tender" with "Form of Offer and Acceptance DPW-07(EC)" Fixed:........................ Value related:.......................... Time related:......................... | Item
B3.0 THE SITE
E | B3.1 Defined works area Fixed:....................... Value related:.......................... Time related:.......................... | Item
F | B3.2 Geotechnical investigation Fixed:......................... Value related:......................... Time related:......................... | Item
G | B3.3 Inspection of the site Fixed:........................ Value related:......................... Time related:.......................... | Item
H | B3.4 Existing premises occupied Fixed:........................ Value related:........................ Time related:........................... | Item
I | B3.5 Previous work - dimensional accuracy Fixed:....................... Value related:............................ Time related:........................ | Item
J | B3.6 Previous work - defects Fixed:........................ Value related:........................... Time related:........................ | Item
K | B3.7 Services - known Fixed:........................ Value related:........................ Time related:........................... | Item
L | B3.8 Services - unknown Fixed:.......................... Value related:......................... Time related:........................ | Item
M | B3.9 Protection of trees Fixed:........................ Value related:........................ Time related:.......................... | Item
N | B3.10 Articles of value Fixed:.......................... Value related:........................ Time related:......................... | Item
O | B3.11 Inspection of adjoining properties Fixed:....................... Value related:............................ Time related:........................ | Item
B4.0 MANAGEMENT OF CONTRACT
P | B4.1 Management of the works Fixed:........................... Value related:........................ Time related:........................ | Item
Q | B4.2 Programme for the works Fixed:........................ Value related:........................... Time related:........................ | Item
R | B4.3 Progress meetings Fixed:...................... Value related:........................ Time related:............................ | Item
Total Carried Forward
Total Brought Forward
A | B4.4 Technical meetings Fixed:.......................... Value related:........................ Time related:......................... | Item
B | B4.5 Labour and plant records Fixed:.......................... Value related:.......................... Time related:....................... | Item
B5.0 SAMPLES, SHOP DRAWINGS AND MANUFACTURERS" INSTRUCTIONS
C | B5.1 Samples of materials Fixed:........................ Value related:......................... Time related:.......................... | Item
D | B5.2 Workmanship samples Fixed:.......................... Value related:.......................... Time related:....................... | Item
E | B5.3 Shop drawings Fixed:........................ Value related:............................ Time related:....................... | Item
F | B5.4 Compliance with manufacturers' instructions Fixed:.......................... Value related:......................... Time related:........................ | Item
B6.0 TEMPORARY WORKS AND PLANT
G | B6.1 Deposits and fees Fixed:......................... Value related:.......................... Time related:........................ | Item
H | B6.2 Enclosure of the works Fixed:....................... Value related:........................ Time related:........................... | Item
I | B6.3 Advertising Fixed:.......................... Value related:........................ Time related:......................... | Item
J | B6.4 Plant, equipment, sheds and offices Fixed:......................... Value related:........................... Time related:....................... | Item
K | B6.5 Main notice board Fixed:......................... Value related:.......................... Time related:........................ | Item
L | B6.6 Subcontractors' notice board Fixed:......................... Value related:......................... Time related:......................... | Item
B7.0 TEMPORARY SERVICES
M | B7.1 Location Fixed:......................... Value related:............................ Time related:...................... | Item
N | B7.2 Water Fixed:...................... Value related:........................ Time related:........................... | Item
O | B7.3 Electricity Fixed:........................ Value related:......................... Time related:......................... | Item
P | B7.4 Telecommunication facilities Fixed:.......................... Value related:........................ Time related:......................... | Item
Q | B7.5 Ablution facilities Fixed:......................... Value related:......................... Time related:......................... | Item
B8.0 PRIME COST AMOUNTS
R | B8.1 Responsibility for prime cost amounts Fixed:......................... Value related:.......................... Time related:........................ | Item
Total Carried Forward
Total Brought Forward
B9.0 ATTENDANCE ON N/S SUBCONTRACTORS
A | B9.1 General attendance Fixed:........................ Value related:.......................... Time related:......................... | Item
B | B9.2 Special attendance Fixed:.......................... Value related:.......................... Time related:....................... | Item
C | B9.3 Commissioning - fuel, water and electricity Fixed:......................... Value related:........................ Time related:.......................... | Item
B10.0 FINANCIAL ASPECTS
D | B10.1 Statutory taxes, duties and levies Fixed:........................ Value related:......................... Time related:.......................... | Item
E | B10.2 Payment for preliminaries Fixed:....................... Value related:........................ Time related:............................ | Item
F | B10.3 Adjustment of preliminariesClauses B10.3.1 and B10.3.2 are amended by replacing "within fifteen (15) working days of taking possession of the site" with "when submitting his priced bills of quantities / lump sum document" Fixed:........................ Value related:.......................... Time related:......................... | Item
G | B10.4 Payment certificate cash flow Fixed:........................ Value related:........................... Time related:........................ | Item
B11.0 GENERAL
H | B11.1 Protection of the works Fixed:........................ Value related:......................... Time related:.......................... | Item
I | B11.2 Protection / isolation of existing / sectionally occupied works Fixed:......................... Value related:........................... Time related:....................... | Item
J | B11.3 Security of the works Fixed:........................ Value related:........................... Time related:........................ | Item
K | B11.4 Notice before covering work Fixed:.......................... Value related:........................... Time related:...................... | Item
L | B11.5 Disturbance Fixed:......................... Value related:......................... Time related:......................... | Item
M | B11.6 Environmental disturbance Fixed:......................... Value related:........................... Time related:....................... | Item
N | B11.7 Works cleaning and clearing Fixed:........................ Value related:____________ Time related:____________ | Item
O | B11.8 Vermin Fixed:........................ Value related:......................... Time related:.......................... | Item
P | B11.9 Overhand work Fixed:.......................... Value related:.......................... Time related:....................... | Item
Q | B11.10 Instruction manuals and guarantees Fixed:.......................... Value related:......................... Time related:........................ | Item
R | B11.11 As built information Fixed:......................... Value related:.......................... Time related:........................ | Item
Total Carried Forward
Total Brought Forward
A | B11.12 Tenant installations Fixed:......................... Value related:....................... Time related:........................... | Item
B12.0 SCHEDULE OF VARIABLES
B | B12.1 Schedule of variables Fixed:.......................... Value related:.......................... Time related:....................... | Item
This schedule contains all variables referred to in this document and is divided into pre-tender and post-tender categories. The pre-tender category must be completed in full and included in the tender documents. Both the pre-tender and post-tender categories form part of these Preliminaries
Spaces requiring information must be filled in, shown as "not applicable" or deleted and not left blank. Where choices are offered, the non-applicable items are to be deleted. Where insufficient space is provided the information should be annexed hereto and cross-referenced to the applicable clause of the schedule. Key cross reference clauses are italicised in [ ] brackets
12.1 PRE-TENDER INFORMATION 12.1.1 Provisional bills of quantities [2.2] The quantities are provisional YES
12.1.2 Availability of construction documentation [2.3] Construction documentation is complete NO
12.1.3 Interests of agents [2.4] Details:
12.1.4 Defined works area [3.1] Details:
12.1.5 Geotechnical investigation [3.2] Details:
12.1.6 Existing premises occupied [3.4] Specific requirements:
12.1.7 Previous work - dimensional accuracy [3.5] Details:
12.1.8 Previous work - defects [3.6] Details:
12.1.9 Services - known [3.7] Details: All known services to be pointed out to the contractor on site handover
12.1.10 Protection of trees [3.9] Specific requirements:
12.1.11 Inspection of adjoining properties [3.11] Specific requirements:
12.1.12 Enclosure of the works [6.2] Specific requirements: The demolition and new construction works including temporary accommodation to be enclosed as required for the protection and safety of the learners and the community
12.1.13 Offices [6.4.3] Specific requirements: The contractor shall provide, maintain and remove on completion of the works an office for the exclusive use of the principal agent, minimum size 4 x 3 x 3m high internally, suitably insulated and ventilated, provided with electric lighting and fitted with boarded floor, desk, chair, drawing stool, drawing board and lock-up drawers for drawings. The office shall be kept clean and fit for use at all times
Total Carried Forward
Total Brought Forward
12.1.14 Main notice board [6.5] Specific requirements: The contractor shall provide, erect where directed, maintain and remove on completion of the works a notice board size 3 x 3m as type Drawing GEN 063, constructed of suitable boarding with flat smooth surface and with edging bead 19mm thick round outer edges and projecting 12mm from face of boarding and rounded on front edge. The board shall be securely fixed to hoarding, where hoarding is provided, or fixed to and including a suitable supporting structure of timber or tubular posts and braces. The board is to be painted ivory white and the bead and 12mm wide dividing lines dark green. All wording shall be inscribed in dark green as per the coat of arms for SA. All wording shall be inscribed in dark green painted sans serif lettering
12.1.15 Subcontractors' notice board [6.6] A notice board is required NO Specific requirements:
12.1.16 Water [7.2] Option A (by contractor) YES Option B (by employer - free of charge) NO Option C (by employer - metered) NO
12.1.17 Electricity [7.3] Option A (by contractor) YES Option B (by employer - free of charge) NO Option C (by employer - metered) NO
12.1.18 Telecommunications [7.4] Telephone YES Facsimile YES E-mail YES
12.1.19 Ablution facilities [7.5] Option A (by contractor) YES Option B (by employer) NO
12.1.20 Protection of existing/sectionally occupied works [11.2] Protection is required YES/NO
12.1.21 Special attendance [9.2] Subcontractor (1) details: Subcontractor (2) details: Subcontractor (3) details: Subcontractor (4) details:
12.1.22 Protection of the works [11.1] Specific requirements:
12.1.23 Disturbance [11.5] Specific requirements: The contractor shall keep the site, structures, etc well watered during operations to prevent dust and shall provide and erect and remove on completion of the works all necessary temporary dust screens all to the satisfaction of the principal agent.
12.1.24 Environmental disturbance [11.6] Specific requirements: All work to be carried out in accordance with the requirements as set out in the Environmental Specification
12.2 POST TENDER INFORMATION
12.2.1 Payment of preliminaries [10.2] Option A (prorated) YES/NO Option B (calculated) YES/NO
12.2.2 Adjustment of preliminaries [10.3] Option A (three categories) YES/NO Option B (detailed breakdown) YES/NO
12.2.3 Additional agreed preliminaries items Details:
Total Carried Forward
Total Brought Forward
SECTION C: SPECIFIC PRELIMINARIES
A | C1. OCCUPATIONAL HEALTH AND SAFETY ACT The contractor shall comply with all the requirements set out in the Construction Regulations, 2003 issued under the Occupational Health and Safety Act, 1993 (Act No 85 of 1993). It is required of the contractor to thoroughly study the Health and Safety Specification that must be read together with and is deemed to be incorporated under this Section of the bills of quantities. The contractor must take note that compliance with the Occupational Health and Safety Act, Construction Regulations and Health and Safety Specification is compulsory. In the event of partial or total non-compliance, the principal agent, notwithstanding the provisions of clause A31.0 of Section A or any other clause to the contrary, reserves the right to delay issuing any progress payment certificate until the contractor provides satisfactory proof of compliance. The contractor shall not be entitled to any compensation of whatsoever nature, including interest, due to such delay of payment. Provision for pricing of the Occupational Health and Safety Act, Construction Regulations and Health and Safety Specification is made under this clause and it is explicitly pointed out that all requirements of the aforementioned are deemed to be priced hereunder and no additional claims in this regard shall be entertained Fixed:......................... Value related:.................... Time related:.......................... | Item
B | C2. PROPRIETARY BRANDED PRODUCTS The contractor shall take delivery of, handle, store, use apply and/or fix all proprietary branded products in strict accordance with the manufacturers instruction after consultation with the manufacturer's authorised representative Fixed:............................. Value Related:............................ Time Related:............................ | Item
C | C3. OVERTIME Should overtime be required to be worked for any reason whatsoever, the costs of such overtime are to be borne by the contractor unless the principal agent has specifically authorised in writing, prior to the execution thereof, that costs for such overtime are to be borne by the employer. Fixed:............................. Value Related:............................ Time Related:............................ | Item
D | C4. AS BUILT DRAWINGS Not applicable Fixed:............................. Value Related:............................ Time Related:............................ | Item
E | C5. SITE INSTRUCTIONS Site instructions issued on site are to be recorded in triplicate in a site instruction book which is to be maintained on site by the contractor Fixed:............................. Value Related:............................ Time Related:............................ | Item
F | C6. LABOUR RECORDAt the end of each week the contractor shall provide the principal agent with a written record, in schedule form, reflecting the number and description of tradesmen and labourers employed by him and all subcontractors on the works each day. Fixed:............................. Value Related:............................ Time Related:............................ | Item
G | C7. PLANT RECORD At the end of each week the contractor shall provide the principal agent with a written record, in schedule form, reflecting the number, type and capacity of all plant, excluding hand tools, currently used on the works. Fixed:............................. Value Related:............................ Time Related:............................ | Item
H | C8. NON CESSION OF MONIES The contractor shall not cede nor assign his rights or claims to any monies due or to become due under this contract Fixed:............................. Value Related:............................ Time Related:............................ | Item
MATERIALS AND WORKMANSHIP
I | Not applicable | Item
Total Carried Forward
Total Brought Forward
Guarantees
| The contractor shall obtain written guarantees where called for, addressed to the employer, from the firms supplying the materials or doing the work and deliver such guarantees to the principal agent. The guarantees shall state that workmanship, materials and installation are guaranteed for a specified period reckoned from the date of practical completion of the works and that any defects in the workmanship, materials and installation that may arise during that period shall be made good at the expense of the firm doing the work upon written notice from the principal agent or the employer to do so | Item
FINANCIAL ASPECTS
Overtime
A | The additional costs of overtime work shall be for the employer's account only when prior written agreement thereto is given by the principal agent | Item
MONITORING
B | Additional financial provision, for the requirements of the Occupational Health and Safety Act including safety plans, files etc | Item
| Total Carried to Summary |  |  | R

## 2-Dayworks & PC Sums
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
2 | SANS 1200 | SECTION 2: DAYWORKS, PROVISIONAL SUMS AND PRIME COST ITEMS
2.1 |  | DAYWORKS
Labour
2.1.1 |  | Allow for total remuneration paid to workers | Prov Sum | 1 | 50000 | 50000
2.1.2 |  | Overheads, charges and profit on 2.1.1 above | % | 50000
2.1.3 |  | Team Leader / charge hand | hr | 35
2.1.4 |  | Artisan | hr | 45
2.1.5 |  | Skilled | hr | 45
2.1.6 |  | Semi-skilled | hr | 75
2.1.7 |  | Unskilled | hr | 100
2.1.8 |  | Engineer | hr. | 5
2.1.9 |  | Technician | hr. | 5
2.1.10 |  | Foreman | hr. | 10
2.1.11 |  | Driver (LDV,machine, trucks, etc.) | hr. | 10
2.1.12 |  | Certified Blaster | hr. | 10
2.1.13 |  | Steel fixer | hr. | 10
2.1.14 |  | Concretor | hr. | 10
2.1.15 |  | Charge hand | hr. | 10
2.1.16 |  | Security guard | hr. | 10
Plant and equipment
(a) Tractor loader backhoe (TLB)
2.1.17 |  | (i) Tractor Loader Backhoe (Bigger than 45kW but smaller than 70kW) | hr. | 10
(b) Crawler Excavators
2.1.18 |  | (i) Smaller than 93kW (small) | hr. | 10
2.1.19 |  | (ii) Bigger than 93kW but smaller than 200kW ( Medium) | hr. | 10
(c) Tipper Trucks
2.1.20 |  | (i) Tipper trucks (3m³) Small | hr. | 10
2.1.21 |  | (ii) Tipper trucks (5m³) Medium | hr. | 10
2.1.22 |  | (iii) Tipper trucks (10m³) Large | hr. | 10
(d) Flat Bed Trucks
2.1.23 |  | (i) Flat bed 5t capacity | hr. | 8
2.1.24 |  | (ii) Flat bed 7t capacity | hr. | 8
(e) LDV
2.1.25 |  | (i) 1t Pick-up | hr. | 10
2.1.26 |  | (f) Mobile Crane 5t at 3m radius | hr. | 10
(g) Walk behind vibrating rollers
2.1.27 |  | (i) Model - Bomag 60 or similar (small) | hr. | 10
2.1.28 |  | (ii) Model - Bomag 76 or similar (medium) | hr. | 10
2.1.29 |  | (iii) Model - Bomag 90 or similar | hr. | 10
|  | TOTAL CARRIED FORWARD |  |  | R
|  | TOTAL BROUGHT FORWARD |  |  | R
(h) Plate compactors
2.1.30 |  | (i) Vipac or similar | hr. | 10
(i) Rammers
2.1.31 |  | (i) Model - Wacker or similar | hr. | 10
2.1.32 |  | (j) Concrete mixers
2.1.33 |  | (i) Volume 100 litre wet (small, towable) | hr. | 8
2.1.34 |  | (ii) Volume 175 litre wet (medium) | hr. | 8
2.1.35 |  | (iii) Volume 250 litre wet (large) | hr. | 8
|  | (k) Diesel compressors including hoses and tools | hr | 10
2.1.36 |  | (i) Capacity smaller than 200 cfm (small) | hr. | 10
2.1.37 |  | (ii) Capacity bigger than 200 cfm smaller than 400 cfm (medium) | hr. | 10
2.1.38 |  | (iii) Capacity bigger than 400 cfm (large) | hr. | 10
2.1.39 |  | (l) Waterpump
2.1.40 |  | (i) Capacity smaller than 400 litre/min (medium) | hr | 10
2.1.41 |  | (ii) Capacity bigger than 400 but smaller than 600 litre/min (medium) | hr | 10
2.1.42 |  | (iii) Capacity bigger than 600 but smaller then 1 100 litre/sec (large) | hr | 10
Materials
2.1.43 |  | Net cost of goods or materials | Prov Sum | 1 | 10000 | 10000
2.1.44 |  | Overheads, charges and profit on 2.1.43 above | % | 10000
Contractors own Plant
2.1.45 |  | Allow for all-inclusive cost of using Contractor's own plant on site. | Prov Sum | 1 | 100000 | 100000
2.1.46 |  | Overheads, charges and profit on 2.1.45 above | % | 100000
Plant hired by the Contractor
2.1.47 |  | Net cost of hired plant | Prov Sum | 1 | 100000 | 100000
2.1.48 |  | Overheads, charges and profit on 2.1.11 above | % | 100000
Survey Beacons/Pegs
2.1.49 |  | Search for, record, reference and protect survey stations, bench marks, erf boundary pegs and other reference pegs and expose on completion of works | Sum | 1
2.2 |  | SUMS STATED PROVISIONALLY BY THE ENGINEER
2.2.1 |  | Equipment for the Employers Agent Representative and their assistant for the duration of the contract | Prov Sum | 1 | 50000 | 50000
2.2.2 |  | Overheads, charges and profit on 2.2.1 above | % | 50000
|  | TOTAL CARRIED FORWARD |  |  | R
|  | TOTAL BROUGHT FORWARD |  |  | R
Survey
2.2.3 |  | Ad-hoc topographical survey as requested by the Engineer during the contract | Prov Sum | 1 | 15000 | 15000
2.2.4 |  | Overheads, charges and profit on 2.2.3 above | % | 15000
Community Liason Officer and Consultant
2.2.5 |  | Employment of the CLO for duration of contract who shall be appointed by the Contractor and shall report to the Engineer and the Client (R8500 pm plus R500 pm cellphone allowance) | Prov Sum | 1 | 100000 | 100000
2.2.6 |  | Overheads, charges and profit on 2.2.5 | % | 100000
2.2.7 |  | Sundries | Prov Sum | 1 | 165000 | 165000
Training
2.2.8 |  | Provisional Sum for Training / Upskilling Employees | Prov Sum | 1 | 256500 | 256500
2.2.9 |  | Overheads, charges and profit on 2.2.8 | % | 256500
Re-vegetation
2.2.10 |  | Re-vegetation of the site | Prov Sum | 1 | 25080 | 25080
2.2.11 |  | Overheads, charges and profit on 2.2.10 | % | 25080
Pipework
2.2.12 |  | Connection to existing / proposed pipework | Prov Sum | 1 | 50000 | 50000
2.2.13 |  | Overheads, charges and profit on 2.2.12 | % | 50000
Control Testing
2.2.14 |  | Acceptance Control Testing | Prov Sum | 1 | 100000 | 100000
2.2.15 |  | Overheads, charges and profit on 2.2.14 | % | 100000
2.3 |  | MISCELLANEOUS
2.3.1 |  | Allow for the attendance of EME's or QSE's and other Contractors within the parameters of the site | Sum | 1
| TOTAL FOR SECTION 2 CARRIED FORWARD TO SUMMARY |  |  |  | R

## 3-Site Clearance
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
| SANS 1200 | SECTION 3: SITE CLEARANCE
3.1 |  | JW FFENNELL ROAD DEPOT
3.1.1 |  | CLEAR SITE
Clear and grub site and remove any obstruction that may occur and spoil to designated site. Only areas indicated in writing by Engineer must be cleared:
3.1.1.1 |  | Exceeding but not exceeding
|  | 0.0 m to 1.3 m Soft material | m3 | 110
3.1.1.2 |  | 0.0 m to 5 m Intermediate material | m3 | 100
3.1.1.3 |  | Tar cut & remove | m2 | 100
3.1.1.4 |  | Finishing off of the site on completion of the | Prov Sum | Prov Sum | 200000 | 200000
works to the satisfaction of the Engineer,
including levelling off, disposal of surplus
material, etc.
3.2 |  | NORTHERN WORKS DEPOT
3.2.1 |  | CLEAR SITE
3.2.2 |  | Clear and remove old furniture from the laboratory | Sum | Sum
3.2.3 |  | Transport old furniture from item 3.2.2 above to specified sites and dump | Sum | Sum
| TOTAL FOR SECTION 3 CARRIED FORWARD TO SUMMARY |  |  |  | R

## 4-Mezzanine Structure
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
4 | SANS 1200 | SECTION 4: REMOVAL AND REPLACEMENT OF STEEL COLUMN BASES AND CORRODED STEEL BEAMS
JW FFENNELL ROAD DEPOT
4.1 |  | STEEL WORK
4.1.1 |  | Removal and replacement of steel grated platform to gain access to corroded steel columns and beams | m2 | 30
4.1.2 |  | Removal and replacement of 160mm H channel steel beam to IPE 100 | m | 30
4.1.3 |  | Removal and replacement of 80mm channel steel beam | m | 45
4.1.4 |  | Remove and replace support steel columns (length= 5m,size 100mm SHS to IPE 180,plate=160mmx160mm to 250x250x10mm) | m | 70
4.1.5 |  | Remove L channel steel support column,Length= 1.51m,size= 75mm) | m | 20
4.1.6 |  | Steel work connections | Sum | Sum
4.1.7 |  | Remove and replace Catladders (1,5m in length) | No. | 2
4.1.8 |  | New Base plates (250 X 250 X 10mm) | No. | 14
4.1.9 |  | New End plates (250 X 250 X 10mm) | No. | 14
4.1.10 |  | New Angle irons (100 X 100 X 6mm) | No. | 120
4.1.11 |  | New Steel Reinforcements (Size - Y12 High Yield Strength) as per bar bending schedule | t | 2.5
4.1.12 |  | Break and build new 25Mpa concrete base | m3 | 5
4.2 |  | Sundries | Prov Sum | Prov Sum | 100000 | 100000
TOTAL FOR SECTION 4 CARRIED FORWARD TO SUMMARY

## 5- Leaking sump
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
5 | SANS 1200 | SECTION 5: LEAKING SUMP
JW FFENNELL ROAD DEPOT
5.1 |  | SUBSOIL DRAINAGE
5.1.1 |  | 110mm diameter perforated Pipe Wrapped with Geotextile Biddum | m | 15
5.1.2 |  | 110mm Steel Pipe | m | 3
5.1.3 |  | 19mm Stone Aggregate | m3 | 8
5.1.4 |  | Dump Rock | m3 | 23
5.1.5 |  | Fine Soil | m3 | 3
5.1.6 |  | 110mm Non Return Valve | No | 1
5.2 |  | STRUCTURE
5.2.1 |  | Form Work | m2 | 200
5.2.2 |  | Reinforced Concrete Channel Lining to 25Mpa Strength on existing brick channel Refer to drawing - CW - 02 - REV 0 | m3 | 25
5.2.3 |  | Mesh REF 395 | m2 | 240
5.2.4 |  | Repair of existing damaged concrete surface within the water sump using approved product as per JW specifications | m2 | 385
5.2.5 |  | Sealing of the repaired concrete surface within the water sump using approved product as per JW specifications | m2 | 490
5.2.6 |  | Swell Product for Sealing the repaired concrete Channel as per JW specifications | Prov Sum | Prov Sum | 10000 | 10000
5.2.7 |  | Supply and Install Cat ladder | No | 1
| TOTAL FOR SECTION 5 CARRIED FORWARD TO SUMMARY |  |  |  | R

## 6- Stormwater
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
6 | SANS 1200 | SECTION 6: STORMWWATER
JW FFENNELL ROAD DEPOT
6.1 |  | 600mm Diameter Concrete pipeline (Refer to drawing - CW-02 - REV 0) | m | 60
6.2 |  | Reinforced Concrete Drainage Channel (600 X 600mm) Square Channel (Refer to drawing - CW -02 - REV 0) | m | 50
6.3 |  | Reinforced Concrete Manhole (Size 3500 X 1400 X 1200mm Depth) Refer to drawing - CW - 02 - REV 0 ) | No | 1
| TOTAL FOR SECTION 6 CARRIED FORWARD TO SUMMARY |  |  |  | R

## 7- Laboratory Renovation
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
7 |  | SECTION 7: LABORATORY RENOVATION
NORTHERN WORKS DEPOT
All work should be done in accordance to ISO/IEC 17025 STANDARDS
7.1 |  | Northern Works Laboratory
|  | Supply and deliver 12 mm thick white worktop phenolic resin | m2 | 24
7.1.1 |  | Supply and install 16mm Class 1 white melamine chipboard | m2 | 80
7.1.2 |  | Supply and fit 96mm handle | No | 20
7.1.3 |  | Supply and install Carcass 1mm edged round | m | 50
7.1.4 |  | Supply and fit Drawers and doors 2mm impact edged | No | 11
7.1.5 |  | Supply and install Standard runners for drawers up to 600mm wide | No | 58
7.1.6 |  | Supply and install Tandem runners for drawers over 600mm wide of supply stable movement under load-maximum 40 | No | 2
7.1.7 |  | SANS 10400-T compliant fire-rated door Including all accessories, lintels, etc. to Architect specification | Prov Sum | Prov Sum | 15000 | 15000
7.1.8 |  | Office furniture | Prov Sum | Prov Sum | 150000 | 150000
7.1.9 |  | Office partition | Prov Sum | Prov Sum | 8000 | 8000
7.1.10 |  | Laboratory and kitchen chairs | Prov Sum | Prov Sum | 40000 | 40000
7.1.11 |  | Burglar Bars On existing windows | Prov Sum | Prov Sum | 30000 | 30000
7.1.12 |  | IT Equipment | Prov Sum | Prov Sum | 350000 | 350000
7.1.13 |  | Alarm System | Prov Sum | Prov Sum | 60000 | 60000
7.2 |  | Main Laboratory
7.2.1 |  | Supply and install 3000x1500x900 Island bench with 600mm double service modules | No | 4
7.2.2 |  | Supply and deliver 3000x1500x12mm worktop | m2 | 14
7.2.3 |  | Supply and install End sink with double/cold- faucet and drainage | No | 2
7.2.4 |  | Supply and install Polypropylene drainage with bottle trap | m | 12
7.2.5 |  | Two service modules; supply and fit two trays, electrical sockets one each side and two data points | No | 12
7.2.6 |  | One cabinet underneath model L1065CCDD with two 150mm deep drawers and two doors with a shelf | No | 1
7.2.7 |  | Supply and install One cabinet underneath model L1065D4 with four 150mm deep drawers and two doors with a shelf | No | 1
7.2.8 |  | Supply and install two cabinets underneath | No | 2
model L565C with one door with a shelf
7.2.9 |  | Supply and deliver 11500x750x12mm Worktop | m2 | 9
7.2.10 |  | Supply and install Three cabinets underneath model L1065CCDD with two 150mm deep drawers and two doors and a shelf | No | 3
7.2.11 |  | Supply and install sliding door | No | 3
7.2.12 |  | Supply and install glass door | No | 1
|  | TOTAL CARRIED FORWARD |  |  | R
|  | TOTAL CARRIED FORWARD |  |  | R
7.2.13 |  | Supply and install Two cabinets underneath model L565C with a door | No | 2
7.2.14 |  | Supply and install Electrical power skirting with 11 sockets | m | 11
7.2.14 |  | Suppy and install 2900x750x900mm High wall bench | No | 1
7.2.15 |  | Supply and deliver 2900x750x12mm worktop | m2 | 2.2
7.2.16 |  | Supply and install Two cabinets underneath model L565C with one door and a shelf | No | 2
7.2.17 |  | Cold room with chromadek panels measuring 2m(width) X 3m(length) X 2.5m height with 5.5KW compressor and stainless steel shelving to fit inside the cold rooom | No | 1
7.2.18 |  | LED lights with motion sensors | No | 45
7.2.19 |  | Electrical Sundries | Prov Sum | Prov Sum | 200000 | 200000
7.3 |  | HVAC
7.3.1 |  | HVAC System | Prov Sum | Prov Sum | 250000 | 250000
7.3.2 |  | Biometric System | Prov Sum | Prov Sum | 70000 | 70000
7.4 |  | Fume Cupboards (Main laboratory)
7.4.1 |  | Manufacture, supply and install three L5EFC low flow 1800 x 1400x900mm deep extraction fume cabinets with under cabinets stated: | No | 1
7.4.2 |  | Supply and install Fully intergrated alarm system | No | 1
7.4.3 |  | Supply and install Acid and solvent storage cabinets 1500x900x900 | No | 1
7.5 |  | Research Laboratory
7.5.1 |  | Supply and install C1:5000x750x900 high wall bench; | No | 1
7.5.2 |  | Supply and deliver 5000x750x12mm worktop | m2 | 3
7.5.3 |  | Supply and install Two cabinets underneath model L1065CCDD | No | 2
7.5.3 |  | Supply and install with two 150mm deep drawers and doors with ashelf | No | 4
7.5.4 |  | Supply and install Electrical power skirting with 4 sockets | m | 11
7.5.5 |  | Supply and install C2:7300x750x900 island bench with; | No | 1
7.5.6 |  | Supply and deliver 7300x750x12mm worktop | m2 | 8
7.5.7 |  | Supply and install On four drawer cabinets L1065D4 with 150mm deep drawers | No | 4
7.5.8 |  | Floor tiles for the research lab to match existing | m2 | 42
|  | TOTAL CARRIED FORWARD |  |  | R
|  | TOTAL CARRIED FORWARD |  |  | R
7.5.9 |  | Supply and install One cabinet underneath model L1065CCDD | No | 1
7.5.10 |  | Supply and fit with two 150mm deep drawers; | No | 2
7.5.11 |  | Supply and install Electrical power skirting with 6 sockets | m | 12
7.5.12 |  | Supply and install C3: 2000x750x900 wall bench | No | 1
7.5.13 |  | Supply and deliver 2000x750x12mm Worktops | m2 | 2
7.5.14 |  | Supply and install Sink with double hot/cold faucet and drainage | No | 1
7.5.15 |  | Supply and fit Polypropylene drainage with bottle trap | m | 6
7.5.16 |  | Supply and install Electrical power skirting with 3 sockets | m | 6
7.5.17 |  | Supply and install C4: 2000x750x900 wall bench | m | 1
7.5.18 |  | Supply and deliver 200x750x12mm worktops | m | 2
7.5.19 |  | Supply and install Two cabinets underneath model L1065CCDD with two 150 deep drawers and two doors with a shelf | No | 1
7.5.20 |  | Supply and install Sink with double hot/cold faucet and drainage | No | 1
7.5.21 |  | Supply and fit Polypropylene drainage with bottle trap | m | 6
7.5.22 |  | Supply and insatll Electrical power skirting with 3 sockets | m | 5
7.6 |  | Bottle Wash Laboratory
7.6.1 |  | Supply and install D1:5000x750x12mm worktop | m2 | 4
7.6.2 |  | Supply and install Three cabinets underneath model L1065CCDD | No | 3
7.6.3 |  | Supply and fit with two 150mm deep drawers and two doors with a shelf | No | 2
7.6.4 |  | Supply and install Electrical power skirting with 4 sockets | m | 5
7.6.5 |  | Supply and install D2: 1500x750x900 high wall bench | No | 1
7.6.6 |  | Supply and deliver 1500x750x12mm worktops | m2 | 1.5
7.6.7 |  | Supply and fit One cabinet underneath model | No | 1
L1065CC with two doors and a shelf
7.6.8 |  | Supply and install One double sink with hot/cold faucets | No | 1
7.7 |  | Kitchen
7.7.1 |  | Supply and install Sink with double hot/cold faucet drainage | No | 1
7.7.2 |  | Kitchen accessories | Prov Sum | Prov Sum | 120000 | 120000
7.8 |  | Cold room
7.8.1 |  | Break existing floor and build new 150mm thick R.C concrete plinth(25Mpa) | m3 | 2
| TOTAL FOR SECTION 7 CARRIED FORWARD TO SUMMARY |  |  |  | R

## Summary
SUMMARY OF SCHEDULE OF QUANTITIES
SECTION | DESCRIPTION |  | TOTAL
SECTION 1: | PRELIMINARY AND GENERAL | R
SECTION 2: | DAYWORKS, PROVISIONAL SUMS & PRIME COST ITEMS | R
SECTION 3: | SITE CLEARANCE | R
SECTION 4: | MEZZANINE STRUCTURE (FFENNELL ROAD DEPOT) | R
SECTION 5: | LEAKING SUMP (FFENNELL ROAD DEPOT) | R
SECTION 9: | SITE INFRASTRUCTURE | R
SECTION 6: | STORMWATER (FFENNELL ROAD DEPOT) | R
SECTION 7: | LABORATORY RENOVATION (NORTHERN WORKS DEPOT) | R
TOTAL FOR SCHEDULE OF QUANTITIES |  | R
ADD 10% CONTINGENCIES |  | R
SUB-TOTAL |  | R
ADD 15 % VAT |  | R
TOTAL FOR TENDER (FORWARD TO THE FORM OF TENDER) |  | R

## 9- Site Infrastructure (hidden)
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
9 |  | SECTION 9: SITE INFRASTRUCTURE
9.1 |  | BOUNDARY WALL
| PSD 8.3.2 | EXCAVATION
| PSD 8.3.2 | Excavate to level in all materials and stockpile and maintain suitable material for future use for backfill or dispose as specified. Rate to include for selective removal of unsuitable material and compaction of base to 93% MOD AASHTO and allow at least 1000mm working space around structure:
9.1.1 |  | Wall Foundation trenches | m³ | 183.26 |  | 0
9.1.2
REINFORCEMENT
Mild steel bars:
9.1.3 |  | Diameters 8 mm to 40 mm: average price for foundation | t | 0.238 |  | 0
High-tensile steel bars average
price:
9.1.4 |  | Diameters 10 mm to 40 mm: average price as indicated on schedules for foundation | t | 2.38 |  | 0
CONCRETE
Strength concrete: 30 MPa/19 mm:
9.1.5 |  | Wall foundations | m³ | 62.475 |  | 0
9.5.6 |  | MASONRY WALL
|  | 230mm Facebrick wall on each face upto a height of 3m inclusive of piers | m2 | 1329.4 |  | 0
9.5.7 |  | ELECTRIC FENCE
|  | 8 Strand Electric fence inclusive of energiser and accessories | m | 360 |  | 0
9.5.8 |  | SECURITY / GUARD HOUSE
|  | Construct guard house as per drawing | No. | 1 |  | 0
9.2 |  | GATE
9.2.1 |  | 6m long x 3m high galvanised mild steel powder coated and painted double swing gate on wheels swing opening inside including hinges, locking mechanism and lock | No | 1 |  | 0
|  | TOTAL CARRIED FORWARD |  |  |  | 0
| TOTAL FOR SECTION 4 CARRIED FORWARD TO SUMMARY |  |  |  |  | 0

## 450mm Bedding (hidden)
BEDDING QUANTITIES
Class B (Concrete and vitrified clay) |  |  |  | 3.1416
Length of pipe(m) | 143 | sewer
Diameter(mm) | 110
(100mm bed,300mm sa) |  | (dia/4 bed,300mm sa) |  | (dia/4 bed,400mm sa) |  | (200mm bed,400mm sa) |  | (200mm bed,500mm sa)
For 0 to 400 diam |  | For 401 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 2000 diam
Granular cradle(m3) | 15.0577 | Granular cradle(m3) | 7.6967 | Granular cradle(m3) | 10.0562 | Granular cradle(m3) | 32.5037 | Granular cradle(m3) | 32.5037
Fill Blanket(m3) | 35.3637 | Fill Blanket | 35.3637 | Fill Blanket | 45.5167 | Fill Blanket | 45.5167 | Fill Blanket | 55.6697
Class C (Steel)
(100mm bed,300mm sa) |  | (100mmbed,400mm sa) |  | (dia/8 bed,400mm sa) |  | (dia/8 bed,500mm sa) |  | (200mm bed,500mm sa)
For 0 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 1600 diam |  | For 1601 to 20000 diam
Granular cradle(m3) | 11.8909 | Granular cradle(m3) | 15.2753 | Granular cradle(m3) | 4.0515 | Granular cradle(m3) | 4.9691 | Granular cradle(m3) | 34.5326
Fill Blanket(m3) | 38.5304 | Fill Blanket | 49.7321 | Fill Blanket | 49.7321 | Fill Blanket | 60.9337 | Fill Blanket | 60.9337
Flexible Pipe
(100mm bed,300mm sa) |  | (dia/4bed,300mm sa) |  | (dia/4 bed,400mm sa) |  | (200 bed,400mm sa) |  | (200mm bed,500mm sa)
For 0 to 400 diam |  | For 401 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 20000 diam
Granular cradle(m3) | 30.1153 | Granular cradle(m3) | 22.7544 | Granular cradle(m3) | 29.5469 | Granular cradle(m3) | 51.9943 | Granular cradle(m3) | 63.7203
Fill Blanket(m3) | 20.306 | Fill Blanket | 20.306 | Fill Blanket | 26.026 | Fill Blanket | 26.026 | Fill Blanket | 31.746

## 450mm Bedding (2) (hidden)
BEDDING QUANTITIES
Class B (Concrete and vitrified clay) |  |  |  | 3.1416
Length of pipe(m) | 1153.9 | all steel pipes
Diameter(mm) | 650
(100mm bed,300mm sa) |  | (dia/4 bed,300mm sa) |  | (dia/4 bed,400mm sa) |  | (200mm bed,400mm sa) |  | (200mm bed,500mm sa)
For 0 to 400 diam |  | For 401 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 2000 diam
Granular cradle(m3) | 421.5596 | Granular cradle(m3) | 511.7081 | Granular cradle(m3) | 624.2133 | Granular cradle(m3) | 686.9566 | Granular cradle(m3) | 686.9566
Fill Blanket(m3) | 710.0346 | Fill Blanket | 710.0346 | Fill Blanket | 854.2721 | Fill Blanket | 854.2721 | Fill Blanket | 998.5096
Class C (Steel)
(100mm bed,300mm sa) |  | (100mmbed,400mm sa) |  | (dia/8 bed,400mm sa) |  | (dia/8 bed,500mm sa) |  | (200mm bed,500mm sa)
For 0 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 1600 diam |  | For 1601 to 20000 diam
Granular cradle(m3) | 265.7103 | Granular cradle(m3) | 313.7894 | Granular cradle(m3) | 282.4178 | Granular cradle(m3) | 326.1698 | Granular cradle(m3) | 552.2621
Fill Blanket(m3) | 865.884 | Fill Blanket | 1060.1238 | Fill Blanket | 1060.1238 | Fill Blanket | 1254.3637 | Fill Blanket | 1254.3637
Flexible Pipe
(100mm bed,300mm sa) |  | (dia/4bed,300mm sa) |  | (dia/4 bed,400mm sa) |  | (200 bed,400mm sa) |  | (200mm bed,500mm sa)
For 0 to 400 diam |  | For 401 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 20000 diam
Granular cradle(m3) | 843.1193 | Granular cradle(m3) | 933.2677 | Granular cradle(m3) | 1143.8545 | Granular cradle(m3) | 1206.5978 | Granular cradle(m3) | 1425.8388
Fill Blanket(m3) | 288.475 | Fill Blanket | 288.475 | Fill Blanket | 334.631 | Fill Blanket | 334.631 | Fill Blanket | 380.787

## Calcs (hidden)
ITEM | QUANTITY | UNIT | DESCRIPTION |  | Formulae
[5 empty] | Cylinder Volume | V=πr2h
PORTION A (Cylindrical Portion) |  |  |  |  | Dome Cap Volume |  |  | where a = Radius | (1/3)πh2(3r-h) | 28.8716
Water Tower Outer Wall Dia. | 19.6 | m | Measured from .DWG |  | Conical Volume | V=1/3πh(a2+ab+b2) where a = Upper Radii and b = lower radii)
Water Tower Inner Wall Dia. | 19 | m | Measured from .DWG |  | Surface Area Cone | A=π(a+b)l where a = Upper Radii and b = lower radii)
Water Tower Outer Wall Radius | 9.8 | m |  |  | Surface Area Dome | A=2πrh
Water Tower Inner Wall Radius | 9.5 | m |  |  | Surface area Cylinder | A=2πrh
Water Tower Wall Thickness | 0.3 | m | Measured from .DWG |  | Area Circle | A=πr2
Circumference of Water Tower Outer Wall | 61.5752 | m
Circumference of Water Tower Inner Wall | 59.6903 | m
Height (Portion A Only) | 5.8 | m | Height from WL (+35.10) to 45 deg Point
Water Tower Wall Height | 6.2 | m | Full Height of cylindrical portion of Water Tower
PORTION B (Conical Portion)
Area in Cross Section | 27.4831 | m2 | Area in section obtained from the .dwg
Height (Portion B Only) | 5.93 | m
Upper Diameter | 19.1 | m
Lower Diameter | 7.1 | m
Upper Radius | 9.55 | m
Lower Radius | 3.55 | m
Cone Staircase Upper Radius | 3.6621 | m | Radius from centre of staircase to Outer Wall of staircase
Cone Staircase Lower Radius | 5.2 | m | Radius from centre of staircase to Outer Wall of staircase
Cone Staircase Height | 0.738 | m
Upper Staircase Outer Dia. | 3.4 | m
Upper Staircase Inner Dia. | 2.8 | m
Upper Staircase Outer Radius | 1.7 | m
Upper Staircase Inner Radius | 1.4 | m
Upper Staircase Wall Thickness | 0.3 | m
Circumference of Upper Staircase Outer Wall | 10.6814 | m
Circumference of Upper Staircase Inner Wall | 8.7965 | m
Upper Staircase Full Height | 11.2 | m | Measured from .DWG
Conical Staircase Height | 1.8 | m
Lower Staircase Outer Dia. | 6.2 | m
Lower Staircase Inner Dia. | 5.6 | m
Lower Staircase Outer Radius | 3.1 | m
Lower Staircase Inner Radius | 2.8 | m
Lower Staircase Wall Thickness | 0.3 | m
Lower Staircase Full Height | 23.13 | m
Circumference of Lower Staircase Outer Wall | 19.4779 | m
Circumference of Lower Staircase Inner Wall | 17.5929 | m
Dome Roof Thickness | 0.3 | m | Tapers from 0.300m to 0.125m
Dome Outer Height | 2.85 | m
Dome Inner Height | 2.7 | m
Dome Outer Dia. | 19.6 | m
Dome Inner Dia. | 19 | m
Dome Outer Radius | 9.8 | m
Dome Inner Radius | 9.5 | m
WATER VOLUME CAPACITY
Portion A Water Volume | 1591.8073 | m3 | Volume of Water Tower Inner Wall - Volume of Upper Staircase Outer Wall
Portion B Water Volume | 761.9566 | m3 | Cone Volume of Portion B - Cylindrical Staircase Outer Wall of Portion B - Conical Volume of Staircse of Portion B
Water Tower Total WATER Volume | 2354 | m3 | Total Volume of Water Capacity up to WL = +35.10
Water Tower Total WATER Volume | 2354 | kl
Base Length | 15 | m
Base Width | 15 | m
Base Height | 1.85 | m
Blinding Layer Length | 15.5 | m
Blinding Layer Width | 15.5 | m
Blinding Layer thickness | 0.05 | m
Lower Staircase Base Diameter | 6.2 | m
Lower Staircase Base Radius | 3.1 | m
Lower Staircase Base Height | 0.6 | m
BLINDING CONCRETE VOLUME
125mm Blinding Concrete | 12.0125 | m3
Total Blinding Concrete Volume | 13 | m3
CONCRETE VOLUME
Concrete Base | 416.25 | m3
Lower Staircase Base (0.6m High) | 18.1144 | m3
Lower Staircase Wall Volume | 128.6171 | m3 | 26m = Lower Staircase Height
Lower Staircase Platform Volume | 0 | m3 | 0.00m = Platform Thickness
Upper Staircase Wall Volume | 32.7228 | m3 | 11.2m = Upper Staircase Height
Upper Staircase Platform Volume | 1.2315 | m3
Conical Staircase Wall Volume Upper Portion | 4.8016 | m3 | Measured from .dwg: Height = 0.729m Outer Radii: a = 1.831m b = 2.6m Inner Radii: a = 1.4m b = 1.9671m
Conical Staircase Wall Volume Lower Portion | 25.0096 | m3 | Measured from .dwg: Height = 1.071m Outer Radii: a = 3.1m b = 4.1341m Inner Radii: a = 1.9671m b = 2.8m
Cylindrical Water Tower Wall (Portion A) | 112.7769 | m3
Conical Water Tower Wall (Portion B) | 121.3098 | m3 | Measured from .dwg: Height = 5.930m Outer Radii: a = 4.1341m b = 9.7m Inner Radii: a = 3.4m b = 9.4m
Dome Roof volume | 49 | m3 | 28.8716
Spiral Staircase Volume |  | m3 | TBC - Concrete or steel?
m3
Total Concrete Volume | 910 | m3
SURFACE AREA
Dome Outside | 175.4894 | m2
Dome Inside | 161.1637 | m2
Cylindrical Water Tower Wall Outside | 381.7663 | m2
Cylindrical Water Tower Wall Inside | 370.0796 | m2
Conical Water Tower Wall Outside | 391.0082 | m2 | l = 9.5009m
Conical Water Tower Wall Inside | 325.9573 | m2 | l = 8.4354m
Conical Water Tower Horizontal Lip | 15.0796 | m2 | Outer Radius of Lip = 3.4m; Inner Radius of Lip = 2.6m
Upper Staircase Outer Wall | 119.6318 | m2
Upper Staircase Inner Wall | 98.5203 | m2
Lower Staircase Outer Wall | 450.5232 | m2
Lower Staircase Inner Wall | 406.9242 | m2
Lower Staircase Base Outer | 174.3584 | m2
Lower Staircase Base Top | 676.6676 | m2
Conical Staircase Outside | 18.7033 | m2 | l = 1.2403m
Conical Staircase Inside | 32.2384 | m2 | l = 2.2804m
Lower Staircase Floor | 24.6301 | m2
Total Surface Area | 3823 | m2
Site Clearance - Measured from CAD | 2255 |  | Measrued from CAD
Blinding area | 240.25
narrow width on dome outside | 67.7327
Total Base excavation | 718.08 | m3
Valve Chamber excavation | 492.6188 | m3
Scour box excavation | 0 | m3 | On top of base
walkway fwk on top of internal walls | 11.5611 | m2
Tower base wood float | 194.386
Valve room - Length | 10.42 |  | Length
Width | 6.13 |  | Width
Wall height | 2.2
Brick wall height | 3.3
Total Height | 5.5
Base thickness | 0.25
Guard house | 3 |  | Length
| 5.475 |  | Width
sewer line length | 143 | measured on Google earth
Paving area | 738.1 | measrued from C3d
Pipe Length |  |  |  | 0m-1m | 1m-2m | 2m-3m
650mm supply | 1000 |  | 650mm supply | 0 | 880 | 120
400mm at reservoir | 30 |  | 400mm at reservoir |  | 30
550mm | 19 |  | 550mm |  | 19
total | 1153.9 |  | Sewer |  |  | 143
|  |  | Electrical from Connection to Main DB | 40 |  |  | Estimated from site layout + Risk
|  |  | Telemetry sleeves | 20 |  |  | Measrued from Site layout
|  |  | Total | 60 | 929 | 263
overflow/scour box | 4.1 | length
| 0.3 | base height
| 2.075 | wall height
| 0.2 | wall t
| 1.4 | width

## Pipe Fittings (hidden)
[5 empty] | nrv | non return valve | [5 empty] | ecc | eccentric |  |  | pf | puddle flange
[12 empty] | con | concentric |  |  | oef | one end flanged
[12 empty] | ff | fully flanged |  |  | bef | both ends flanged
BENDS |  |  |  | VALVES |  |  | CUT LENGTHS |  |  |  | REDUCERS |  |  |  | GENERAL
Item No | Quantity | Description | Length | Item No | Quantity | Description | Item No | Quantity | Description | Length | Item No | Quantity | Description | Length | Item No | Quantity | Description | Length
1.1 | 2 | SS 650mm dia | 90 deg | 2.1 | 1 | 200mm Gate valve | 4.1 | 2 | ss 650 oef | 2000 | 5.1 | 1 | 1000 to 750 | ecc | 1.7 | 1 | 250 by 200 reducing tee | 90 and 100
1.2 | 2 | SS 650mm dia | 45 deg | 2.2 | 9 | 400mm gate valve | 4.2 | 4 | ss 650 bef | 6000 | 5.2 | 1 | 750 to 500 | ecc | 3.1 | 1 | SS 650, pf | 1255
1.3 | 1 | SS 550mm dia | 43.5 deg | 2.3 | 1 | 400mm combination control valve | 4.3 | 1 | ss 650 oef | 1260 | 5.3 | 1 | 500 to 300 | ecc | 3.2 | 1 | SS 550, pf, oef | 1085
1.4 | 1 | SS 550mm dia | 90 deg | 2.4 | 6 | 250mm combi control valve | 4.4 | 1 | ss650 oef | 400 | 5.4 | 1 | 300 to 250 | ecc | 3.3 | 1 | SS 250, pf | 995
1.5 | 2 | SS 250mm dia | 45 deg | 2.5 | 3 | 250mm NRV | 4.5 | 1 | ss 650 oef | 2075 | 5.5 | 3 | 650 to 400 | con ff | 3.4 | 1 | SS 200 pf, oef | 1000
1.6 | 1 | SS 250mm dia | 90 deg |  |  |  | 4.6 | 1 | ss 650 oef | 2520 | 5.6 | 7 | 550 to 400 | con ff | 3.5
1.7 |  | See GENERAL |  |  |  |  | 4.7 | 1 | ss550 oef | 300 | 5.7 | 1 | 400 to 350 | con ff | 3.6
1.8 | 4 | SS 200mm dia | 45 deg |  |  |  | 4.8 | 3 | ss550 bef | 6000 | 5.8 | 1 | 400 to 250 | con ff | 3.7
1.9 | 1 | SS 200mm dia | 90 deg |  |  |  | 4.9 | 1 | ss550 oef | 2660 | 5.9 | 1 | 350 to 250 | con ff | 3.8
1.1 | 2 | MS 650mm dia | 47.83 deg |  |  |  | 4.101 | 1 | ss550 oef | 1350 |  |  |  |  | 3.9 | 3 | MS 650 , pf, ff | 1045
1.11 | 1 | MS 550mm dia | 55 deg |  |  |  | 4.11 | 1 | ss750 | 300 |  |  |  |  | 3.101 | 2 | MS 550, pf, ff | 1655
1.12 | 1 | MS 250mm dia | 90 deg |  |  |  | 4.12 | 1 | ss350 oef | 350 |  |  |  |  | 3.11 | 4 | MS 400 ,ff, tee, 505 spool | 610
[7 empty] | 4.13 | 4 | ss250 bef | 6000 |  |  |  |  | 3.119 | 1 | MS 650,ff, s-bend 45 deg | 3350
[7 empty] | 4.14 | 1 | ss250 oef | 2260 |  |  |  |  | 3.128 | 1 | ms 550, s-bend 45 deg
[7 empty] | 4.15 | 1 | ss250 oef | 350 |  |  |  |  | 3.137 | 1 | ms 650 blind flange
[7 empty] | 4.16 | 1 | ss250oef | 3900 |  |  |  |  | 3.146 | 1 | ms 550 pf, ff | 1045
[7 empty] | 4.17 | 1 | ss250oef | 980 |  |  |  |  | 3.155 | 1 | ms 550 by 300 tee
[7 empty] | 4.18 | 3 | ss200oef | 300 |  |  |  |  | 3.173 | 2 | ms 550 blind flange
[7 empty] | 4.19 | 1 | ss200 | 415 |  |  |  |  | 3.182 | 1 | ms 300 blind flange
[7 empty] | 4.201 | 3 | ss200 bef | 6000 |  |  |  |  | 3.191 | 1 | ms 650 long radius bend | ff
[7 empty] | 4.21 | 1 | ss200 bef | 1875 |  |  |  |  | 3.2 | 2 | ms 500 equal t
[7 empty] | 4.22 | 1 | ss200oef | 350 |  |  |  |  | 3.209 | 2 | ms 400 equal t
[7 empty] | 4.23 | [7 empty] | 3.218 | 1 | 350 by 250 reducing t
[7 empty] | 4.24 | [7 empty] | 3.227 | 3 | 400 by 250 sweeping tee
4.25
[7 empty] | 4.26 | 1 | ms650 oef | 19100
[7 empty] | 4.27 | 1 | ms650 bevelled | 1744
[7 empty] | 4.28 | 1 | ms650 oef | 510
[7 empty] | 4.29 | 6 | ms400 bef | 500
[7 empty] | 4.3002 | 1 | ms550ff | 10910
[7 empty] | 4.31 | 1 | ms550 ff | 2675
[7 empty] | 4.32 | 1 | ss250 oef | 495
[7 empty] | 4.33 | 1 | ms 550 bef | 586
[7 empty] | 4.34 | 1 | ms 550 oef | 2187
[7 empty] | 4.35 | 1 | ms 550 oef | 12631
[7 empty] | 4.36 | 1 | ms 400 bef | 3955
[7 empty] | 4.37 | 1 | ms 400 bef | 2293
[7 empty] | 4.38 | 1 | ms 350 bef | 4895
[7 empty] | 4.39 | 1 | ms 250 bef | 958
[7 empty] | 4.4 | 1 | ms 250 bef | 1053
[7 empty] | 4.41 | 1 | ms 250 oef | 2508
[7 empty] | 4.42 | 1 | ms 250 oef | 1377
[7 empty] | 4.43 | 3 | ms 150bef | 150