## Escalations (hidden)
From | To | Escalation (Provisional) | Escalation (Actual)2
2022-08-12 | 2023-08-12 | 0% | 0%
2023-08-12 | 2024-08-11 | 6.5% | 4.8%
2024-08-11 | 2025-08-11 | 6.5% | 7.1%
Formulas:
To = [From]+365
From = [To, row above]

## MASTER (hidden)
Item No. | Payment Clause | Description | Unit | Qty
1 | SABS 1200A & 1200AB | SCHEDULE 1: PRELIMINARY AND GENERAL
1.1 | 8.3 | FIXED-CHARGE ITEMS
1.1.1 | 8.3.1 | Contractual requirements | Sum | 1
1.1.2 | 8.3.2 | Provision of facilities on site:
| 8.3.2.1 | 1) Facilities for Engineer:
|  | a)Engineers Office Type 2 and parking (No.=2) | Sum | 1
|  | b)Nameboards (No=2) | Sum | 1
|  | c) Communication | P/S | 0
|  | d) Overhead profit on item 1.1.2(c) above | % | 0
|  | e) Meeting room Type 1 | Sum | 1
|  | f) Latrine facilities | Sum | 1
1.1.3 | 8.3.2.2 | 2) Facilities for the Contractor
|  | a) Offices and storage sheds | Sum | 1
|  | b) Ablution and latrine facilities | Sum | 1
|  | c) Tools and equipment | Sum | 1
|  | d) Access (see sub-clause 5.8) | Sum | 1
|  | e) Water supplies, electric power and communications | Sum | 1
|  | f) Dealing with water | Sum | 1
1.1.4 | PSA 8.3.5.2 | OHS Act Obligations (Compilation of OHSAct file) | Sum | 1
1.1.5 |  | Complaince with all COVID fixed items Requirements | Sum | 1
1.1.6 | PSA 8.3.5.3 | EMP Obligations | Sum | 1
1.1.7 | PSA 8.3.5.1 | Issuing of notices to consumers also refer to PS6.6 | Sum | 1
1.1.8 | 8.3.4 | Removal of site Establishment | Sum | 1
1.2 | 8.4 | TIME RELATED ITEMS
1.2.1 | 8.4.1 | Contractual requirements | month | 11
| 8.4.2 | Operation and maintainance of facilities on site.
1.2.2 | 8.4.2.1 | 1) Facilities for Engineer:
|  | a)Engineers Office Type 2 and parking (No.=2) | month | 11
|  | b)Nameboards (No=2) | month | 11
|  | c) Communication | P/S | 0
|  | d) Overhead profit on item 1.2.2(c) above | % | 0
|  | e) Meeting room Type 1 | month | 11
|  | f) Latrine facilities | month | 11
1.2.3 | 8.4.2.2 | Facilities for the Contractor:
|  | a) Offices and storage sheds | month | 11
|  | b) Ablution and latrine facilities | month | 11
|  | c) Tools and equipment | month | 11
|  | d) Access (see sub-clause 5.8) | month | 11
|  | e) Plant | month | 11
|  | f) Water supplies, electric power and communications | month | 11
|  | g) Dealing with water | month | 11
1.2.4 | 8.4.3 | Supervision for the duration of construction | month | 11
1.2.5 | 8.4.4 | Company and head office overhead costs for the duration of the Contract | month | 11
1.2.6 | PSA 8.4.6.2 | Security Services | month | 11
1.3 | OHS Spec. | Allow for compliance with all aspects of the OHS specification including:
1.3.1 | PSA 8.4.6.4 | Risk assesment | month | 11
1.3.2 | PSA 8.4.6.1(1) | Complaince with Health and Safety Plan including Safety Officer Salary | month | 11
1.3.3 |  | Complaince with all COVID requirements | month | 11
1.4 | EMP | Allow for compliance with all aspects of the EMP/Authorizations including
1.4.1 | PSA 8.4.6.1(2) | a)Environmental Officer Salary | month | 11
1.4.2 | PSA 8.4.6.1(3) | b) Environmental Control Officer | P/S | 0
1.4.3 |  | c) Overheads, charges and profit on item 1.4.2(b) above | % | 0
1.5 | 8.6 | Prime cost items
1.5.1 |  | a) Materials used in the execution of dayworks | P/S | 1
1.5.2 |  | b) Overheads, charges and profit on item 1.4.1(a) above | % | 20000
1.6 | 8.8 | TEMPORARY WORKS
1.6.1 | 8.8.2 | Dealing with traffic for the duration of the Contract | Sum | 1
1.6.2 | 8.8.6 | Dealing with water | Sum | 1
1.6.3 | 8.8.4 | Existing services
1.6.4 | PSA 8.8.4 (a) | a) Supply or hire of specialist equipment for the detection and Scanning of existing services. | P/S | 1
1.6.5 |  | Profit on item 1.6.4 (a) above | % | 50000
1.6.6 | PSA 8.8.4 (b) | b) Excavation by hand to expose existing services. | m3 | 150
1.7 | PSA 8.5 | PROVISIONAL SUMS STATED BY ENGINEER
|  | a) Reinstatement of asphalt by JRA | P/S | 1
|  | b) Engineer's Equipment and Independent testing | P/S | 1
|  | c) Temporary protection of existing services | P/S | 1
|  | d) Community Liaison Officer | P/S | 1
|  | e) Landscaping and including irrigation system | P/S | 1
|  | f) Relocation of existing services | P/S | 1
|  | g) Training of local labour | P/S | 1
|  | h) Alterations and connection to Municipal services and repair to damaged services where approved by Engineer | P/S | 1
|  | i) Disposal of Asbestos | P/S | 1
|  | j) Investigations as ordered by the Engineer | P/S | 1
|  | k) Survey as per the Engineer's instruction. Rate to include for a CD with AutoCAD drawing/s and co-ordinates data in CSV or text format. | P/S | 1
|  | l) Overheads, charges and profit on items (a-k) above | % | 1410000
1.8 | P.S 3.2.8 | m) Overheads, charges and profit on items and Management fees for SMMEs based on SMME value paid to them (Value of Provisional Sum provided is indicative and will depend on a work package allocation) | P/S | 1
|  | n) Overheads, charges and profit on item m above (Value of Provisional Sum provided is indicative and will depend on a work package allocation) | % | 1000000
1.9 | 8.7 | Day works (to be executed on instruction from the Engineer)
Labour
|  | a) Unskilled | hr | 10
|  | b) Semi skilled | hr | 10
|  | c) Skilled | hr | 10
|  | d) Armed Security guard | hr | 10
Tipper truck
|  | a) Capacity 6m³ (small) | hr | 10
|  | b) Capacity 10m³ (medium) | hr | 10
|  | c) Capacity 12m³ (large) | hr | 10
Flat bed tracks
|  | a) Capacity 3 ton (small) | hr | 10
|  | b) Capacity 5 ton (medium) | hr | 10
|  | c) Capacity 10 ton (large) | hr | 10
LDV's
|  | a) Capacity 1 ton | hr | 10
Conservancy/ Water tankers
|  | a) Capacity 6,000 litres (small) | hr | 10
|  | b) Capacity 9,000 litres (medium) | hr | 10
|  | c) Capacity 15,000 litres (large) | hr | 10
Excavator (Crawler excavator)
|  | a) 20 tonne | hr | 10
|  | b) 30 tonne | hr | 10
TLB's (Tractor loader backhoe)
|  | a) 2x4 | hr | 10
|  | b) 4x4 | hr | 10
Walk behind vibrating rollers
|  | a) Model BW 61 (small) | hr | 10
|  | b) Model BW 76 (medium) | hr | 10
|  | c) Model BW 90 (large) | hr | 10
Compactors
|  | b) Plate compactor | hr | 10
Compressors (Potable Diesiel Compressor)
|  | a) Small | hr | 10
|  | b) Medium | hr | 10
|  | c) Large | hr | 10
Portable water pumps
|  | a) Small | hr | 10
|  | b) Medium | hr | 10
|  | c) Large | hr | 10
2 | SANS 1200C | SCHEDULE 2: SITE CLEARANCE
2.1 | 8.2.1 | Clear and grub for width of 3 metres along the pipe route | m | 1500
2.2 | PSC 8.2.5 | Take down existing masonry walls, palisade fences and other obstructions on the pipe route
|  | a)110mm wall | m² | 100
|  | b) 220mm wall | m² | 100
|  | c) 330mm wall | m² | 100
|  | d) steel pallisade fences | m² | 100
2.3 | 8.2.10 | Remove topsoil to nominal depth of 150mm and stockpile | m³ | 500
2.4 | PSC 8.2.11b | Removal of man-made surfaces
a) Roadway, Asphalt and other layers
|  | i) Asphalt (≤ 50mm thick) and including base, sub-base and subgrades layers up to 800mm deep | m² | 300
|  | ii) Asphalt (> 50mm ≤ 100mm thick) and including base, sub-base and subgrades layers up to 800mm deep | m² | 300
b) Footways and Driveways
|  | i) Asphalt ≤ 50mm thickness | m² | 300
|  | ii) Asphalt > 50 ≤ 100mm thickness | m² | 300
|  | iii) Interlocking concrete segmental paving blocks (all colours) | m² | 300
|  | iv) Concrete slabs (450 x 450mm) | m² | 150
|  | v)Brick paving | m² | 750
|  | vi)Unreinforced concrete ≤ 75mm thick | m² | 300
|  | vii)Reinforced concrete ≤ 75mm thick | m² | 300
|  | viii)Grassing | m² | 1000
|  | ix)Kerbing (all types of kerbing) | m | 500
2.4.1 | PSC 8.2.12.1 | Backfilling and reinstatement of roads
|  | (a) 150mm base | m³ | 100
|  | (b) 150mm subbase | m³ | 100
|  | (c)150mm selected subgrade | m³ | 100
2.4.2 | PSC 8.2.12.2 | Backfilling and reinstatement of footways
a)Using removed materials:
|  | Interlocking concrete segmental paving blocks (all colours) | m² | 200
|  | Brick paving | m² | 500
|  | Grassing | m² | 800
|  | Kerbing (all types of kerbing) | m | 300
b)
|  | ≤50mm thick Bitumen hot - mix: Fine | m² | 300
|  | >50mm≤100mm thick Bitumen hot - mix: Fine | m² | 300
|  | Interlocking concrete segmental paving blocks, including a 20mm river sand bedding layer, jointing sand (plaster sand) and mortar infill between edge restraint and blocks | m² | 100
|  | Concrete slabs (450 x 450mm) including a 20mm river sand bedding layer, jointing mortar | m² | 150
|  | Brick paving including a 20mm river sand bedding layer, jointing sand (plaster sand) and mortar infill between edge restraint and bricks | m² | 250
|  | Unreinforced concrete ≤ 75mm thick (15MPa) | m² | 300
|  | Reinforced concrete ≤ 75mm thick (15MPa) | m² | 300
|  | Grassing | m² | 200
|  | Kerbing, including a 50mm bedding (cement and river sand), jointing mortar and 15MPa concrete haunching at all joints | m | 200
2.4.3 | PSC 8.2.13 | Reinstatement of existing masonry walls and palisade fences
a) Face Brick
|  | 110mm wall | m² | 50
50
|  | 220mm wall | m² | 50
50
|  | 330mm wall | m² | 50
b) Plastered
|  | 110mm wall | m² | 50
50
|  | 220mm wall | m² | 50
50
|  | 330mm wall | m² | 50
50
|  | c)Steel Palisade fences (2.1m height) | m² | 611
|  | d)Reinstatement of existing outer buildings to its original state or to Enginner satisifaction | No. | 17
3.0 | SANS 1200DB | SCHEDULE 3: EARTHWORKS (PIPE TRENCHES)
3.1 | 8.3.2 | Excavation
(a) Excavate in all materials, backfill and compact and dispose of surplus and unsuitable materials within the free haul distance, for trenches (including shoring and or bracing of trench sides)
|  | i) > 0m but ≤ 1.5m deep | m³ | 1700
|  | ii) > 1.5m but ≤ 2.5m deep | m³ | 3000
|  | iii) > 2.5m but ≤ 3.5m deep | m³ | 700
|  | iv) > 3.5m deep | m³
(b) Extra over item (a) above for:
|  | i) Intermediate material | m³ | 1500
|  | ii) Hard rock material | m³ | 100
|  | iii) Boulder excavation | m³ | 100
3.2 | 8.3.3 | Excavation ancillaries
| 8.3.3.1 | Make up deficiency in backfill material:
|  | a) By importation from commercial source or off-site sources selected by the Contractor | m³ | 3000
3.3 |  | Additional compaction
| 8.3.3.3 | Compaction in road reserve
|  | a) Additional compaction to 93% mod AASHTO density in road reserves | m³ | 250
3.4 | PSDB 8.3.5 | Existing services that intersect or adjoin a pipe trench:
a) Service that intersect a trench
|  | (i) Cables. | No. | 50
|  | (ii) Water mains | No. | 25
|  | (iii) Water house connections | No. | 100
|  | (iv) Sewer pipes up to 400 mm dia. | No. | 20
|  | (v) Storm water pipes up to 1050 mm dia. | No. | 20
|  | (vi) Kerbs and channels | No. | 10
b) Services that adjoin a trench
|  | (i) Cables. | m | 500
|  | (ii) Water mains | m | 500
|  | (iii) Storm water pipes up to 1050 mm dia. | m | 50
|  | (iv) Kerbs and channels | m | 50
|  | (v) Sewer pipes up to 400 mm dia. | m | 1500
3.4 | PSDB 8.3.5 | (c) Services that require special care | No | 100
4.0 | SANS 1200LB | SCHEDULE 4: BEDDING (PIPES)
4.1 |  | Provision of bedding:
4.1.1 | 8.2.1 | (a) from trench excavations
|  | i) selected granular material | m³ | 200
|  | ii) selected fill material | m³ | 520
4.1.2 | 8.2.2.3 | (b) from commercial sources
|  | i) selected granular material | m³ | 1500
|  | ii) selected fill material | m³ | 3000
|  | (iii) Bidim A2 | m² | 7600
|  | (iv) 19mm crusher run stone | m³ | 760
|  | (v) Dump Rock | m³ | 50
5.0 | SANS 1200LD | SCHEDULE 5: SEWERS
5.1 | 8.2.1 | Supply, lay, joint, bed, backfill on Flexible bedding and test the following pipes as detailed in the project specifications for gravity lines:
5.1.1 |  | (a) Class 34/300 uPVC heavy duty sewer pipe
|  | i) DN160 | m | 2545
|  | ii) DN200 | m
|  | iii) DN250 | m
|  | iv) DN315 | m | 420
|  | v) DN355 | m | 905
|  | vi) DN400 | m
|  | (vii) DN 450 | m
|  | (vii) DN 500 | m
|  | (ix) DN 630 | m
5.1.2 |  | (b) HDPE PE100 PN8
|  | i) DN160 | m
|  | ii) DN200 | m
|  | iii) DN250 | m
|  | iv) DN315 | m
|  | v) DN355 | m
|  | vi) DN400 | m
|  | (vii) DN 450 | m
|  | (viii) DN 500 | m
|  | (ix) DN 630 | m
|  | (x) DN 710 | m
|  | (xi) DN 800 | m
|  | (xii) DN 900 | m
|  | (xiii) DN 1000 | m
|  | (xiv) DN 1200 | m
5.1.3 |  | (c) Concrete heavy duty sewer pipe Class 100D-SI pipes with sacrificial layer.
|  | i) DN300 | m
|  | ii) DN375 | m
|  | (iii) DN 450 | m
|  | (iv) DN 525 | m
|  | (v) DN 600 | m
|  | (vi) DN 675 | m
|  | (vii) DN 750 | m
|  | (viii) DN 825 | m
|  | (ix) DN 900 | m
|  | (x) DN 1050 | m
|  | (xi) DN 1200 | m
5.1.4 |  | (d) HDPE spiral reinforced pipes
|  | (i) DN400 | m
|  | (ii) DN 450 | m
|  | (iii) DN 500 | m
|  | (iv) DN 600 | m
|  | (v) DN 700 | m
|  | (vi) DN 800 | m
|  | (vii) DN 900 | m
|  | (viii) DN 1000 | m
|  | (ix) DN 1100 | m
|  | (x) DN 1200 | m
5.2 |  | Sewer Rising Mains:
5.2.1 |  | a) Supply, lay, bed (class B bedding), all test and disinfect, backfill sipogot and socket joints high impact mPVC Class 16 pipes:
|  | i) DN315 | m
5.2.2 |  | b) Supply, lay, bed (class B bedding), all test and disinfect, backfill complete joints to be butt welded or electro fusion, HDPE PE100 SDR11 PN16 pipes:
|  | i) DN315 | m
|  | ii) DN355 | m
|  | iii) DN400 | m
|  | iv) DN450 | m
|  | v) DN500 | m
|  | vi) DN630 | m
5.2.3 |  | c) Supply, lay, bed (class B bedding), all test and disinfect, backfill complete OPVC Class 16 pipes to SANS 16422, joints to be spigot and socket, thrust/anchor blocks to be provided at every change in direction:
|  | i) DN355 | m
|  | ii) DN400 | m
|  | iii) DN450 | m
|  | iv) DN500 | m
|  | v) DN560 | m
|  | vi) DN630 | m
| 8.2.2 | Extra-over for 5.1 for the supply, lay and bedding of Specials with couplings:
5.3 |  | Fittings to suit High Impact Class 16 uPVC pipes
5.3.1 |  | a) Shouldered end Steel Bends Fusion Bonded Epoxy coated 250 microns including thrust blocks to suit high impact uPVC pipe:
DN315
|  | i) 11¼° | No
|  | ii) 22.5° | No
|  | iii) 45° | No
|  | iv) 90° | No
5.4 |  | Fittings to suit HDPE PN 16 SDR 11 PE 100 pipes
5.4.1 |  | a) Extruded bends for HDPE pipe PN16 SDR11 PE100
|  | i) 90⁰ bend for 315 diameter pipe | No
|  | ii) 90⁰ bend for 350 diameter pipe | No
|  | iii) 90⁰ bend for 400 diameter pipe | No
|  | iv) 90⁰ bend for 450 diameter pipe | No
|  | v) 90⁰ bend for 500 diameter pipe | No
|  | vi) 90⁰ bend for 560 diameter pipe | No
|  | vii) 90⁰ bend for 600 diameter pipe | No
|  | viii) 45⁰ bend for 315 diameter pipe | No
|  | xi) 45⁰ bend for 350 diameter pipe | No
|  | x) 45⁰ bend for 400 diameter pipe | No
|  | xi) 45⁰ bend for 450 diameter pipe | No
|  | xii) 45⁰ bend for 500 diameter pipe | No
|  | xiii) 45⁰ bend for 560 diameter pipe | No
|  | xiv) 45⁰ bend for 600 diameter pipe | No
|  | xv) 22.5⁰ bend for 315 diameter pipe | No
|  | xvi) 22.5⁰ bend for 350 diameter pipe | No
|  | xvii) 22.5⁰ bend for 400 diameter pipe | No
|  | xviii) 22.5⁰ bend for 450 diameter pipe | No
|  | xix) 22.5⁰ bend for 500 diameter pipe | No
|  | xx) 22.5⁰ bend for 560 diameter pipe | No
|  | xxi) 22.5⁰ bend for 600 diameter pipe | No
|  | xxii) 11¼⁰ bend for 315 diameter pipe | No
|  | xxiii) 11¼⁰ bend for 350 diameter pipe | No
|  | xxiv) 11¼⁰ bend for 400 diameter pipe | No
|  | xxv) 11¼⁰ bend for 450 diameter pipe | No
|  | xxvi) 11¼⁰ bend for 500 diameter pipe | No
|  | xxvii) 11¼⁰ bend for 560 diameter pipe | No
|  | xxviii) 11¼⁰ bend for 600 diameter pipe | No
b) Stub and Flange for HDPE PN16 PE100 SDR11
|  | i) Stub and Flange for 315 diameter pipe | No
|  | ii) Stub and Flange for 350 diameter pipe | No
|  | iii) Stub and Flange for 400 diameter pipe | No
|  | iv) Stub and Flange for 450 diameter pipe | No
|  | v) Stub and Flange for 500 diameter pipe | No
|  | vi) Stub and Flange for 560 diameter pipe | No
|  | vii) Stub and Flange for 600 diameter pipe | No
5.5 |  | Fittings to suit OPVC spigot & Socket ended pipes
5.5.1 |  | Spigot & socket ended Steel Bends Fusion Bonded Epoxy coated 250 microns including thrust blocks to suit OPVC pipes:
DN355
|  | i) 11¼° | No
|  | ii) 22.5° | No
|  | iii) 45° | No
|  | iv) 90° | No
DN400
|  | i) 11¼° | No
|  | ii) 22.5° | No
|  | iii) 45° | No
|  | iv) 90° | No
DN500
|  | i) 11¼° | No
|  | ii) 22.5° | No
|  | iii) 45° | No
|  | iv) 90° | No
DN550
|  | i) 11¼° | No
|  | ii) 22.5° | No
|  | iii) 45° | No
|  | iv) 90° | No
DN600
|  | i) 11¼° | No
|  | ii) 22.5° | No
|  | iii) 45° | No
|  | iv) 90° | No
5.6 | PSL 8.2.19(b) | Supply, handle, fixing, lay, bed of single chamber flanged double acting air release valves, complete with all fittings for connection to main line as per detail JW100-DET14-W01. (Rate to include all fittings required including isolation valve, couplings, wrapping of joints, chamber and cover , etc.) Air valves to be PN16 and Double Fusion Epoxy Bonded coated.
|  | i) DN80 | No
|  | ii) DN100 | No
|  | iii)DN150 | No
|  | iv)DN200 | No
|  | v)DN250 | No
5.7 |  | Supply, handle, lay and test through Horizotal Direction Drilling (through soft, medium and hard material) for depth not exceeding 10metres including supply of equipment for road crossings (Launch and reception pits will be paid under earthworks):
5.7.1 |  | (a) HDPE PE100 PN 8
|  | i) DN160 | m
|  | ii) DN200 | m
|  | iii) DN250 | m
|  | iv) DN315 | m
|  | v) DN355 | m
|  | vi) DN400 | m
|  | (vii) DN 450 | m
|  | (viii) DN 500 | m
|  | (ix) DN 630 | m
|  | (x) DN 710 | m
|  | (xi) DN 800 | m
|  | (xii) DN 900 | m
|  | (xiii) DN 1000 | m
|  | (xiv) DN 1200 | m
5.7.2 |  | Extra over for item 5.7.1(a) above for drilling into hard rock | m
5.8 | 8.2.3 | Manholes
5.8.1 |  | Manholes 1,000mm diameter complete with cover and frame
|  | a) > 0m but ≤ 2.0m deep | No. | 20
|  | b) > 2m but ≤ 3.0m deep | No. | 20
5.8.2 |  | Manholes 1,250mm diameter complete with cover and frame
|  | a) > 0m but ≤ 2.0m deep | No. | 42
|  | b) > 2m but ≤ 3.5m deep | No. | 4
|  | c) > 3.5m but ≤ 5.0m deep | No.
5.8.3 |  | Manholes 1,500mm diameter complete with cover and frame
|  | a) > 0m but ≤ 2.0m deep | No.
|  | b) > 2m but ≤ 3.5m deep | No. | 1
|  | c) > 3.5m but ≤ 5.0m deep | No.
5.8.4 |  | Demolish existing manholes where new manholes will be constructed for pipe diameters 160mm to 600mm
|  | a) > 0m but ≤ 2.0m deep | No. | 40
|  | b) > 2m but ≤ 3.5m deep | No. | 47
|  | c) > 3.5m but ≤ 5.0m deep | No.
d) > 5m
5.8.5 |  | Demolish existing manholes where new manholes will be constructed for pipe diameters greater than 600mm to 1200mm
|  | a) > 0m but ≤ 2.0m deep | No.
|  | b) > 2m but ≤ 3.5m deep | No.
|  | c) > 3.5m but ≤ 5.0m deep | No.
|  | d) > 5m | No.
5.8.6 |  | Repair manhole benching in existing manholes up to 5m
|  | a) 0mm - 1000mm diameter | No.
|  | b) 1000mm - 1250mm diameter | No.
|  | c) 1250mm - 1500mm diameter | No. | 2
5.9 | 8.2.6 | Erf connections
a) Supply, bed, lay, joint, and test new property connection inclunding all fittings related to the erf connections(length of erf connection 30metres) as per detail JW100-DET2-S01
|  | i) 110mm dia. uPVC Class 34 spigot and socket pipes including joints to existing pipes and all other fittings | No. | 610
b) Supply, bed, lay, joint, and test new property connection inclunding all fittings related to the erf connections as per detail JW100-DET2-S01
|  | i) 110mm uPVC Class 34 spigot and socket pipes including joints to existing pipes and all other fittings | No
5.10 |  | (a) Provisional Amount (R) for fittings not shown on detail | P.Sum | 1
|  | (b) Profit on item 5.10 (a) above | % | 15000
5.11 | 8.2.11 | Connect to existing Sewers
|  | Break existing manhole, channel and benching and rebuilt manhole with new channel and benching the rate shall include any temporary sewer diversion or over pumping required | No | 5
5.12 | 8.2.12 | Raising or Lowering of Existing Manholes
|  | i) 1000mm diameter | No.
|  | ii) 1250mm diameter | No. | 5
|  | iii) 1500mm diameter | No.
6.0 |  | SCHEDULE 6: CCTV CAMERA SURVEY AND PIPE CRACKING
6.1 |  | CCTV surveys
6.1.1 | PS 4.2.39 | Cleaning of conduits for the following pipe diameter diameter before CCTV, pipe cracking and CIPP:
|  | a) 160 > and ≤ 355mm diameter | m | 3870
|  | b) > 355mm diameter | m
6.1.2 | PS 4.2.39 | Cleaning of conduits for the following pipe diameter diameter after installation if required:
|  | a) 160 > and ≤ 355mm diameter | m | 3870
|  | b) > 355mm diameter | m
6.1.3 | PS 4.2.40 | CCTV camera surveys of pipelines before upgrade works, of the following diameters. The CCTV should identify any house connections, manholes and any other detail and defects in the sewer line:
|  | a) 160 > and ≤ 355mm diameter | m | 3870
|  | b) > 355mm diameter | m
6.1.4 | PS 4.2.40 | CCTV camera surveys of pipelines after upgrade works, of the following diameters. The CCTV should identify any house connections, manholes and any other detail and defects in the sewer line:
|  | a) 160 > and ≤ 355mm diameter | m | 3870
|  | b) > 355mm diameter | m
6.2 |  | PIPE CRACKING
6.2.1 | P.S.4.2.50.1 | Supply, handle, lay and test through Pipe Cracking including supply of equipment (Launch and reception pits will be paid under earthworks):
(a) ALL PIPES
|  | i) DN160 | m
|  | ii) DN200 | m | 1240
|  | iii) DN250 | m
|  | iv) DN315 | m
|  | v) DN355 | m
|  | vi) DN400 | m
|  | (vii) DN 450 | m
|  | (viii) DN 500 | m
|  | (ix) DN 630 | m
|  | (x) DN 710 | m
|  | (xi) DN 800 | m
|  | (xii) DN 900 | m
|  | (xiii) DN 1000 | m
|  | (xiv) DN 1200 | m
6.2.2 |  | Overpumping and manhole isolation
Manhole length isolation
6.2.2.1 | P.S.4.2.50.3 | a) Plugging Conduits:
|  | i) 0 ≥ 150mm diameter | No. | 50
|  | ii) 150 > and ≤ 315mm diameter | No. | 50
|  | ii) 315 > and ≤ 500mm diameter | No.
|  | iii) 500> and ≤1000mm diameter | No.
|  | iii) 1000> and ≤1600mm diameter | No.
6.2.2.2 | P.S.4.2.50.4 | b) Over-pumping
|  | i) 0 ≥ 150mm diameter maximum flow rate 40 litres per sec | hours | 500
|  | ii) 150 > and ≤ 315mm diameter maximum flow rate 170 litres per sec | hours | 300
|  | iii) 315 > and ≤ 500mm diameter maximum flow rate 430 litres per sec | hours
6.2.3 |  | Allow for reconnecting house connection after pipe cracking, rate shall include all fittings required (excavations and backfilling shall be paid under earthworks) | No
6.2.4 |  | Point repairs to sewers for the following diameters before pipe cracking. Rate to include all materials and labour required. Excavation and backfilling measured under earthworks.
|  | i) DN150 | No
|  | ii) DN200 | No
|  | iii) DN250 | No
|  | iv) DN315 | No
|  | v) DN355 | No
|  | vi) DN400 | No
|  | vii) DN 450 | No
|  | viii) DN 525 | No
|  | ix) DN 600 | No
|  | x) DN 675 | No
|  | xi) DN 750 | No
|  | xii) DN 825 | No
|  | xiii) DN 950 | No
|  | xiv) DN 900 | No
|  | xv) DN 1050 | No
|  | xvi) DN 1200 | No
6.2.5 |  | CIPP (CURED IN PLACE PIPE)
6.2.5.1 |  | Specialist removal/cleaning of obstructions:
|  | Precision root cutters | hr
6.2.5.2 |  | Non-structural liner for the following diameters:
|  | i) DN150 | m
|  | ii) DN200 | m
|  | iii) DN250 | m
|  | iv) DN315 | m
|  | v) DN355 | m
|  | vi) DN400 | m
|  | vii) DN 450 | m
|  | viii) DN 525 | m
|  | ix) DN 600 | m
|  | x) DN 675 | m
|  | xi) DN 750 | m
|  | xii) DN 825 | m
|  | xiii) DN 950 | m
|  | xiv) DN 900 | m
|  | xv) DN 1050 | m
|  | xvi) DN 1200 | m
6.3 | SANS1200LG | PIPE JACKING
6.3.1 | 8.2.1 | Jacking Establishment
6.3.1.1 |  | a) Fixed Charges | Sum
6.3.1.2 |  | b) Time Related charges | Sum
6.4 | 8.2.6 | Supply and install the following pipes through pipe Jacking Method, Complete with excavations, concrete sleeve pipes to suit etc:
a) Supply and installation of in-the-wall joint concrete Sleeve pipes 100D with sliding rubber rings
6.4.1 |  | i) 900mm ND concrete pipe | m
6.4.2 |  | ii) 1117mm ND concrete pipe | m
6.4.3 |  | iii) 1473mm ND concrete pipe | m
6.4.4 |  | iv) 1678mm ND concrete pipe | m
6.4.5 |  | v) 1800mm ND concrete pipe | m
6.4.6 |  | vi) 2000mm ND concrete pipe | m
6.4.7 |  | vii) 2250mm ND concrete pipe | m
6.4.8 |  | viii) 2500mm ND concrete pipe | m
b) Supply and installation of pipes including all supports:
6.4.9 |  | i) 400mm HDPE PN16 PE100 SDR11 butt welded | m
6.4.10 |  | ii) 450mm HDPE PN16 PE100 SDR11 butt welded | m
6.4.11 |  | iii) 500mm HDPE PN16 PE100 SDR11 butt welded | m
6.4.12 |  | iv) 630mm HDPE PN16 PE100 SDR11 butt welded | m
6.4.13 |  | v) 710mm HDPE PN16 PE100 SDR11 butt welded | m
6.4.14 |  | vi) 800mm HDPE PN16 PE100 SDR11 butt welded | m
6.4.15 |  | vii) 900mm HDPE PN16 PE100 SDR11 butt welded | m
6.4.16 |  | viii) 1000mm HDPE PN16 PE100 SDR11 butt welded | m
6.4.17 |  | ix) 1200mm HDPE PN16 PE100 SDR11 butt welded | m
6.5 | 8.2.7 | Extra-over for 8.2.6 for Lengths of Pipeline greater than 85 metres | m
6.6 | 8.2.8 | Extra-over 8.2.6 for Excavations in Rock | m³
6.7 | 8.2.9 | Stabilisation of Unstable Areas or Grouting of Voids were Ordered by the Employer's Agent
6.7.1 |  | a) Provision and Establishment of Equipment on Site, and Removal on Completion of the Operation: | Sum
6.7.2 |  | b) Operation of Equipment | Day
6.7.3 |  | c) Materials used | m³
6.8 | 8.2.10 | Standing Time for Pipe Jacking Gang the Jacking Equipment Covered in 8.2.1 | hr
7.0 | SABS | GABIONS AND PITCHING
1200 DK
7.1 | 8.2.1 | Surface preparation for bedding of gabions
|  | a) Cavities filled with approved excavated material | m³
|  | b) Cavities filled with Grade 15 concrete | m³
(Provisional)
7.2 | 8.2.2 | Gabions
Supply, place, fill with stones,lacing and bracing gabions boxes or mattresses, the rate should include the supply of stones:
(Double twist hexagonal wire mesh to SANS 1580:2005) Mesh Type 80 with 2,7/3,7mm Class A Galvanised and uPVC coated wire
7.2.1 |  | a) Gabion mattrasses
|  | 2 m x 2 m x 0.3 m | m³
(b) Gabion boxes
|  | 1m x 1m x1m | m³
7.3 | 8.2.4 | Supply and install Geotextile membrane:
7.3.1 |  | a) AG150 - Minimun Energy Absorption - 4,0kN/m | m²
7.4 | 8.2.5 | Pitching
7.4.1 |  | a) Medium pitching - plain | m²
8.0 |  | SCHEDULE 8 : Ablution Blocks and VIP Toilets
8.1 | PA | VIP AND ABLUTION BLOCKS:
| PA 3.1 | (a) Supply, Deliver and install a pre cast VIP toilet including all accessories | No
| PA 3.2 | (b) Supply, Deliver and install a Precast VIP toilet for disabled people icluding all accesories | No
| PA 3.3 | (c) Supply, Deliver and install Precast Waterborne toilet including all accessories including drainnage connection with all accessories | No
| PA 3.4 | (d) Supply, Deliver and install Precast Waterborne toilet for disabled people including all accessories including drainnage connection with all accessories | No
8.2 |  | VIP SUBSTRUCTURE
| PA 3.5 | (a) Supply, Deliver and install a pre cast VIP sub structure complete with beams | No
| PA 3.6 | (b) Supply and Erection of Brickworks ( Excavation to be paid under Section D) | m2
| PA 3.7 | c) Supply and pplication of Water proof sealant only on instruction of Employer's Agent | m2
| PA 2.3 | (d) Extraover of 6mm single coat cement plaster on brick substructure according to | m2
SANS 2001-EMI: 2007
8.3 |  | ABLUTION BLOCKS:
| PA 3.8 | (a) Supply and Install 12m X 2.4m Prefabricated Female Ablution Unit | No
| PA 3.9 | (b) Supply and Install 12m X 2.4m Prefabricated Male Ablution Unit | No
| PA 3.10 | (c) Supply and install 6m X 2.4m Prefabricated Male Ablution Unit | No
| PA 3.11 | (d) Supply and install 6m X 2.4m Prefabricated Female Ablution Unit | No
8.4 | PA | Wash Trouph:
|  | (a) Provide and install double concrete wash trough including stand, two taps, | No
fixing into the ablution Block, drainnage and water connection
8.5 | PA | Guard House
|  | (a) Provsional sum for supply and erection of security guard house | P/S
8.6 | PA | Supply and erection of new fencing material:
| PA | a) Supply, delivery and installation of steel wire mesh fencing around the ablution blocks (0.9mm x 90mm x 1.8mm x 5000mm) including gate, galvanised steel poles, concrete footings, transportation and installation (incl. labour) | m

## Slovo Park Sewer Reticulation
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
1 | SABS 1200A & 1200AB | SCHEDULE 1: PRELIMINARY AND GENERAL
1.1 | 8.3 | FIXED-CHARGE ITEMS
1.1.1 | 8.3.1 | Contractual requirements | Sum | 1
1.1.2 | 8.3.2 | Provision of facilities on site:
| 8.3.2.1 | 1) Facilities for Engineer:
|  | a)Engineers Office Type 2 and parking (No.=2) | Sum | 1
|  | b)Nameboards (No=2) | Sum | 1
|  | c) Meeting room Type 1 | Sum | 1
|  | d) Latrine facilities | Sum | 1
1.1.3 | 8.3.2.2 | 2) Facilities for the Contractor
|  | a) Offices and storage sheds | Sum | 1
|  | b) Ablution and latrine facilities | Sum | 1
|  | c) Tools and equipment | Sum | 1
|  | d) Access (see sub-clause 5.8) | Sum | 1
|  | e) Water supplies, electric power and communications | Sum | 1
|  | f) Dealing with water | Sum | 1
1.1.4 | PSA 8.3.5.2 | OHS Act Obligations (Compilation of OHSAct file) | Sum | 1
1.1.5 | PSA 8.3.5.3 | EMP Obligations | Sum | 1
1.1.6 | PSA 8.3.5.4 | Issuing of notices to consumers also refer to PS6.6 | Sum | 1
1.1.7 | 8.3.4 | Removal of site Establishment | Sum | 1
1.2 | 8.4 | TIME RELATED ITEMS
1.2.1 | 8.4.1 | Contractual requirements | month | 24
1.2.2 | 8.4.2.1 | 1) Facilities for Engineer:
|  | a)Engineers Office Type 2 and parking (No.=2) | month | 24
|  | b)Nameboards (No=2) | month | 24
|  | c) Meeting room Type 1 | month | 24
|  | d) Latrine facilities | month | 24
1.2.3 | 8.4.2.2 | Facilities for the Contractor:
|  | a) Offices and storage sheds | month | 24
|  | b) Ablution and latrine facilities | month | 24
|  | c) Tools and equipment | month | 24
|  | d) Access (see sub-clause 5.8) | month | 24
|  | e) Plant | month | 24
|  | f) Water supplies, electric power and communications | month | 24
|  | g) Dealing with water | month | 24
1.2.4 | 8.4.3 | Supervision for the duration of construction | month | 24
1.2.5 | 8.4.4 | Company and head office overhead costs for the duration of the Contract | month | 24
1.2.6 | PSA 8.4.6.2 | Security Services | month | 24
1.3 | OHS Spec. | Allow for compliance with all aspects of the OHS specification including:
1.3.1 | PSA 8.4.6.4 | Risk assesment | month | 24
1.3.2 | PSA 8.4.6.1(1) | Complaince with Health and Safety Plan including Safety Officer Salary | month | 24
1.4 | EMP | Allow for compliance with all aspects of the EMP/Authorizations including
1.4.1 | PSA 8.4.6.1(2) | a)Environmental Officer Salary | month | 24
| PSA 8.4.6.1(3) | b) Environmental Control Officer | P/Sum | 1 | 480000 | 480000
1.5 | 8.6 | Prime cost items
1.5.1 |  | a) Materials used in the execution of dayworks | P/S | 1 | 20960 | 20960
1.5.2 |  | b) Overheads, charges and profit on item 1.4.1(a) above | % | 20960
Carried Forward
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
Brought Forward
1.6 | 8.8 | TEMPORARY WORKS
1.6.1 | 8.8.2 | Dealing with traffic for the duration of the Contract | Sum | 1
1.6.2 | 8.8.6 | Dealing with water | Sum | 1
1.6.3 | 8.8.4 | Existing services
1.6.4 | PSA 8.8.4 (a) | a) Supply or hire of specialist equipment for the detection and Scanning of existing services. | P/S | 1 | 52400 | 52400
1.6.5 |  | Profit on item 1.6.4 (a) above | % | 52400
1.6.6 | PSA 8.8.4 (b) | b) Excavation by hand to expose existing services. | m3 | 860
1.7 | PSA 8.5 | PROVISIONAL SUMS STATED BY ENGINEER
|  | a) Reinstatement of asphalt by JRA | P/S | 1 | 524000 | 524000
|  | b) Engineer's Equipment and Independent testing | P/S | 1 | 104800 | 104800
|  | c) Temporary protection of existing services | P/S | 1 | 47160 | 47160
|  | d) Community Liaison Officer | P/S | 1 | 288000 | 288000
|  | e) Landscaping and including irrigation system | P/S | 1 | 50000 | 50000
|  | f) Relocation of existing services | P/S | 1 | 50000 | 50000
|  | g) Training of local labour | P/S | 1 | 150000 | 150000
|  | h) Alterations and connection to Municipal services and repair to damaged services where approved by Engineer | P/S | 1 | 30000 | 30000
|  | i) Disposal of Asbestos | P/S | 1 | 50000 | 50000
|  | j) Investigations as ordered by the Engineer | P/S | 1 | 100000 | 100000
|  | k) Survey as per the Engineer's instruction. Rate to include for a CD with AutoCAD drawing/s and co-ordinates data in CSV or text format. | P/S | 1 | 250000 | 250000
|  | l) Procurement of Butt-Welding Machine (200mm - 315mm) | P/S | 1 | 1500000 | 1500000
|  | m) Overheads, charges and profit on items (a-I) above | % | 1500000
1.9 | 8.9 | Day works (to be executed on instruction from the Engineer)
Labour
|  | a) Unskilled | hr | 10
|  | b) Semi skilled | hr | 10
|  | c) Skilled | hr | 10
|  | d) Armed Security guard | hr | 10
Tipper truck
|  | a) Capacity 6m³ (small) | hr | 10
|  | b) Capacity 10m³ (medium) | hr | 10
|  | c) Capacity 12m³ (large) | hr | 10
Flat bed tracks
|  | a) Capacity 3 ton (small) | hr | 10
|  | b) Capacity 5 ton (medium) | hr | 10
|  | c) Capacity 10 ton (large) | hr | 10
LDV's
|  | a) Capacity 1 ton | hr | 10
Conservancy/ Water tankers
|  | a) Capacity 6,000 litres (small) | hr | 10
|  | b) Capacity 9,000 litres (medium) | hr | 10
|  | c) Capacity 15,000 litres (large) | hr | 10
Excavator (Crawler excavator)
|  | a) 20 tonne | hr | 10
|  | b) 30 tonne | hr | 10
TLB's (Tractor loader backhoe)
|  | a) 2x4 | hr | 10
|  | b) 4x4 | hr | 10
Walk behind vibrating rollers
|  | a) Model BW 61 (small) | hr | 10
|  | b) Model BW 76 (medium) | hr | 10
|  | c) Model BW 90 (large) | hr | 10
Compactors
|  | b) Plate compactor | hr | 10
Compressors (Potable Diesiel Compressor)
|  | a) Small | hr | 10
|  | b) Medium | hr | 10
|  | c) Large | hr | 10
Portable water pumps
|  | a) Small | hr | 10
|  | b) Medium | hr | 10
|  | c) Large | hr | 10
SCHEDULE 1: PRELIMINARY AND GENERAL: CARRIED TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
2 | SANS 1200C | SCHEDULE 2: SITE CLEARANCE
2.1 | 8.2.1 | Clear and grub for width of 3 metres along the pipe route | m | 12484
2.2 | PSC 8.2.5 | Take down existing masonry walls, palisade fences and other obstructions on the pipe route
|  | a)110mm wall | m² | 10
|  | b) 220mm wall | m² | 10
|  | c) 330mm wall | m² | 10
|  | d) steel pallisade fences | m² | 10
2.3 | 8.2.10 | Remove topsoil to nominal depth of 150mm and stockpile | m³ | 1500
2.4 | PSC 8.2.11b | Removal of man-made surfaces
a) Roadway, Asphalt and other layers
|  | i) Asphalt (≤ 50mm thick) and including base, sub-base and subgrades layers up to 800mm deep | m² | 25
|  | ii) Asphalt (> 50mm ≤ 100mm thick) and including base, sub-base and subgrades layers up to 800mm deep | m² | 25
b) Footways and Driveways
|  | i) Asphalt ≤ 50mm thickness | m² | 25
|  | ii) Asphalt > 50 ≤ 100mm thickness | m² | 25
|  | iii) Interlocking concrete segmental paving blocks (all colours) | m² | 25
|  | iv) Concrete slabs (450 x 450mm) | m² | 25
|  | v)Brick paving | m² | 25
|  | vi)Unreinforced concrete ≤ 75mm thick | m² | 25
|  | vii)Reinforced concrete ≤ 75mm thick | m² | 25
|  | viii)Grassing | m² | 25
|  | ix)Kerbing (all types of kerbing) | m | 25
2.4.1 | PSC 8.2.12.1 | Backfilling and reinstatement of roads
|  | (a) 150mm base | m³ | 10
|  | (b) 150mm subbase | m³ | 10
|  | (c)150mm selected subgrade | m³ | 10
2.4.2 | PSC 8.2.12.2 | Backfilling and reinstatement of footways
a)Using removed materials:
|  | Interlocking concrete segmental paving blocks (all colours) | m² | 10
|  | Brick paving | m² | 10
|  | Grassing | m² | 100
|  | Kerbing (all types of kerbing) | m | 10
|  | ≤50mm thick Bitumen hot - mix: Fine | m² | 10
|  | >50mm≤100mm thick Bitumen hot - mix: Fine | m² | 10
|  | Interlocking concrete segmental paving blocks, including a 20mm river sand bedding layer, jointing sand (plaster sand) and mortar infill between edge restraint and blocks | m² | 10
|  | Concrete slabs (450 x 450mm) including a 20mm river sand bedding layer, jointing mortar | m² | 10
|  | Brick paving including a 20mm river sand bedding layer, jointing sand (plaster sand) and mortar infill between edge restraint and bricks | m² | 10
|  | Unreinforced concrete ≤ 75mm thick (15MPa) | m² | 10
|  | Reinforced concrete ≤ 75mm thick (15MPa) | m² | 10
|  | Grassing | m² | 10
|  | Kerbing, including a 50mm bedding (cement and river sand), jointing mortar and 15MPa concrete haunching at all joints | m | 10
Carried Forward
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
Brought Forward
2.4.3 | PSC 8.2.13 | Reinstatement of existing masonry walls and palisade fences
a) Face Brick
|  | 110mm wall | m² | 5
|  | 220mm wall | m² | 5
|  | 330mm wall | m² | 5
b) Plastered
|  | 110mm wall | m² | 5
|  | 220mm wall | m² | 5
|  | 330mm wall | m² | 5
|  | c)Steel Palisade fences (2.1m height) | m² | 10
|  | d)Reinstatement of existing outer buildings to its original state or to Enginner satisifaction | No. | 2
SCHEDULE 2: SITE CLEARANCE: CARRIED TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
3.0 | SANS 1200DB | SCHEDULE 3: EARTHWORKS (PIPE TRENCHES)
3.1 | 8.3.2 | Excavation
(a) Excavate in all materials, backfill and compact and dispose of surplus and unsuitable materials within the free haul distance, for trenches
|  | i) > 0m but ≤ 1.5m deep | m³ | 15440
|  | ii) > 1.5m but ≤ 2.5m deep | m³ | 14350
|  | iii) > 2.5m but ≤ 3.5m deep | m³ | 7864
|  | iv) > 3.5m deep | m³ | 5904
(b) Extra over item (a) above for:
|  | i) Intermediate material | m³ | 17423
|  | ii) Hard excavation material | m³ | 4331
|  | iii) Boulder excavation | m³ | 1444
c) Extra over item (a) above for Shoring and Bracing of trench sides
|  | i) > 0m but ≤ 1.5m deep | m2 | 15440
|  | ii) > 1.5m but ≤ 2.5m deep | m2 | 14350
|  | iii) > 2.5m but ≤ 3.5m deep | m2 | 7864
|  | iv) > 3.5m deep | m2 | 5904
3.2 | 8.3.3 | Excavation ancillaries
| 8.3.3.1 | Make up deficiency in backfill material:
|  | a) By importation from commercial source or off-site sources selected by the Contractor | m³ | 3500
3.3 |  | Additional compaction
| 8.3.3.3 | Compaction in road reserve
|  | a) Additional compaction to 93% mod AASHTO density in road reserves | m³ | 1875
3.4 | PSDB 8.3.5 | Existing services that intersect or adjoin a pipe trench:
a) Service that intersect a trench
|  | (i) Cables. | No. | 50
|  | (ii) Water mains | No. | 25
|  | (iii) Water house connections | No. | 100
|  | (iv) Sewer pipes up to 400 mm dia. | No. | 20
|  | (v) Storm water pipes up to 1050 mm dia. | No. | 20
|  | (vi) Kerbs and channels | No. | 10
b) Services that adjoin a trench
|  | (i) Cables. | m | 12500
|  | (ii) Water mains | m | 6500
|  | (iii) Storm water pipes up to 1050 mm dia. | m | 100
|  | (iv) Kerbs and channels | m | 10
|  | (v) Sewer pipes up to 400 mm dia. | m | 10
3.4 | PSDB 8.3.5 | (c) Services that require special care | No | 10
SCHEDULE 3: EARTHWORKS (PIPE TRENCHES): CARRIED TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
4.0 | SANS 1200LB | SCHEDULE 4: BEDDING (PIPES)
4.1 |  | Provision of bedding:
4.1.1 | 8.2.1 | (a) from trench excavations
|  | i) selected granular material | m³ | 2000
|  | ii) selected fill material | m³ | 4100
4.1.2 | 8.2.2.3 | (b) from commercial sources
|  | i) selected granular material | m³ | 1898
|  | ii) selected fill material | m³ | 825
|  | (iii) Bidim A2 | m² | 1560
|  | (iv) 19mm crusher run stone | m³ | 560
|  | (v) Dump Rock | m³ | 10
SCHEDULE 4: BEDDING (PIPES): CARRIED TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
5.1 | 8.2.1 | Supply, butt-weld join, lay, bed, test and commission the following HDPE type PE 100 Class PN 10 approved solid wall pipe in accordance with ISO 4427 in trenches. Pipes to be norminal diameter.
|  | i) DN160 | m | 240
|  | ii) DN200 | m | 12055
|  | iii) DN250 | m | 430
5.7 |  | Supply, installation of new pipes complete with butt-welding and test through Horizotal Direction Drilling (through soft, medium and hard material) for depth not exceeding 10metres including supply of equipment for road crossings (Launch and reception pits will be paid under earthworks):
5.7.1
|  | (i) 160mm ( type PE 100, Class PN 10 Pipe to SABS ISO 4427) | m | 50
|  | (ii) 200mm ( type PE 100, Class PN 10 Pipe to SABS ISO 4427) | m | 250
|  | (iii) 250mm ( type PE 100, Class PN 10 Pipe to SABS ISO 4427) | m | 25
5.7.2 |  | Extra over for item 5.7.1(a) above for drilling into hard rock | m | 50
5.8 | 8.2.3 | MANHOLES - PRE MANUFACTURED - HDPE Construct manhole complete from a single length HDPE (8 kN / m2 ring stiffness) pipe Type PE 100 to SABS ISO 4427. Cost shall include supply pre-manufactured manhole complete with step irons, ringbeam at top, for the following diameters (Atual depth to be confirmed proir to manufature of manholes:
5.8.1 |  | Manholes 1,000mm diameter
|  | a) > 0m but ≤ 2.0m deep | No. | 15
|  | b) > 2m but ≤ 3.0m deep | No. | 15
5.8.2 |  | Manholes 1,250mm diameter
|  | a) > 0m but ≤ 2.0m deep | No. | 65
|  | b) > 2m but ≤ 3.5m deep | No. | 100
|  | c) > 3.5m but ≤ 5.0m deep | No. | 37
5.8.3 |  | Manholes 1,500mm diameter
|  | a) > 0m but ≤ 2.0m deep | No. | 1
|  | b) > 2m but ≤ 3.5m deep | No. | 1
|  | c) > 3.5m but ≤ 5.0m deep | No. | 1
5.9 |  | Demolish existing manholes where new manholes will be constructed for pipe diameters 160mm to 600mm
|  | a) > 0m but ≤ 2.0m deep | No. | 5
|  | b) > 2m but ≤ 3.5m deep | No. | 5
|  | c) > 3.5m but ≤ 5.0m deep | No. | 2
Repair manhole benching in existing manholes up to 5m
|  | a) 0mm - 1000mm diameter | No. | 5
|  | b) 1000mm - 1250mm diameter | No. | 5
|  | c) 1250mm - 1500mm diameter | No. | 2
Carried Forward
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
Brought Forward
5.10 | 5.10.1 | Erf Connections
Supply, butt-weld, bed,lay, joint, and test new property connection inclunding all electrofusion fittings related to the erf connections ( Length of erf connection 30meter) as per detail JW100-DET 2 -S02
|  | i) 110mm dia. HDPE type PE 100 class PN10 approved solid wall pipe in accordance with ISO 4427, including joints to existing pipes and all other fittings | No | 958
| 5,10,2 | Supply and install electrofusion Y-Junction fittings in accordance with ISO 4427 to connect to the sewer main line.
|  | 110mm on 200mm diameter line | No | 900
|  | 110mm on 250mm diameter line | No | 70
| 5,10,3 | (a) Provisional Amount (R) for fittings not shown on detail | P.Sum | 1 | 150000 | 150000
| 5,10,4 | (b) Profit on item 5.10 (a) above | % | 150000
5.11 | 8.2.11 | Connect to existing Sewers
|  | Break existing manhole, channel and benching and rebuilt manhole with new channel and benching the rate shall include any temporary sewer diversion or over pumping required | No | 5
5.12 | 8.2.12 | Raising or Lowering of Existing Manholes
|  | i) 1000mm diameter | No. | 5
|  | ii) 1250mm diameter | No. | 5
|  | iii) 1500mm diameter | No. | 5
SCHEDULE 5: SEWERS: CARRIED TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
6.0 |  | SCHEDULE 6: CCTV CAMERA SURVEY
6.1 |  | CCTV surveys
6.1.1 | PS 4.2.39 | Cleaning of conduits for the following pipe diameter diameter after installation if required:
|  | a) 160 > and ≤ 355mm diameter | m | 12500
6.1.2 | PS 4.2.39 | CCTV camera surveys of pipelines after upgrade works, of the following diameters. The CCTV should identify any house connections, manholes and any other detail and defects in the sewer line:
|  | a) 160 > and ≤ 355mm diameter | m | 12500
6.2.2 |  | Overpumping and manhole isolation
Manhole length isolation
6.2.2.1 | P.S.4.2.50.3 | a) Plugging Conduits:
|  | i) 0 ≥ 150mm diameter | No. | 5
|  | ii) 150 > and ≤ 315mm diameter | No. | 5
6.2.2.2 | P.S.4.2.50.4 | b) Over-pumping
|  | iii) Flow rate 430 litres per sec | hours | 120
SCHEDULE 6: CCTV CAMERA SURVEY AND PIPE CRACKING: CARRIED TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
7 |  | SCHEDULE 7 :PRECAST POUR-FLUSH
7.1 | PA | PRECAST POUR-FLUSH TOILETS:
| PA 3.3 | (c) Supply, Deliver and install Precast Pour- Flush toilet with a low flush leak-proof cistern including all accessories including drainnage connection with all accessories | No | 970
| PA 3.4 | (d) Supply, Deliver and install Precast Pour-Flush toilet with a low flush leak-proof cistern for disabled people including all accessories including drainnage connection with all accessories | No | 10
|  | c) Demolishing, desludging,disfection and dispose to the suitable landfill including all required permit | No | 1500
SCHEDULE 7 : PRECAST POUR-FLUSH TOILETS : CARRIED TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
8 |  | SCHEDULE 8 :SUBCONTRACTING
8.1 | PS 3.2.8 | Sub-contracting of works to SMME's | Prov.Sum | 1 | 30000000
8.2 | PS 3.2.8 | Management fees for SMME's | % | 30000000
SCHEDULE 8 :SUB-CONTRACTING: CARRIED TO SUMMARY

## Summary
SUMMARY OF BILL OF QUANTITIES
JW14478: PROVISION OF BASIC SANITATION SERVICES IN SLOVO PARK INFORMAL SETTLEMENT
DESCRIPTION | AMOUNT
SCHEDULE 1: PRELIMINARY AND GENERALS
SCHEDULE 2: SITE CLEARENCE
SCHEDULE 3: EARTH WORKS (PIPE TRENCHES)
SCHEDULE 4: BEDDINGS (PIPES)
SCHEDULE 5: SEWERS
SCHEDULE 6: CCTV CAMERA SURVEY AND PIPE
SCHEDULE 7: PRECAST WATERBORNE TOILETS
SCHEDULE 8: SUB-CONTRACTING
SUB-TOTAL A
Add 10% Escalation
SUB-TOTAL B
Add 10% Contingencies
SUB-TOTAL C
VAT @15%
TOTAL