## 1-P&G
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
`
| SANS 1200 A | SECTION 1 : GENERAL
1.1 | 8.3 | Contractual Requirements
1.1.1 | PSA 8.3.1 | Contractual requirements | Sum | 1
1.1.2 |  | Fixed preliminary and general charges | Sum | 1
| 8.3.2 | Establishment of facilities on site:
| 8.3.2.1 | Facilities for Employers Agent
1.1.3 | 8.3.2.1(a) | Provision of a furnished meeting room and office for the Employers Agent's Representative (including all furnishings, facilities and equipment including toilet facilities) | Sum | 1
1.1.4 |  | Provision of survey equipment (PSAB 4.2) | Sum | 1
1.1.5 | PSAB 8.1 | Contract Nameboard (2 No.) and Identity Boards (2 No.) with supports erected & moved complete. (Refer to PSAB 3.1) | No. | 2
1.1.6 |  | Provision of survey assistants (Refer PSAB 5.5) | Sum | 1
1.1.7 |  | Covered Parking (2 bays) (Refer PSAB 3.3) | Sum | 1
1.1.8 |  | PPE for Engineer, assistants and students | Sum | 1
1.1.9 |  | Security of works | Sum | 1
1.1.10 |  | All other specified facilities (incl wifi internet connection and printer) | Sum | 1
1.1.11 | 8.3.2.2, 8.3.2.3 | Facilities for Contractor
1.1.11.1 |  | a) Offices and storage sheds | Sum | 1
1.1.11.2 |  | b) Workshops | Sum | 1
1.1.11.3 |  | c) Laboratories | Sum | 1
1.1.11.4 |  | d) Living Accommodation | Sum | 1
1.1.11.5 |  | e) Ablution and latrine facilities | Sum | 1
1.1.11.6 |  | f) Tools and equipment | Sum | 1
1.1.11.7 |  | g) Water supplies, electric power and communications | Sum | 1
1.1.11.8 |  | h) Dealing with water | Sum | 1
1.1.11.9 |  | i) Access | Sum | 1
1.1.11.10 |  | j) Construction Plant and Transport | Sum | 1
1.1.11.11 | 8.3.4 | Remove all site establishment on completion | Sum | 1
1.1.11.12 | PSA8.17 | Dealing with conditions of permits, Wayleave Agreements, EIA, RoD. (Refer to C3.4.4.8) | Sum | 1
1.1.11.13 |  | Notices and warmings to consumers | Sum | 1
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
1.1.12 | PSA 8.8 a | OH&S Requirements (Fixed charges)
|  | The sum shall cover all preparation of risk assessments (Annexure D), safe work procedures, the project H&S File, the H&S Plan, medicals for all workers, the provision of PPE and protective clothing, including hazards and potential hazard identification, Standard Working Procedures, and Method Statements and all other costs necessary in complying generally with the Occupational Health and Safety Act 85 of 1993, (as amended), the Construction Regulations 2014 and the Particular Safety Specification (Annexure C) | Sum | 1
1.1.13 |  | Completing and checking the Project H&S File and handing over to Client on completion of the works and exit medicals for all workers. | Sum | 1
1.1.14 |  | HIV / AIDS Awareness
Refer to SANS 1921-6 and Annexure F
|  | Conduct HIV/AIDS awareness programme workshops on site for not less than 90% of the workers inclusive of all direct and indirect costs (at least once every 4 months) | No. | 2
1.1.15 |  | Provide and maintain condom dispenser | No. | 1
1.1.15 |  | Provide and maintain HIV/AIDS awareness posters | No. | 1
1.1.16 |  | Provide information regarding the voluntary testing of construction workers, counselling, support and care in a monthly report | Sum | 1
1.1.17 | PSA 8.15 | Environmental Management and EMP
|  | The sum shall cover the cost of all activities necessary to comply with section C3.5 and Annexure M of the Environmental Management Particular Specification, and Environmental Management Plan, which incorporates the ROD requirements for the Project, which have not been included in the tendered rates for the scheduled items allowed elsewhere in the bill of quantities | Sum | 1
|  | Appointment of Safety Officer | Sum | 1
|  | Appointment of Environmental Officer | Sum | 1
1.2 | SANS 1200A | TIME RELATED ITEMS
1.2.1 | PSA 8.4.1 | Contractual requirements (including, EPWP, QA and Project Reporting) | Months | 6
|  | TOTAL CARRIED FORWARD |  |  | R
|  | TOTAL BROUGHT FORWARD |  |  | R
| PSA 8.4.2 | Operate and maintain facilities on Site
| 8.4.2.1 | Facilities for Engineer for duration of contract (SANS 1200AB)
1.2.2 | 8.4.2.1 (a) | Provision of meeting room and office for the Engineer's Representative including toilet facilities as per PSAB 5.2 & PSAB 3.2 | Months | 6
1.2.3 |  | Provision of survey equipment (Refer to PSAB 4.2) | Months | 6
1.2.4 |  | Provision of 2 № survey assistants (Refer to PSAB 5.5) | Months | 6
1.2.5 |  | Nameboards (2No.) | Months | 6
1.2.6 |  | PPE for Engineer and assistants | Months | 6
1.2.7 |  | Engineer's Office and parking facilities | Months | 6
1.2.7 |  | Security of works | Months | 6
1.2.8 | 8.4.2.2 8.4.2.3 | Facilities for Contractor
1.2.8.1 |  | a) Offices and storage sheds | Months | 6
1.2.8.2 |  | b) Workshops | Months | 6
1.2.8.3 |  | c) Laboratories | Months | 6
1.2.8.4 |  | d) Living Accommodation | Months | 6
1.2.8.5 |  | e) Ablution and latrine facilities | Months | 6
1.2.8.6 |  | f) Tools and equipment | Months | 6
1.2.8.7 |  | g) Water supplies, electric power and communications | Months | 6
1.2.8.8 |  | h) Dealing with water | Months | 6
1.2.8.9 |  | i) Access | Months | 6
1.2.8.10 |  | j) Construction Plant and Transport | Months | 6
1.2.9 | PSA 8.4.3 | Supervision for duration of the contract (all supervisory staff not considered labour) | Months | 6
1.2.10 | 8.4.4 | Company and Head Office overhead costs | Months | 6
1.2.11 | PSAB 8.20 | General responsibilities and other time related obligations | Months | 6
| PSA 8.17 | Permits and Wayleaves
1.2.12 |  | Dealing with conditions of permits, Wayleave Agreements, EIA, RoD (Refer to C3.4.4.8) | Months | 6
|  | TOTAL CARRIED FORWARD |  |  | R
|  | TOTAL BROUGHT FORWARD |  |  | R
1.2.13 | PSA 8.8 a | OH&S Requirements (Time charges)
|  | Updating and amending the risk assessments, safe work procedures, the project H&S File, the H&S Plan, medicals for all workers, the provision of PPE and protective clothing, including hazards and potential hazard identification, Standard Working Procedures, and Method Statements and all other costs necessary in complying generally with the Occupational Health and Safety Act 85 of 1993, (as amended), the Construction Regulations 2014 and the Particular Safety Specification (Annexure C) | Months | 6
1.2.14 |  | Full compliance and checking the Project H&S File during construction of the works under the Contract. | Months | 6
1.2.15 |  | The sum shall cover all activities necessary in complying with the requirements of the Health and Safety Specification in terms of Training as the Work proceeds | Months | 6
1.2.16 |  | The sum shall cover all activities necessary in complying with the requirements of the Health and Safety Specification in terms of Monitoring and Review as the Work proceeds | Months | 6
1.2.17 |  | The sum shall cover the cost of all activities necessary to comply with section C3.5 and Annexure M of the Environmental Management Particular Specification, and Environmental Management Plan, which incorporates the ROD requirements for the Project, which have not been included in the tendered rates for the scheduled items allowed elsewhere in the bill of quantities | Months | 6
1.2.18 | PSA 8.4.5 | Security in accordance with C3.4.4.6 | Months | 6
1.2.19 |  | Any other time related obligations | Months | 6
EME's or QSE's
1.2.20 | PSA 8.5.4 | Contractor to provide manager for dealing with EME's or QSE's for duration of contract to meet local employment and local enterprise targets (Refer to C1.8, C1.9 and C3.4.10 & PSA 5.10) | Months | 6
1.2.21 |  | Dealing with conditions of EME's or QSE's sub-contractors and local/target labour (Refer to C1.9, C3.4.10 & C3.3.2).The tendered rate shall cover all costs including but not limited to procurement, management, administration, overheads, finance costs, transportation, training, risk and profit and any other costs associated on work allocated to EME's or QSE's and targeted labour in order to achieve the required participation goals. (Contractor to allocate packages) | Months | 6
|  | TOTAL CARRIED FORWARD |  |  | R
|  | TOTAL BROUGHT FORWARD |  |  | R
1.3 | 8.5 | SUMS STATED PROVISIONALLY BY ENGINEER
1.3.1 |  | Quality assurance and management plan | Sum | 1
1.3.2 |  | Provisional sum for Independent OHS, EMP practitioners | Prov. Sum | 1
1.4 | 8.8 | TEMPORARY WORKS
C3.1.5
1.4.1 | PSA 8.7.2 | Dealing with traffic or accommodation of traffic and erecting signage (also refer to SANS 1921-2) | Sum | 1
1.4.2 | 8.8.1 PSA 5.8 | Access to works including all temporary roads, excavations and ramps, etc. | Sum | 1
1.4.3 | PSA 8.7.6 | Dealing with water | Sum | 1
1.4.4 | PSA 8.8.4 | Dealing with existing infrastructure | Sum | 1
1.4.5 | PSA 8.22 | Dealing with Public | Sum | 1
1.4.6 | PSA 8.18 | Barricading of Trenches | Sum | 1
1.4.7 | PSA 8.19 | Fencing | Sum | 1
1.4.9 | PSA 8.22 | Allow for the attendance of other Contractors, JW staff and public within the parameters of the site. | Sum | 1
| TOTAL FOR SECTION 1 CARRIED FORWARD TO SUMMARY |  |  |  | R

## 2-Daywork
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
2 | SANS 1200A | SECTION 2: DAYWORKS, PROVISIONAL SUMS AND PRIME COST ITEMS
8.7
2.1 | PSA 8.6 | DAYWORKS
Labour
2.1.1 | 8.5 (b.1) | Allow for total remuneration paid to workers | Prov Sum | 1 | 30000 | 30000
2.1.2 | PSA 8.5 | Overheads, charges and profit on 2.1.1 above | % | 30000
2.1.3 |  | Team Leader / charge hand | hr | 5
2.1.4 |  | Artisan | hr | 10
2.1.5 |  | Skilled | hr | 10
2.1.6 |  | Semi-skilled | hr | 10
2.1.7 |  | Unskilled | hr | 10
2.1.10 |  | Foreman | hr. | 10
2.1.11 |  | Driver (LDV,machine, trucks, etc.) | hr. | 10
2.1.12 |  | Certified Blaster | hr. | 10
2.1.13 |  | Steel fixer | hr. | 10
2.1.14 |  | Concretor | hr. | 10
2.1.15 |  | Charge hand | hr. | 10
2.1.16 |  | Security guard | hr. | 10
Plant and equipment
(a) Tractor loader backhoe (TLB)
2.1.17 |  | (i) Tractor Loader Backhoe (Bigger than 45kW but smaller than 70kW) | hr. | 5
(b) Crawler Excavators
2.1.18 |  | (i) Smaller than 93kW (small) | hr. | 0
2.1.19 |  | (ii) Bigger than 93kW but smaller than 200kW ( Medium) | hr. | 0
(c) Tipper Trucks
2.1.20 |  | (i) Tipper trucks (3m³) Small | hr. | 5
2.1.21 |  | (ii) Tipper trucks (5m³) Medium | hr. | 5
2.1.22 |  | (iii) Tipper trucks (10m³) Large | hr. | 5
(d) Flat Bed Trucks
2.1.23 |  | (i) Flat bed 5t capacity | hr. | 8
2.1.24 |  | (ii) Flat bed 7t capacity | hr. | 8
(e) LDV
2.1.25 |  | (i) 1t Pick-up | hr. | 5
2.1.26 |  | (f) Mobile Crane 5t at 3m radius | hr. | 5
(g) Walk behind vibrating rollers
2.1.27 |  | (i) Model - Bomag 60 or similar (small) | hr. | 5
2.1.28 |  | (ii) Model - Bomag 76 or similar (medium) | hr. | 0
2.1.29 |  | (iii) Model - Bomag 90 or similar | hr. | 0
|  | TOTAL CARRIED FORWARD |  |  | R
|  | TOTAL BROUGHT FORWARD |  |  | R
(h) Plate compactors
2.1.30 |  | (i) Vipac or similar | hr. | 5
(i) Rammers
2.1.31 |  | (i) Model - Wacker or similar | hr. | 5
2.1.32 |  | (j) Concrete mixers |  |  |  |  | 222222
2.1.33 |  | (i) Volume 100 litre wet (small, towable) | hr. | 8
2.1.34 |  | (ii) Volume 175 litre wet (medium) | hr. | 0
2.1.35 |  | (iii) Volume 250 litre wet (large) | hr. | 0
|  | (k) Diesel compressors including hoses and tools | hr | 8
2.1.36 |  | (i) Capacity smaller than 200 cfm (small) | hr. | 0
2.1.37 |  | (ii) Capacity bigger than 200 cfm smaller than 400 cfm (medium) | hr. | 0
2.1.38 |  | (iii) Capacity bigger than 400 cfm (large) | hr. | 0
2.1.39 |  | (l) Waterpump
2.1.40 |  | (i) Capacity smaller than 400 litre/min (medium) | hr | 4
2.1.41 |  | (ii) Capacity bigger than 400 but smaller than 600 litre/min (medium) | hr | 0
2.1.42 |  | (iii) Capacity bigger than 600 but smaller then 1 100 litre/sec (large) | hr | 0
Materials
2.1.43 | 8.5 (a, b1) | Net cost of goods or materials | Prov Sum | 1 | 50000 | 50000
2.1.44 | PSA 8.5 | Overheads, charges and profit on 2.1.8 above | % | 50000
Contractors own Plant
2.1.45 | 8.5 (a) | Allow for all-inclusive cost of using Contractor's own plant on site. | Prov Sum | 1
Plant hired by the Contractor
2.1.46 | 8.5 (b.1) | Net cost of hired plant | Prov Sum | 1
2.1.47 | PSA 8.5 | Overheads, charges and profit on 2.1.11 above | % | 25000
Survey Beacons/Pegs
2.1.48 | 8.5 (a) | Search for, record, reference and protect survey stations, bench marks, erf boundary pegs and other reference pegs and expose on completion of works | Sum | 1
2.2 | 8.5 | SUMS STATED PROVISIONALLY BY THE ENGINEER
PSA 8.5
2.2.1 |  | Cellphone allowance for the Employers Agent Representative and their assistant for the duration of the contract (R1500 pm) | Prov Sum | 1 | 9000 | 9000
2.2.2 |  | Overheads, charges and profit on 2.2.1 above | % | 9000
|  | TOTAL CARRIED FORWARD |  |  | R
|  | TOTAL BROUGHT FORWARD |  |  | R
2.2.7 |  | Equipment for the Employers Agent Representative and their assistant for the duration of the contract | Prov Sum | 1 | 10000 | 10000
2.2.8 |  | Overheads, charges and profit on 2.2.7 above | % | 10000
Survey
2.2.9 |  | Ad-hoc topographical survey as requested by the Engineer during the contract | Prov Sum | 1 | 12000 | 12000
2.2.10 |  | Overheads, charges and profit on 2.2.9 above | % | 12000
| PSA 8.5.3 | Community Liason Officer and Consultant
2.2.11 | a) | Employment of the CLO for duration of contract who shall be appointed by the Contractor and shall report to the Engineer and the Client (R8500 pm plus R500 pm cellphone allowance) (refer C3.4.7) | Prov Sum | 1 | 81000 | 81000
2.2.12 | b) | Overheads, charges and profit on 2.2.11 | % | 81000
2.2.13 |  | Employment of a social consultant for duration of contract | Prov Sum | 1 | 81000 | 81000
2.2.14 | PSA 8.5 | Overheads, charges and profit on 2.2.13 | % | 81000
| PSA 8.12 | Training
PSA 8.13
2.2.15 |  | Allowance for training of local unskilled labour | Prov Sum | 1 | 150000 | 150000
2.2.16 | PSA 8.5 | Overheads, charges and profit on 2.2.15 | % | 150000 |  | 0
2.2.17 | PSA 8.14 | Allowance for transport | Prov Sum | 1 | 25000 | 25000
2.2.18 |  | Overheads, charges and profit on 2.2.17 | % | 25000
| Spec PC | Re-vegetation
2.2.19 |  | Re-vegetation of the site | Prov Sum | 1 | 15000 | 15000
2.2.20 | PSA 8.5 | Overheads, charges and profit on 2.2.19 | % | 15000 |  | 0
Pipework
2.2.21 |  | Connection to existing / proposed pipework | Prov Sum | 1 | 15000 | 15000
2.2.22 |  | Overheads, charges and profit on 2.2.21 | % | 15000
Control Testing
2.2.23 | PSA 8.5.1 | Acceptance Control Testing | Prov Sum | 1 | 15000 | 15000
2.2.24 | 8.5 (b) | Overheads, charges and profit on 2.2.23 | % | 15000
|  | TOTAL CARRIED FORWARD |  |  | R
|  | TOTAL BROUGHT FORWARD |  |  | R
| PSA 8.5 | Students
2.2.25 |  | Provisional Sum for employing students on the Contract | Prov Sum | 1 | 100000 | 100000
2.2.26 |  | Overheads, charges and profit on 2.2.25 above | % | 100000
2.3 | PSA 8.4.7 | MISCELLANEOUS
2.3.1 |  | General Signage, as per the Engineer's instructions (Prov) | Prov Sum | 1 | 5000 | 5000
2.3.2 |  | Overheads, charges and profit on 2.3.1 | % | 5000
2.3.3 | PSA 8.22 | Allow for the attendance of EME's or QSE's and other Contractors within the parameters of the site (refer C3.5.26) | Sum | 1
| TOTAL FOR SECTION 2 CARRIED FORWARD TO SUMMARY |  |  |  | R

## GUARD HOUSE 1
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
13.2 |  | GUARD HOUSE NO. 1
3
BILL NO. 1
EARTHWORKS
Site clearance
|  | Digging up and remoing rubbish, debris, vegetation, hedge, shrubs, bush etc and trees not exceeding 200mm girth | m² | 50
|  | Remove top 150mm, around the building | m² | 30
EARTHFILLING
|  | Backfill with G5 material to create level platform compacted to 95% AASHTO MOD. | m³ | 3.672
|  | Backfilling to trenches | m³ | 2.675
EXCAVATIONS
Excavate in earth not exceeding 2m deep
|  | Trenches | m³ | 13.2
|  | Extra over excavation in soft rock | m³ | 1
|  | Extra over excavation in hard rock | m³ | 1
Extraover all excavations for carting away
|  | Surplus material from excavations or stockpile on site to a dumping site | m³ | 13.2
Keeping excavation free of water
|  | Keeping excavations free of water other than subterranean water | item | 1
Risk of collapse
|  | Sides of excavations not exceeding 1.5m deep | m² | 18.48
Filling etc
Earth filling obtained from excavations and/or prescibed stock piles on site, compacted to 95 Mod AASHTO density
|  | Under floors | m³ | 10.8
|  | Backfilling to trenches, holes etc | m³ | 3.168
Weed killers, insecticides, etc
|  | Bottom and side of trenchs | m² | 27.72
|  | Bottom of surfacebed | m² | 10.8
CARRIED FORWARD
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 2
CONCRETE, FORMWORK AND REINFORCEMENT
15MPa/19MM CONCRETE
|  | Surface blinding under footings and bases | m³ | 0.462
CONCRETE FOUNDATION
|  | 25MPa/19mm concrete footing | m³ | 1.848
|  | 20MPa/19mm surfacebed | m³ | 11.16
|  | 20MPa/19mm Apron | m³ | 0.86
CONCRETE SLAB
|  | 25MPa/19mm slabs including beams andinverted beams | m³ | 2.1879
HIGH STRENGTH STEEL REINFORCEMENT
|  | Y12 Bars | t | 0.20513
MILD STRENGTH STEEL
|  | R8 bars | t | 0.0352
Fabric Reinforcement
|  | Mesh ref 193 | m² | 10.8
|  | Mesh ref 100 | m² | 15.6
CONCRETE FINISHES
|  | Woodfloat finishing to surface bed | m² | 10.8
|  | Woodfloat finishing to apron | m² | 15.6
|  | Woodfloat finishing to roof slab | m² | 12.6
|  | 50mm diameter sleeves | m | 50
FORMWORK
|  | Formwork to soffit of concrete slab | m² | 12.87
|  | Formwork to sides of concrete not exceeding 300mm | m | 14.4
Prescribed density tests on filling
|  | Modified AASHTO Density tests | No | 2
Concrete Sundries
|  | Making and testing 150x150x150mm concrete test cubes | Item | 2
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 3
MASONRY
Brickwork of NFP bricks in class II mortar
|  | One brick wall in foundation | m² | 6.6
Brickwork of FBX bricks in class II mortar
|  | One brickwall in supperstructure | m² | 39.6
|  | 115mm common brick | m² | 9
Brickwork reinforcement
|  | a) Brick reinforcement 75mm wide built into brick walls with sufficient laps at end joints, angles and intersections (measured net) | m | 23.8235
|  | b) Brick reinforcement 150mm wide built into brick walls with sufficient laps at end joints, angles and intersections (measured net) | m | 181.1765
JOINTS IN WALLS, FLOORS AND ROOF
|  | Maltoid on walls | m | 16.2
|  | Saw cut joints on floor and apron | m | 12
Prestressed fabricated Lintels
|  | 110x170mm lintel in lengths not exceeding 3m | No. | 12
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO.4
WATERPROOFING
|  | DPC 250micron in solid walls | m | 13.2
|  | 170micron dpm under surfacebed laid with 150mm overlaps | m² | 10.8
|  | Bituminous aluminium paint finish to concrete roof | m² | 12.87
|  | double malthoid between concrete and brick surfaces | m | 16.2
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 5
CARPENTRY AND JOINERY
Doors etc
|  | 44mm solid core masonite door with hardwood edge strips on both side 877x2100mm | no. | 2
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 6
FLOOR COVERINGS, WALL LINNINGS ETC
|  | Floor tiles | m² | 12.6
|  | Walls tiles | m² | 1
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 7
IRONMONGERY
Hinges, Bolts etc
|  | Brass hinges with nylon washers | No | 4
Locks
|  | 2 lever motice lockest and handles | No. | 2
Bathroom fittings
|  | Satin stainless steel paper towel dispensor | No. | 1
|  | Toilet roll holder | No. | 1
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 8
METALWORK
Welded screens
|  | Security mild steel gate | No. | 1
Prestressed steel door frames
|  | 1.2mm double rebate frame suitable for one brick wall | No. | 1
|  | 1.2mm rebate frame suitable for half brick wall | No. | 1
Window frames
|  | Type C1 | No | 1
|  | Type C2 | No | 3
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 9
PLASTERING
SCREED
3:1 Cement plaster screed woodfloated on concrete
|  | 30mm thick screed on floors | m² | 8.96
|  | 50mm thick screed on roof | m² | 12.6
Internal Plaster
One coat cement plaster and one coat rhinolite plaster
|  | On walls | m² | 36.9
|  | on soffit of concrete slab | m² | 12.87
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 10
PLUMBING AND DRAINAGE
Sanitary fittings
|  | Waste chamber | No. | 1
|  | Wash hand basin | No. | 1
|  | Basin waste union | No. | 1
|  | "P" trap | No. | 1
Sanitary plumbing
uPVC, soil and vent pipes
|  | 50mm pipes | m | 10
|  | 110mm pipes | m | 100
Extra over uPVC, soil, vent pipes for fittings
|  | 110mm access bend with anti-siphon horn | No. | 1
|  | 110mm Pan connector | No. | 1
|  | 110mm x 50mm eccentric reducer | No. | 1
|  | 110mm junction | No. | 1
|  | 110mm air vent cowl | No. | 1
|  | 110mm GI vent valve | No. | 1
|  | 110mm coupling | No. | 15
|  | 50mm 90 degree bends | No. | 4
|  | 50mm to 110 90 degree connector | No. | 1
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 11
GLAZING
Windor glazing
|  | Type C1: 4mm obscured glazing | m² | 0.54
|  | Type C2:clear glazing | m² | 1.8
Mirrors
|  | Stainless steel mirrors 500x600x13mm, concealed thief resistant fixings, plugged and screwed to the wall, stainless steel screws | No. | 1
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 12
PAINTWORK
On floated plaster
Apply one coat plascon merit plaster prime, two coats double velvet pure acrylic
|  | On internal walls | m² | 57.6
On smooth concrete
Prepare areas with slash coat and apply one coat universal undercoat and two coats plascon acrylic white
|  | On soffits | m² | 12.87
On metals
One coat universal undercoat and two coats plascon
|  | On door frames | m² | 3
On wood
One coat undercoat and apply three coats clear matt varnish plascon polyurethane matt varnish
|  | On doors | m² | 3.57
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 13
PROVISIONAL SUM
|  | ELECTRICAL | SUM | 1
|  | WATER CONNECTION | SUM | 1
|  | CALCAMITE SEPTIC TANL OR SIMILAR APPROVED SUPPLY AND INSTALLATION | SUM | 1
CARRIED FORWARD TO SUMMARY
SUMMARY
Page 1 - Earthwork
Page 2 - Concrete & Formwork
Page 3 - Masonry
Page 4 - Waterproofing
Page 5 - Carpentry & Joinery
Page 6 - Floor Coverings & Linings
Page 7 - Ironmongery
Page 8 - Metalwork
Page 9 - Plastering
Page 10 - Plumping & Drainage
Page 11 - Glazing
Page 12 - Paintwork
Page 13 - Provisional Sums
Total

## GUARD HOUSE 2
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
13.2 |  | GUARD HOUSE NO. 2
3
BILL NO. 1
EARTHWORKS
Site clearance
|  | Digging up and remoing rubbish, debris, vegetation, hedge, shrubs, bush etc and trees not exceeding 200mm girth | m² | 50
|  | Remove top 150mm, around the building | m² | 30
EARTHFILLING
|  | Backfill with G5 material to create level platform compacted to 95% AASHTO MOD. | m³ | 3.672
|  | Backfilling to trenches | m³ | 2.675
EXCAVATIONS
Excavate in earth not exceeding 2m deep
|  | Trenches | m³ | 13.2
|  | Extra over excavation in soft rock | m³ | 1
|  | Extra over excavation in hard rock | m³ | 1
Extraover all excavations for carting away
|  | Surplus material from excavations or stockpile on site to a dumping site | m³ | 13.2
Keeping excavation free of water
|  | Keeping excavations free of water other than subterranean water | item | 1
Risk of collapse
|  | Sides of excavations not exceeding 1.5m deep | m² | 18.48
Filling etc
Earth filling obtained from excavations and/or prescibed stock piles on site, compacted to 95 Mod AASHTO density
|  | Under floors | m³ | 10.8
|  | Backfilling to trenches, holes etc | m³ | 3.168
Weed killers, insecticides, etc
|  | Bottom and side of trenchs | m² | 27.72
|  | Bottom of surfacebed | m² | 10.8
CARRIED FORWARD
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 2
CONCRETE, FORMWORK AND REINFORCEMENT
15MPa/19MM CONCRETE
|  | Surface blinding under footings and bases | m³ | 0.462
CONCRETE FOUNDATION
|  | 25MPa/19mm concrete footing | m³ | 1.848
|  | 20MPa/19mm surfacebed | m³ | 11.16
|  | 20MPa/19mm Apron | m³ | 0.86
CONCRETE SLAB
|  | 25MPa/19mm slabs including beams andinverted beams | m³ | 2.1879
HIGH STRENGTH STEEL REINFORCEMENT
|  | Y12 Bars | t | 0.20513
MILD STRENGTH STEEL
|  | R8 bars | t | 0.0352
Fabric Reinforcement
|  | Mesh ref 193 | m² | 10.8
|  | Mesh ref 100 | m² | 15.6
CONCRETE FINISHES
|  | Woodfloat finishing to surface bed | m² | 10.8
|  | Woodfloat finishing to apron | m² | 15.6
|  | Woodfloat finishing to roof slab | m² | 12.6
|  | 50mm diameter sleeves | m | 50
FORMWORK
|  | Formwork to soffit of concrete slab | m² | 12.87
|  | Formwork to sides of concrete not exceeding 300mm | m | 14.4
Prescribed density tests on filling
|  | Modified AASHTO Density tests | No | 2
Concrete Sundries
|  | Making and testing 150x150x150mm concrete test cubes | Item | 2
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 3
MASONRY
Brickwork of NFP bricks in class II mortar
|  | One brick wall in foundation | m² | 6.6
Brickwork of FBX bricks in class II mortar
|  | One brickwall in supperstructure | m² | 39.6
|  | 115mm common brick | m² | 9
Brickwork reinforcement
|  | a) Brick reinforcement 75mm wide built into brick walls with sufficient laps at end joints, angles and intersections (measured net) | m | 23.8235
|  | b) Brick reinforcement 150mm wide built into brick walls with sufficient laps at end joints, angles and intersections (measured net) | m | 181.1765
JOINTS IN WALLS, FLOORS AND ROOF
|  | Maltoid on walls | m | 16.2
|  | Saw cut joints on floor and apron | m | 12
Prestressed fabricated Lintels
|  | 110x170mm lintel in lengths not exceeding 3m | No. | 12
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 4
WATERPROOFING
|  | DPC 250micron in solid walls | m | 13.2
|  | 170micron dpm under surfacebed laid with 150mm overlaps | m² | 10.8
|  | Bituminous aluminium paint finish to concrete roof | m² | 12.87
|  | double malthoid between concrete and brick surfaces | m | 16.2
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 5
CARPENTRY AND JOINERY
Doors etc
|  | 44mm solid core masonite door with hardwood edge strips on both side 877x2100mm | no. | 2
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 6
FLOOR COVERINGS, WALL LINNINGS ETC
|  | Floor tiles | m² | 12.6
|  | Walls tiles | m² | 1
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 7
IRONMONGERY
Hinges, Bolts etc
|  | Brass hinges with nylon washers | No | 4
Locks
|  | 2 lever motice lockest and handles | No. | 2
Bathroom fittings
|  | Satin stainless steel paper towel dispensor | No. | 1
|  | Toilet roll holder | No. | 1
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 8
METALWORK
Welded screens
|  | Security mild steel gate | No. | 1
Prestressed steel door frames
|  | 1.2mm double rebate frame suitable for one brick wall | No. | 1
|  | 1.2mm rebate frame suitable for half brick wall | No. | 1
Window frames
|  | Type C1 | No | 1
|  | Type C2 | No | 3
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 9
PLASTERING
SCREED
3:1 Cement plaster screed woodfloated on concrete
|  | 30mm thick screed on floors | m² | 8.96
|  | 50mm thick screed on roof | m² | 12.6
Internal Plaster
One coat cement plaster and one coat rhinolite plaster
|  | On walls | m² | 36.9
|  | on soffit of concrete slab | m² | 12.87
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 10
PLUMBING AND DRAINAGE
Sanitary fittings
|  | Waste chamber | No. | 1
|  | Wash hand basin | No. | 1
|  | Basin waste union | No. | 1
|  | "P" trap | No. | 1
Sanitary plumbing
uPVC, soil and vent pipes
|  | 50mm pipes | m | 10
|  | 110mm pipes | m | 100
Extra over uPVC, soil, vent pipes for fittings
|  | 110mm access bend with anti-siphon horn | No. | 1
|  | 110mm Pan connector | No. | 1
|  | 110mm x 50mm eccentric reducer | No. | 1
|  | 110mm junction | No. | 1
|  | 110mm air vent cowl | No. | 1
|  | 110mm GI vent valve | No. | 1
|  | 110mm coupling | No. | 15
|  | 50mm 90 degree bends | No. | 4
|  | 50mm to 110 90 degree connector | No. | 1
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 11
GLAZING
Windor glazing
|  | Type C1: 4mm obscured glazing | m² | 0.54
|  | Type C2:clear glazing | m² | 1.8
Mirrors
|  | Stainless steel mirrors 500x600x13mm, concealed thief resistant fixings, plugged and screwed to the wall, stainless steel screws | No. | 1
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 12
PAINTWORK
On floated plaster
Apply one coat plascon merit plaster prime, two coats double velvet pure acrylic
|  | On internal walls | m² | 57.6
On smooth concrete
Prepare areas with slash coat and apply one coat universal undercoat and two coats plascon acrylic white
|  | On soffits | m² | 12.87
On metals
One coat universal undercoat and two coats plascon
|  | On door frames | m² | 3
On wood
One coat undercoat and apply three coats clear matt varnish plascon polyurethane matt varnish
|  | On doors | m² | 3.57
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 13
PROVISIONAL SUM
|  | ELECTRICAL | SUM | 1
|  | WATER CONNECTION | SUM | 1
|  | CALCAMITE SEPTIC TANL OR SIMILAR APPROVED SUPPLY AND INSTALLATION | SUM | 1
CARRIED FORWARD TO SUMMARY
SUMMARY
Page 1 - Earthworks
Page 2 - Concrete & Formwork
Page 3 - Masonry
Page 4 - Waterproofing
Page 5 - Carpentry & Joinery
Page 6 - Floor Coverings & Linings
Page 7 - Ironmongery
Page 8 - Metalwork
Page 9 - Plastering
Page 10 - Plumping & Drainage
Page 11 - Glazing
Page 12 - Paintwork
Page 13 - Provisional Sums
Total

## MAIN ENTRANCE GUARD HOUSE
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
MAIN ENTRANCE GUARD HOUSE NO. 3
BILL NO. 1
DEMOLITIONS AND ALTERATIONS
Breaking down and removing brickwork etc, to create openings
|  | 220mm walls | m² | 3
Taking out and removing doors, window, etc
|  | Removing existing window | No. | 1
Excavations for locating services
|  | Excavating with hand tools which are no mechanically or pneumatically powere up 1.5m | m³
|  | Backfilling of excavations for locating, protecting or shifting services | m³
CARRIED FORWARD
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 2
EARTHWORKS
Site clearance
|  | Digging up and remoing rubbish, debris, vegetation, hedge, shrubs, bush etc and trees not exceeding 200mm girth | m² | 100
|  | Remove top 150mm, around the building | m² | 30
EARTHFILLING
|  | Backfill with G5 material to create level platform compacted to 95% AASHTO MOD. | m³ | 3.672
|  | Backfilling to trenches | m³ | 2.675
EXCAVATIONS
Excavate in earth not exceeding 2m deep
|  | Trenches | m³ | 5.243
|  | Extra over excavation in soft rock | m³ | 1
|  | Extra over excavation in hard rock | m³ | 1
Extraover all excavations for carting away
|  | Surplus material from excavations or stockpile on site to a dumping site | m³ | 5
Keeping excavation free of water
|  | Keeping excavations free of water other than subterranean water | item | 1
Risk of collapse
|  | Sides of excavations not exceeding 1.5m deep | m² | 14.84
Filling etc
Earth fillifn obtained from excavations and/or prescibed stock piles on site, compacted to 95 Mod AASHTO density
|  | Under floors | m³ | 1.89
|  | Backfilling to trenches, holes etc | m³ | 2.568
Weed killers, insecticides, etc
|  | Bottom and side of trenchs | m² | 89.74
|  | Bottom of surfacebed | m² | 12.24
CARRIED FORWARD
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 3
CONCRETE, FORMWORK AND REINFORCEMENT
15MPa/19MM CONCRETE
|  | Surface blinding under footings and bases | m³ | 0.3745
CONCRETE FOUNDATION
|  | 25MPa/19mm concrete footing | m³ | 1.925
|  | 20MPa/19mm surfacebed | m³ | 1.512
|  | 20MPa/19mm Apron | m³ | 0.792
CONCRETE SLAB
|  | 25MPa/19mm slabs including beams andinverted beams | m³ | 3.213
HIGH STRENGTH STEEL REINFORCEMENT
|  | Y12 Bars | t | 0.81312
MILD STRENGTH STEEL
|  | R8 bars | t | 0.6
Fabric Reinforcement
|  | Mesh ref 193 | m² | 13.464
|  | Mesh ref 100 | m² | 13
CONCRETE FINISHES
|  | Woodfloat finishing to surface bed | m² | 12
|  | Woodfloat finishing to apron | m² | 25.6
|  | Woodfloat finishing to roof slab | m² | 12.6
|  | 50mm diameter sleeves | m | 50
FORMWORK
|  | Formwork to soffit of concrete slab | m² | 12.6
|  | Formwork to sides of concrete not exceeding 300mm | m | 11.2
Prescribed density tests on filling
|  | Modified AASHTO Density tests | No | 2
Concrete Sundries
|  | Making and testing 150x150x150mm concrete test cubes | Item | 2
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 4
MASONRY
Brickwork of NFP bricks in class II mortar
|  | One brick wall in foundation | m² | 5.35
Brickwork of FBX bricks in class II mortar
|  | One brickwall in supperstructure | m² | 28.89
|  | 115mm common brick | m² | 16.2
Brickwork reinforcement
|  | a) Brick reinforcement 75mm wide built into brick walls with sufficient laps at end joints, angles and intersections (measured net) | m | 47.6471
|  | b) Brick reinforcement 150mm wide built into brick walls with sufficient laps at end joints, angles and intersections (measured net) | m | 164.7059
JOINTS IN WALLS, FLOORS AND ROOF
|  | Isolating joints on floor and apron | m | 30
|  | Isolating joints on walls | m | 44
|  | Maltoid on walls | m | 12
|  | Saw cut joints on floor and apron | m | 0
Prestressed fabricated Lintels
|  | 110x170mm lintel in lengths not exceeding 3m | No. | 8
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 5
WATERPROOFING
|  | DPC 250micron in solid walls | m | 10.7
|  | 170micron dpm under surfacebed laid with 150mm overlaps | m² | 15.12
|  | Bituminous aluminium paint finish to concrete roof | m² | 18.9
|  | double malthoid between concrete and brick surfaces | m | 22.7
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 6
CARPENTRY AND JOINERY
Doors etc
|  | 44mm solid core masonite door with hardwood edge strips on both side 877x2100mm | no. | 3
|  | Kitchen cupboards, including supply installations | no. | 1
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 7
FLOOR COVERINGS, WALL LINNINGS ETC
|  | Floor tiles to match existing | m² | 12.6
|  | Walls tiles to shower room walls | m² | 6
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 8
IRONMONGERY
Hinges, Bolts etc
|  | Brass hinges with nylon washers | No | 6
Locks
|  | 2 lever motice lockest and handles | No. | 3
Bathroom fittings
|  | Satin stainless steel paper towel dispensor | No. | 1
|  | Waste disposal bins | No. | 1
|  | Paper towel dispensor | No. | 1
|  | Soap dispensor | No. | 1
|  | Toilet roll holder | No. | 1
|  | Retractable wall mounted bench | No. | 1
Pelmets and curtain tracts
|  | Chromium plated shower curtain rail including end barckets | No. | 1
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 9
METALWORK
Welded screens
|  | Security mild steel gate | No. | 1
Prestressed steel door frames
|  | 1.2mm double rebate frame suitable for one brick wall | No. | 1
|  | 1.2mm rebate frame suitable for half brick wall | No. | 2
Window frames
|  | NE5F steel window frames to match the existing 600Wx900Hmm for bathroom and toilet | No | 2
|  | NC2 steel window frames to match the existing 1500Wx900Hmm for kitchen | No | 1
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 10
PLASTERING
SCREED
3:1 Cement plaster screed woodfloated on concrete
|  | 30mm thick screed on floors | m² | 15.12
|  | 50mm thick screed on roof | m² | 12.6
Internal Plaster
One coat cement plaster and one coat rhinolite plaster
|  | On walls | m² | 92.61
|  | on soffit of concrete slab | m² | 12.6
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 11
PLUMBING AND DRAINAGE
Sanitary fittings
|  | Wash hand basin | No. | 1
|  | Basin waste union | No. | 1
|  | "P" trap | No. | 2
|  | Shower drain | No. | 1
Sanitary plumbing
uPVC, soil and vent pipes
|  | 50mm pipes | m | 10
|  | 110mm pipes | m | 100
Extra over uPVC, soil, vent pipes for fittings
|  | 110mm access bend with anti-siphon horn | No. | 1
|  | 110mm Pan connector | No. | 1
|  | 110mm x 50mm eccentric reducer | No. | 1
|  | 110mm junction | No. | 1
|  | 110mm air vent cowl | No. | 1
|  | 110mm GI vent valve | No. | 1
|  | 110mm coupling | No. | 15
|  | 110mm Gulley with standard concrete gulley surround | No. | 1
|  | 50mm 90 degree bends | No. | 4
|  | 50mm to 110 90 degree connector | No. | 1
Taps, Valves etc
|  | 15mm undertile shower set consisting of undertile stoptaps, showerr arm etc | No. | 1
|  | 15mm Chrome plated basin mixer, with pop-up waste, mounting kit, and angle valve | No. | 2
|  | 15mm wall mounted sink mixer with swivel outlet and wall flanges | No. | 1
CARRIED FORWARD
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
AMOUNT BROUGHT FORWARD
Manhole
Concrete outlet strucutres, manholes and junction boxes and cleaning eyes for subsoil drainage systems
|  | Manholes | No. | 2
|  | Junction boxes | No. | 2
ELECTRIC WATER HEATERS
|  | Kwikot 150L dual electric water heater with all accessories, inlcuding suply and installation | No. | 1
Kitchen fittings
|  | Single bowl kitchen sink with fittings including installation | No. | 1
Class II copper pipe
Class II copper water piping in accordance with SANS 460 installed complete with short lengths, cutting, plain couplings, capillary solder and jointing strictly in accordance with the manufactures instructions, support brackets etc
|  | Diameter 15 | m | 10
Extra over copper piping for capillary fitings in accordance to SANS 1067-2 complete with hangers, brackets, soldering etc
|  | Diameter 15 | no. | 5
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY
BILL NO. 12
GLAZING
Windor glazing
|  | NE5F: 4mm obscured glazing | m² | 1.08
|  | NC2: 4mm clear glazing | m² | 1.8
Mirrors
|  | Stainless steel mirrors 500x600x13mm, concealed thief resistant fixings, plugged and screwed to the wall, stainless steel screws | No. | 1
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 13
PAINTWORK
On floated plaster
Apply one coat plascon merit plaster prime, two coats double velvet pure acrylic
|  | On internal walls | m² | 92
On smooth concrete
Prepare areas with slash coat and apply one coat universal undercoat and two coats plascon acrylic white
|  | On soffits | m² | 12
On metals
One coat universal undercoat and two coats plascon
|  | On door frames | m² | 4.5
On wood
One coat undercoat and apply three coats clear matt varnish plascon polyurethane matt varnish
|  | On doors | m² | 14
CARRIED FORWARD TO SUMMARY
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE (R) | AMOUNT (R)
BILL NO. 13
PROVIONAL SUM
|  | ELECTRICAL INSTALLATION | SUM | 1
|  | WATER CONNECTION | SUM | 1
CARRIED FORWARD TO SUMMARY
Page 1 - Demolitions
Page 2 - Earthworks
Page 3 - Concrete & Formwork
Page 4 - Masonry
Page 5 - Waterproofing
Page 6 - Carpentry & Joinery
Page 7 - Floor Coverings & Linings
Page 8 - Ironmongery
Page 9 - Metalwork
Page 10 - Plastering
Page 11 - Plumping & Drainage
Page 12 - Plumping & Drainage
Page 13 - Glazing
Page 14 - Paintwork
Page 15 - Provisional Sums
Total

## BOUNDARY WALL
ITEM NO. | PAYMENT REFERS | DESCRIPTION | UNIT | QNTY | RATE | AMOUNT
200 |  | JOHANNESBURG WATER ENNERDALE DEPOT
418
Construction of a Boundary wall
Site clearance
1 |  | Dig up and remove rubbish, debris, vegetation, hedges, shrubs and trees not exceeding 200mm girth, bush etc. | m² | 600
EXCAVATION, FILLING, ETC.
Excavation in earth not exceeding 2m. deep
2 |  | Trenches. | m³ | 139.125
Extra over Blasting of trench and hole excavations in earth for excavation in
3 |  | Soft rock. | m³ | 13.9125
4 |  | Hard rock. | m³ | 6.9563
Extra over all excavations for carting away
5 |  | Surplus material from excavations and /or stock pile on site to a dumping site to be located by the contractor (up to a radius of 5km - return distance not covered) | m³ | 67.4
Risk of collapse of excavations
6 |  | Sides of trench and hole excavations not exceeding 1,5m deep including keeping excavations free from water | m² | 300
Keeping excavations free of water
7 |  | Keeping excavations free of water other than subterranean water | Item | 1
Earth filling obtained from excavations and/or prescribed stock piles on site compacted to 95% Mod AASHTO density
8 |  | Backfill to trenches, holes, etc. | m³ | 71.725
SOIL POISONING
Weedkillers, Insecticides, etc. Environmentaly friendly and SABS approved.
9 |  | Bottoms and sides of trenches etc. | m² | 440
25MPa/20mm. concrete
10 |  | Strip footings and bases | m³ | 63.625
11 |  | Column concrete in-fill | m³ | 9.075
REINFORCEMENT
Hight strengh steel reinforcement to structural concrete work
12 |  | 12mm. diameter bars | t | 1.0478
Mild strengh steel reinforcement to structural concrete work
13 |  | 8mm diameter bars | t | 0.70833
BRICKWORK
FOUNDATIONS (PROVISIONAL)
Brickwork of NFX bricks (14MPa nominal compressive strength) in class I mortar
14 |  | One brick walls | m² | 100
SUPERSTRUCTURE
Reinforcement to brickwork
15 |  | 150mm wide brick force built in horizontally | m | 4072
FACE BRICKWORK
Face brick pointed with recessed horizontal and vertical joints. (Allow P.C. amount of R3,200.00 per 1000 for supply and delivery)
16 |  | One brick walls in English bond pointed both sides | m² | 1018
17 |  | Extra over brickwork for brick-on-edge header course band | m | 618
18 |  | Extra over brickwork for columns | m² | 1873.95
19 |  | Extra over hoop irons at columns | m | 955.4286
Isolation joints in wall
20 |  | 10mm isolation joints filled with bitumen impregnated soft board or equally approved | m | 125
Razor wire
21 |  | Supply and install 800mm diameter spiral razor wire including all accessories. | m | 618
22 |  | Supply and install razor wire flat wrap including all accessories. | m | 618
ELECTRIC GATE
23 |  | Supply and install double sliding gate to match security fencing as per drawing | No | 1
TOTAL CARRIED TO SUMMARY

## Summary
SUMMARY OF BILL OF QUANTITIES: ENNERDALE DEPOT
BILL | DESCRIPTION |  | TOTAL
1 | PRELIMINARY AND GENERAL | R
2 | GUARD HOUSE NO. 1 | R
3 | GUARD HOUSE NO. 2 | R
4 | MAIN ENTRANCE GUANRD HOUSE NO. 3 | R
5 | BOUNDARY WALL | R
`
TOTAL FOR SCHEDULE OF QUANTITIES |  | R
ADD 10% Contingency |  | R
SUB-TOTAL
ADD 15% VAT
TOTAL FOR TENDER (FORWARD TO THE FORM OF TENDER) |  | R

## Summary (2) (hidden)
SUMMARY OF BILL OF QUANTITIES: ENNERDALE DEPOT
BILL | DESCRIPTION |  | TOTAL
1 | PRELIMINARY AND GENERAL | R | 0
2 | DEMOLITIONS AND ALTERATIONS | R | 0
3 | EARTHWORKS | R | 0
4 | CONCRETE, FORMWORK AND REINFORCEMENT | R | 0
5 | MASONRY | R | 0
6 | WATERPROOFING | R | 0
7 | CARPENTRY AND JOINERY | R | 0
8 | FLOOR COVERINGS, WALL LINNINGS ETC | R | 0
9 | IRONMONGERY | R | 0
10 | METALWORK | R | 0
11 | PLASTERING | R | 0
12 | PLUMBING AND DRAINAGE | R | 0
13 | GLAZING | R | 0
14 | PAINTWORK | R | 0 |  | `
15 | PROVISIONAL SUMS | R | 0
16 | BOUNDARY WALL | R | 0
TOTAL FOR SCHEDULE OF QUANTITIES |  | R | 0 | 1180545.31
ADD 10% Contigency |  | R | 0
SUB-TOTAL |  |  | 0
ADD 15% VAT |  |  | 0
TOTAL FOR TENDER (FORWARD TO THE FORM OF TENDER) |  | R | 0 | 6481269.4285

## 450mm Bedding (hidden)
BEDDING QUANTITIES
Class B (Concrete and vitrified clay) |  |  |  | 3.1416
Length of pipe(m) | 143 | sewer
Diameter(mm) | 110
(100mm bed,300mm sa) |  | (dia/4 bed,300mm sa) |  | (dia/4 bed,400mm sa) |  | (200mm bed,400mm sa) |  | (200mm bed,500mm sa)
For 0 to 400 diam |  | For 401 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 2000 diam
Granular cradle(m3) | 15.0577 | Granular cradle(m3) | 7.6967 | Granular cradle(m3) | 10.0562 | Granular cradle(m3) | 32.5037 | Granular cradle(m3) | 32.5037
Fill Blanket(m3) | 35.3637 | Fill Blanket | 35.3637 | Fill Blanket | 45.5167 | Fill Blanket | 45.5167 | Fill Blanket | 55.6697
Class C (Steel)
(100mm bed,300mm sa) |  | (100mmbed,400mm sa) |  | (dia/8 bed,400mm sa) |  | (dia/8 bed,500mm sa) |  | (200mm bed,500mm sa)
For 0 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 1600 diam |  | For 1601 to 20000 diam
Granular cradle(m3) | 11.8909 | Granular cradle(m3) | 15.2753 | Granular cradle(m3) | 4.0515 | Granular cradle(m3) | 4.9691 | Granular cradle(m3) | 34.5326
Fill Blanket(m3) | 38.5304 | Fill Blanket | 49.7321 | Fill Blanket | 49.7321 | Fill Blanket | 60.9337 | Fill Blanket | 60.9337
Flexible Pipe
(100mm bed,300mm sa) |  | (dia/4bed,300mm sa) |  | (dia/4 bed,400mm sa) |  | (200 bed,400mm sa) |  | (200mm bed,500mm sa)
For 0 to 400 diam |  | For 401 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 20000 diam
Granular cradle(m3) | 30.1153 | Granular cradle(m3) | 22.7544 | Granular cradle(m3) | 29.5469 | Granular cradle(m3) | 51.9943 | Granular cradle(m3) | 63.7203
Fill Blanket(m3) | 20.306 | Fill Blanket | 20.306 | Fill Blanket | 26.026 | Fill Blanket | 26.026 | Fill Blanket | 31.746

## 450mm Bedding (2) (hidden)
BEDDING QUANTITIES
Class B (Concrete and vitrified clay) |  |  |  | 3.1416
Length of pipe(m) | 1153.9 | all steel pipes
Diameter(mm) | 650
(100mm bed,300mm sa) |  | (dia/4 bed,300mm sa) |  | (dia/4 bed,400mm sa) |  | (200mm bed,400mm sa) |  | (200mm bed,500mm sa)
For 0 to 400 diam |  | For 401 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 2000 diam
Granular cradle(m3) | 421.5596 | Granular cradle(m3) | 511.7081 | Granular cradle(m3) | 624.2133 | Granular cradle(m3) | 686.9566 | Granular cradle(m3) | 686.9566
Fill Blanket(m3) | 710.0346 | Fill Blanket | 710.0346 | Fill Blanket | 854.2721 | Fill Blanket | 854.2721 | Fill Blanket | 998.5096
Class C (Steel)
(100mm bed,300mm sa) |  | (100mmbed,400mm sa) |  | (dia/8 bed,400mm sa) |  | (dia/8 bed,500mm sa) |  | (200mm bed,500mm sa)
For 0 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 1600 diam |  | For 1601 to 20000 diam
Granular cradle(m3) | 265.7103 | Granular cradle(m3) | 313.7894 | Granular cradle(m3) | 282.4178 | Granular cradle(m3) | 326.1698 | Granular cradle(m3) | 552.2621
Fill Blanket(m3) | 865.884 | Fill Blanket | 1060.1238 | Fill Blanket | 1060.1238 | Fill Blanket | 1254.3637 | Fill Blanket | 1254.3637
Flexible Pipe
(100mm bed,300mm sa) |  | (dia/4bed,300mm sa) |  | (dia/4 bed,400mm sa) |  | (200 bed,400mm sa) |  | (200mm bed,500mm sa)
For 0 to 400 diam |  | For 401 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 20000 diam
Granular cradle(m3) | 843.1193 | Granular cradle(m3) | 933.2677 | Granular cradle(m3) | 1143.8545 | Granular cradle(m3) | 1206.5978 | Granular cradle(m3) | 1425.8388
Fill Blanket(m3) | 288.475 | Fill Blanket | 288.475 | Fill Blanket | 334.631 | Fill Blanket | 334.631 | Fill Blanket | 380.787

## Calcs (hidden)
ITEM | QUANTITY | UNIT | DESCRIPTION |  | Formulae
[5 empty] | Cylinder Volume | V=πr2h
PORTION A (Cylindrical Portion) |  |  |  |  | Dome Cap Volume |  |  | where a = Radius | (1/3)πh2(3r-h) | 28.8716
Water Tower Outer Wall Dia. | 19.6 | m | Measured from .DWG |  | Conical Volume | V=1/3πh(a2+ab+b2) where a = Upper Radii and b = lower radii)
Water Tower Inner Wall Dia. | 19 | m | Measured from .DWG |  | Surface Area Cone | A=π(a+b)l where a = Upper Radii and b = lower radii)
Water Tower Outer Wall Radius | 9.8 | m |  |  | Surface Area Dome | A=2πrh
Water Tower Inner Wall Radius | 9.5 | m |  |  | Surface area Cylinder | A=2πrh
Water Tower Wall Thickness | 0.3 | m | Measured from .DWG |  | Area Circle | A=πr2
Circumference of Water Tower Outer Wall | 61.5752 | m
Circumference of Water Tower Inner Wall | 59.6903 | m
Height (Portion A Only) | 5.8 | m | Height from WL (+35.10) to 45 deg Point
Water Tower Wall Height | 6.2 | m | Full Height of cylindrical portion of Water Tower
PORTION B (Conical Portion)
Area in Cross Section | 27.4831 | m2 | Area in section obtained from the .dwg
Height (Portion B Only) | 5.93 | m
Upper Diameter | 19.1 | m
Lower Diameter | 7.1 | m
Upper Radius | 9.55 | m
Lower Radius | 3.55 | m
Cone Staircase Upper Radius | 3.6621 | m | Radius from centre of staircase to Outer Wall of staircase
Cone Staircase Lower Radius | 5.2 | m | Radius from centre of staircase to Outer Wall of staircase
Cone Staircase Height | 0.738 | m
Upper Staircase Outer Dia. | 3.4 | m
Upper Staircase Inner Dia. | 2.8 | m
Upper Staircase Outer Radius | 1.7 | m
Upper Staircase Inner Radius | 1.4 | m
Upper Staircase Wall Thickness | 0.3 | m
Circumference of Upper Staircase Outer Wall | 10.6814 | m
Circumference of Upper Staircase Inner Wall | 8.7965 | m
Upper Staircase Full Height | 11.2 | m | Measured from .DWG
Conical Staircase Height | 1.8 | m
Lower Staircase Outer Dia. | 6.2 | m
Lower Staircase Inner Dia. | 5.6 | m
Lower Staircase Outer Radius | 3.1 | m
Lower Staircase Inner Radius | 2.8 | m
Lower Staircase Wall Thickness | 0.3 | m
Lower Staircase Full Height | 23.13 | m
Circumference of Lower Staircase Outer Wall | 19.4779 | m
Circumference of Lower Staircase Inner Wall | 17.5929 | m
Dome Roof Thickness | 0.3 | m | Tapers from 0.300m to 0.125m
Dome Outer Height | 2.85 | m
Dome Inner Height | 2.7 | m
Dome Outer Dia. | 19.6 | m
Dome Inner Dia. | 19 | m
Dome Outer Radius | 9.8 | m
Dome Inner Radius | 9.5 | m
WATER VOLUME CAPACITY
Portion A Water Volume | 1591.8073 | m3 | Volume of Water Tower Inner Wall - Volume of Upper Staircase Outer Wall
Portion B Water Volume | 761.9566 | m3 | Cone Volume of Portion B - Cylindrical Staircase Outer Wall of Portion B - Conical Volume of Staircse of Portion B
Water Tower Total WATER Volume | 2354 | m3 | Total Volume of Water Capacity up to WL = +35.10
Water Tower Total WATER Volume | 2354 | kl
Base Length | 15 | m
Base Width | 15 | m
Base Height | 1.85 | m
Blinding Layer Length | 15.5 | m
Blinding Layer Width | 15.5 | m
Blinding Layer thickness | 0.05 | m
Lower Staircase Base Diameter | 6.2 | m
Lower Staircase Base Radius | 3.1 | m
Lower Staircase Base Height | 0.6 | m
BLINDING CONCRETE VOLUME
125mm Blinding Concrete | 12.0125 | m3
Total Blinding Concrete Volume | 13 | m3
CONCRETE VOLUME
Concrete Base | 416.25 | m3
Lower Staircase Base (0.6m High) | 18.1144 | m3
Lower Staircase Wall Volume | 128.6171 | m3 | 26m = Lower Staircase Height
Lower Staircase Platform Volume | 0 | m3 | 0.00m = Platform Thickness
Upper Staircase Wall Volume | 32.7228 | m3 | 11.2m = Upper Staircase Height
Upper Staircase Platform Volume | 1.2315 | m3
Conical Staircase Wall Volume Upper Portion | 4.8016 | m3 | Measured from .dwg: Height = 0.729m Outer Radii: a = 1.831m b = 2.6m Inner Radii: a = 1.4m b = 1.9671m
Conical Staircase Wall Volume Lower Portion | 25.0096 | m3 | Measured from .dwg: Height = 1.071m Outer Radii: a = 3.1m b = 4.1341m Inner Radii: a = 1.9671m b = 2.8m
Cylindrical Water Tower Wall (Portion A) | 112.7769 | m3
Conical Water Tower Wall (Portion B) | 121.3098 | m3 | Measured from .dwg: Height = 5.930m Outer Radii: a = 4.1341m b = 9.7m Inner Radii: a = 3.4m b = 9.4m
Dome Roof volume | 49 | m3 | 28.8716
Spiral Staircase Volume |  | m3 | TBC - Concrete or steel?
m3
Total Concrete Volume | 910 | m3
SURFACE AREA
Dome Outside | 175.4894 | m2
Dome Inside | 161.1637 | m2
Cylindrical Water Tower Wall Outside | 381.7663 | m2
Cylindrical Water Tower Wall Inside | 370.0796 | m2
Conical Water Tower Wall Outside | 391.0082 | m2 | l = 9.5009m
Conical Water Tower Wall Inside | 325.9573 | m2 | l = 8.4354m
Conical Water Tower Horizontal Lip | 15.0796 | m2 | Outer Radius of Lip = 3.4m; Inner Radius of Lip = 2.6m
Upper Staircase Outer Wall | 119.6318 | m2
Upper Staircase Inner Wall | 98.5203 | m2
Lower Staircase Outer Wall | 450.5232 | m2
Lower Staircase Inner Wall | 406.9242 | m2
Lower Staircase Base Outer | 174.3584 | m2
Lower Staircase Base Top | 676.6676 | m2
Conical Staircase Outside | 18.7033 | m2 | l = 1.2403m
Conical Staircase Inside | 32.2384 | m2 | l = 2.2804m
Lower Staircase Floor | 24.6301 | m2
Total Surface Area | 3823 | m2
Site Clearance - Measured from CAD | 2255 |  | Measrued from CAD
Blinding area | 240.25
narrow width on dome outside | 67.7327
Total Base excavation | 718.08 | m3
Valve Chamber excavation | 492.6188 | m3
Scour box excavation | 0 | m3 | On top of base
walkway fwk on top of internal walls | 11.5611 | m2
Tower base wood float | 194.386
Valve room - Length | 10.42 |  | Length
Width | 6.13 |  | Width
Wall height | 2.2
Brick wall height | 3.3
Total Height | 5.5
Base thickness | 0.25
Guard house | 3 |  | Length
| 5.475 |  | Width
sewer line length | 143 | measured on Google earth
Paving area | 738.1 | measrued from C3d
Pipe Length |  |  |  | 0m-1m | 1m-2m | 2m-3m
650mm supply | 1000 |  | 650mm supply | 0 | 880 | 120
400mm at reservoir | 30 |  | 400mm at reservoir |  | 30
550mm | 19 |  | 550mm |  | 19
total | 1153.9 |  | Sewer |  |  | 143
|  |  | Electrical from Connection to Main DB | 40 |  |  | Estimated from site layout + Risk
|  |  | Telemetry sleeves | 20 |  |  | Measrued from Site layout
|  |  | Total | 60 | 929 | 263
overflow/scour box | 4.1 | length
| 0.3 | base height
| 2.075 | wall height
| 0.2 | wall t
| 1.4 | width

## Pipe Fittings (hidden)
[5 empty] | nrv | non return valve | [5 empty] | ecc | eccentric |  |  | pf | puddle flange
[12 empty] | con | concentric |  |  | oef | one end flanged
[12 empty] | ff | fully flanged |  |  | bef | both ends flanged
BENDS |  |  |  | VALVES |  |  | CUT LENGTHS |  |  |  | REDUCERS |  |  |  | GENERAL
Item No | Quantity | Description | Length | Item No | Quantity | Description | Item No | Quantity | Description | Length | Item No | Quantity | Description | Length | Item No | Quantity | Description | Length
1.1 | 2 | SS 650mm dia | 90 deg | 2.1 | 1 | 200mm Gate valve | 4.1 | 2 | ss 650 oef | 2000 | 5.1 | 1 | 1000 to 750 | ecc | 1.7 | 1 | 250 by 200 reducing tee | 90 and 100
1.2 | 2 | SS 650mm dia | 45 deg | 2.2 | 9 | 400mm gate valve | 4.2 | 4 | ss 650 bef | 6000 | 5.2 | 1 | 750 to 500 | ecc | 3.1 | 1 | SS 650, pf | 1255
1.3 | 1 | SS 550mm dia | 43.5 deg | 2.3 | 1 | 400mm combination control valve | 4.3 | 1 | ss 650 oef | 1260 | 5.3 | 1 | 500 to 300 | ecc | 3.2 | 1 | SS 550, pf, oef | 1085
1.4 | 1 | SS 550mm dia | 90 deg | 2.4 | 6 | 250mm combi control valve | 4.4 | 1 | ss650 oef | 400 | 5.4 | 1 | 300 to 250 | ecc | 3.3 | 1 | SS 250, pf | 995
1.5 | 2 | SS 250mm dia | 45 deg | 2.5 | 3 | 250mm NRV | 4.5 | 1 | ss 650 oef | 2075 | 5.5 | 3 | 650 to 400 | con ff | 3.4 | 1 | SS 200 pf, oef | 1000
1.6 | 1 | SS 250mm dia | 90 deg |  |  |  | 4.6 | 1 | ss 650 oef | 2520 | 5.6 | 7 | 550 to 400 | con ff | 3.5
1.7 |  | See GENERAL |  |  |  |  | 4.7 | 1 | ss550 oef | 300 | 5.7 | 1 | 400 to 350 | con ff | 3.6
1.8 | 4 | SS 200mm dia | 45 deg |  |  |  | 4.8 | 3 | ss550 bef | 6000 | 5.8 | 1 | 400 to 250 | con ff | 3.7
1.9 | 1 | SS 200mm dia | 90 deg |  |  |  | 4.9 | 1 | ss550 oef | 2660 | 5.9 | 1 | 350 to 250 | con ff | 3.8
1.1 | 2 | MS 650mm dia | 47.83 deg |  |  |  | 4.101 | 1 | ss550 oef | 1350 |  |  |  |  | 3.9 | 3 | MS 650 , pf, ff | 1045
1.11 | 1 | MS 550mm dia | 55 deg |  |  |  | 4.11 | 1 | ss750 | 300 |  |  |  |  | 3.101 | 2 | MS 550, pf, ff | 1655
1.12 | 1 | MS 250mm dia | 90 deg |  |  |  | 4.12 | 1 | ss350 oef | 350 |  |  |  |  | 3.11 | 4 | MS 400 ,ff, tee, 505 spool | 610
[7 empty] | 4.13 | 4 | ss250 bef | 6000 |  |  |  |  | 3.119 | 1 | MS 650,ff, s-bend 45 deg | 3350
[7 empty] | 4.14 | 1 | ss250 oef | 2260 |  |  |  |  | 3.128 | 1 | ms 550, s-bend 45 deg
[7 empty] | 4.15 | 1 | ss250 oef | 350 |  |  |  |  | 3.137 | 1 | ms 650 blind flange
[7 empty] | 4.16 | 1 | ss250oef | 3900 |  |  |  |  | 3.146 | 1 | ms 550 pf, ff | 1045
[7 empty] | 4.17 | 1 | ss250oef | 980 |  |  |  |  | 3.155 | 1 | ms 550 by 300 tee
[7 empty] | 4.18 | 3 | ss200oef | 300 |  |  |  |  | 3.173 | 2 | ms 550 blind flange
[7 empty] | 4.19 | 1 | ss200 | 415 |  |  |  |  | 3.182 | 1 | ms 300 blind flange
[7 empty] | 4.201 | 3 | ss200 bef | 6000 |  |  |  |  | 3.191 | 1 | ms 650 long radius bend | ff
[7 empty] | 4.21 | 1 | ss200 bef | 1875 |  |  |  |  | 3.2 | 2 | ms 500 equal t
[7 empty] | 4.22 | 1 | ss200oef | 350 |  |  |  |  | 3.209 | 2 | ms 400 equal t
[7 empty] | 4.23 | [7 empty] | 3.218 | 1 | 350 by 250 reducing t
[7 empty] | 4.24 | [7 empty] | 3.227 | 3 | 400 by 250 sweeping tee
4.25
[7 empty] | 4.26 | 1 | ms650 oef | 19100
[7 empty] | 4.27 | 1 | ms650 bevelled | 1744
[7 empty] | 4.28 | 1 | ms650 oef | 510
[7 empty] | 4.29 | 6 | ms400 bef | 500
[7 empty] | 4.3002 | 1 | ms550ff | 10910
[7 empty] | 4.31 | 1 | ms550 ff | 2675
[7 empty] | 4.32 | 1 | ss250 oef | 495
[7 empty] | 4.33 | 1 | ms 550 bef | 586
[7 empty] | 4.34 | 1 | ms 550 oef | 2187
[7 empty] | 4.35 | 1 | ms 550 oef | 12631
[7 empty] | 4.36 | 1 | ms 400 bef | 3955
[7 empty] | 4.37 | 1 | ms 400 bef | 2293
[7 empty] | 4.38 | 1 | ms 350 bef | 4895
[7 empty] | 4.39 | 1 | ms 250 bef | 958
[7 empty] | 4.4 | 1 | ms 250 bef | 1053
[7 empty] | 4.41 | 1 | ms 250 oef | 2508
[7 empty] | 4.42 | 1 | ms 250 oef | 1377
[7 empty] | 4.43 | 3 | ms 150bef | 150