## Summary
SUMMARY OF SCHEDULE OF QUANTITIES
SECTION | DESCRIPTION |  | TOTAL
SECTION A: | PRELIMINARY AND GENERAL | R
SECTION C: | SITE CLEARANCE | R
SECTION D: | EARTHWORKS | R
SECTION DB: | EARTHWORK (PIPE TRENCHES) | R
SECTION G: | CONCRETE | R
SECTION HA: | STRUCTURAL STEELWORK | R
SECTION HC: | CORROSION PROTECTION OF STRUCTURAL STEEL | R
SECTION L: | WATER MAINS | R
SECTION LB: | BEDDING FOR PIPES | R
SECTION LD: | SEWER | R
SECTION LG: | PIPE JACKING | R
SECTION ME: | SUBBASE | R
SECTION MJ: | SEGMENTED PAVING | R
SECTION MK: | KERBING AND CHANNELLING | R |  | `
SECTION PLB: | MISCELLANEOUS WORKS FOR TANKS | R
SECTION PLG: | ELECTRICAL WORKS | R
TOTAL FOR SCHEDULE OF QUANTITIES |  | R
ADD CONTINGENCIES (10%) |  | R
ADD ESCALATION (5%) |  | R
SUBTOTAL |  | R
ADD 15 % VAT |  | R
TOTAL FOR TENDER (FORWARD TO THE FORM OF TENDER) |  | R

## C
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
| SABS 1200 C | SECTION C: SITE CLEARANCE
C1 |  | CLEAR SITE
C1.1 | 8.2.1 | Clear and grub site and remove any obstruction that may occur and spoil to designated site. Only areas indicated in writing by Engineer must be cleared:
|  | Clear and grub including all vegetation for Site footprint | m² | 2255 | 35
C1.2 | PSC 5.1 | Clear and grub including all vegetation for pipe route 3m wide. | m | 1153.9 | 60
C1.3 | PSC 3.1 | Transport spoil material to unspecified sites and dump (provisional) | m³.km | 7661.9261 | 23
SITE PREPARATION
C1.4 | 8.2.10 | Remove top soil to nominal depth 75 mm, stockpile and maintain | m³ | 187 | 100
| TOTAL FOR SECTION C CARRIED FORWARD TO SUMMARY |  |  |  | R | R

## A
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
| SANS 1200 A | SECTION 1 : GENERAL
A1 | 8.3 | Scheduled fixed-charge and value- related items
A1.1 | 8.3.1 | Contractual requirements for the provision of all sureties, Insurance of the works and Plant, Third Party Liability Insurance, Unemployment Insurance and any other statutory requirements | Sum | 1 | 400000
A1.2 | PSA 8.3.1 | Fixed preliminary and general charges | Sum | 1 | 20000
| 8.3.2 | Establishment of Facilities on Site (Only on the written instruction of the Engineer)
A1.3 |  | Facilities for the Engineer (See Clause C3.4.2.2)
|  | (a) Furnished offices (1 No.) | Sum | 1 | 10000
|  | (b) Telephone (1 Cellphone with Simcard) | P. Sum | 1 | 10000 | 12500 | 12500
|  | (c) Percentage mark-up on (a+b) above | % | 12500 | 10%
|  | (d) Nameboards ( No.) | Sum | 1 | 20000
|  | (e) PPE for Engineer and assistants | Sum | 1 | 5000
|  | (f) Survey instruments, etc. | Sum | 1 | 7500
A1.4 | 8.3.2.2 | Facilities for the Contractor
All facilities as scheduled in Clause 8.3.2.2 of SABS 1200A
|  | (a) Offices and storage sheds | Sum | 1 | 40000
|  | (b) Workshops | Sum | 1 | 25000
|  | (c) Laboratories | Sum | 1 | 15000
|  | (d) Living accommodation | Sum | 1 | 12500
|  | (e) Ablution and toilet facilities | Sum | 1 | 15000
|  | (f) Tools and equipment | Sum | 1 | 30000
|  | (g) Water supplies, electric power and communications | Sum | 1 | 25000
|  | (h) Protection against water and storms (see PSA 5.5) | Sum | 1 | 20000
|  | (i) Access | Sum | 1 | 15000
|  | (j) Plant | Sum | 1 | 50000
|  | (k) PPE for Contractors staff, suppliers, subcontractors and visitors | Sum | 1 | 70000
A1.5 | 8.3.3 | Other fixed-charge obligations | Sum | 1 | 25000
A1.5.1 |  | Removal of Site Establishment (On Instruction by Engineer) | Sum | 1 | 75000
A1.5.2 | PS7.1 | Provision of a Safety Plan in terms of OHS Act and Safety Regulations | Sum | 1 | 15000
A2 | 8.4 | Scheduled Time-related items
A2.1 | PSA 8.4.1 | Time-related preliminary and general items | Month | 16 | 50000
A2.2 | 8.4.2 | Operation and maintenance of facilities for the duration of construction
TOTAL CARRIED FORWARD |  |  |  |  | R | R
BROUGHT FORWARD |  |  |  |  | R | R
A2.3 | 8.4.2.1 | Facilities for the Engineer
|  | (a) Furnished offices (1 No.) | Month | 16 | 1500
|  | (b) Telephone (R900 per month airtime for celphone) | Month | 16 | 900
|  | (c) Nameboards (2 No.) | Month | 16 | 500
|  | (d) Survey instruments, etc. | Month | 16 | 500
|  | (e) PPE for Engineer and assistants | Month | 16 | 500
A2.4 | 8.4.2.2 | Facilities for the Contractor
All facilities as scheduled in Clause 8.4.2.2 of SABS 1200A
|  | (a) Offices and storage | Month | 16 | 9500
|  | (b) Workshops | Month | 16 | 5000
|  | (c) Laboratories | Month | 16 | 5000
|  | (d) Living accommodation | Month | 16 | 9500
|  | (e) Ablution and toilet | Month | 16 | 5500
|  | (f) Tools and equipment | Month | 16 | 12500
|  | (g) Water supplies, electric power and communications | Month | 16 | 5000
|  | (h) Dealing with water (Sub-clause5.8) | Month | 16 | 4000
|  | (i) Access (Sub-clause 5.8) | Month | 16 | 5000
|  | (j) Plant | Month | 16 | 30000
A2.5 | 8.4.3 | Supervision for duration of construction | Month | 16 | 75000
A2.6 | 8.4.4 | Company and head office overhead costs for the duration of the contract | Month | 16 | 50000
A2.7 | 8.4.5 | Other time-related obligations | Month | 16 | 17500
A2.8 | PSA 8.9 | Compliance with OHS act and Construction Regulations | Month | 16 | 20000
A2.9 |  | Compliance with Record of Decision issued by GDARD | Month | 16 | 3500
A3 | 8.5 | SUMS STATED PROVISIONALLY BY ENGINEER
A3.1 |  | Supply and Install lightning protection according to latest applicable SANS codes | SUM | 1 | 30000
A3.2 |  | Supply and install VSD, displays, DC chokes, telemetry cabinet, fibre cable, SD4 data radio, instrumentation, c/w antenna and mast | SUM | 1 | 1226500
A3.3 |  | CLO's
Payment for CLO
|  | (i) Remuneration of CLO (based on R10500/month incl. traveling allowance) | Month | 18 | 8500
|  | (ii) Cell phone allowance (R150 airtime per month) | Month | 18 | 150
|  | (iii) Contractors mark-up on items (i) and (ii) above for Contractor's overheads, liaison, making payments and supplying office space and associated facilities within his establishment | % | 45600 | 0.1
A3.4 | PSA 5.5 | Protection against water and storms | Sum | 1
TOTAL CARRIED FORWARD |  |  |  |  | R | R
BROUGHT FORWARD |  |  |  |  | R | R
A3.5 |  | Quality assurance and management plan | SUM | 1 | 120000
A3.6 |  | Provisional sum for Independent OHS, EMP and Electrical practitioners | Prov. SUM | 1 | 200000 | 250000 | 250000
A3.7 |  | Provide Security guard (armed response) for duration of the construction works during the day and after hours, and on instruction by the Engineer | Month | 16 | 5000
A4 | 8.7 | DAYWORK | Days | 20 | 1000
Note: Executed on Instruction of the Engineer Only
A4.1 |  | Labour
|  | (i) Un-skilled | hr. | 10 | 30
|  | (ii) Semi-skilled | hr. | 10 | 40
|  | (iii) Skilled (artisan - welder plumber etc.) | hr. | 10 | 85
|  | (iv) Engineer | hr. | 5 | 600
|  | (v) Technician | hr. | 5 | 400
|  | (vi) Foreman | hr. | 10 | 120
|  | (vii) Driver (LDV,machine, trucks, etc.) | hr. | 10 | 120
|  | (viii) Certified Blaster | hr. | 10 | 400
|  | (ix) Steel fixer | hr. | 10 | 150
|  | (x) Concretor | hr. | 10 | 150
|  | (xi) Charge hand | hr. | 10 | 100
|  | (xii) Security guard | hr. | 10 | 200
A4.2 |  | Plant and equipment
(a) Tractor loader backhoe (TLB)
|  | (i) Tractor Loader Backhoe (Bigger than 45kW but smaller than 70kW) | hr. | 10 | 1000
(b) Crawler Excavators
|  | (i) Smaller than 93kW (small) | hr. | 10 | 1200
|  | (ii) Bigger than 93kW but smaller than 200kW ( Medium) | hr. | 10 | 1300
(c) Tipper Trucks
|  | (i) Tipper trucks (3m³) Small | hr. | 10 | 300
|  | (ii) Tipper trucks (5m³) Medium | hr. | 10 | 400
|  | (iii) Tipper trucks (10m³) Large | hr. | 10 | 500
(d) Flat Bed Trucks
|  | (i) Flat bed 5t capacity | hr. | 8 | 300
|  | (ii) Flat bed 7t capacity | hr. | 8 | 400
(e) LDV
|  | (i) 1t Pick-up | hr. | 10 | 200
|  | (f) Mobile Crane 5t at 3m radius | hr. | 10 | 800
(g) Walk behind vibrating rollers
|  | (i) Model - Bomag 60 or similar (small) | hr. | 10 | 500
|  | (ii) Model - Bomag 76 or similar (medium) | hr. | 10 | 700
|  | (iii) Model - Bomag 90 or similar | hr. | 10 | 800
TOTAL CARRIED FORWARD |  |  |  |  | R | R
BROUGHT FORWARD |  |  |  |  | R | R
(h) Plate compactors
|  | (i) Vipac or similar | hr. | 10 | 150
(i) Rammers
|  | (i) Model - Wacker or similar | hr. | 10 | 75
(j) Concrete mixers
|  | (i) Volume 100 litre wet (small, towable) | hr. | 8 | 150
|  | (ii) Volume 175 litre wet (medium) | hr. | 8 | 180
|  | (iii) Volume 250 litre wet (large) | hr. | 8 | 200
|  | (k) Diesel compressors including hoses and tools | hr | 10 | 4398.12
|  | (i) Capacity smaller than 200 cfm (small) | hr. | 10 | 250
|  | (ii) Capacity bigger than 200 cfm smaller than 400 cfm (medium) | hr. | 10 | 300
|  | (iii) Capacity bigger than 400 cfm (large) | hr. | 10 | 480
(l) Waterpump
|  | (i) Capacity smaller than 400 litre/min (medium) | hr | 10 | 250
|  | (ii) Capacity bigger than 400 but smaller than 600 litre/min (medium) | hr | 10 | 300
|  | (iii) Capacity bigger than 600 but smaller then 1 100 litre/sec (large) | hr | 10 | 480
A5 | 8.8 | TEMPORARY WORKS
A5.1 |  | Provide and maintain access roads and adjacent streets including reinstatement of roads on completion of Works (or accommodation of traffic) | Sum | 1 | 50000
Existing services
A5.2 |  | Temporarily protection of existing services | P. SUM | 1 | 10000 | 12500 | 12500
A5.3 |  | Contractor's mark-up on 108 above | % | 12500 | 1000
A5.4 |  | Cast insitu class 20/19 concrete for encasing of existing services | m³ | 10 | 1400
A5.5 |  | Welded steel reinforcing mesh (Ref 395) | m² | 100 | 150
A5.6 |  | Relocation of existing services | P. SUM | 1 | 75000 | 93750 | 93750
A5.7 |  | Contractor's mark-up on A5.6 above | % | 93750 | 10%
A6 |  | Sub-Contractor P&G's for all packages |  | 1 | 6566101.4052
|  | Contractor's mark-up on A6 above | % | 10% | 8207626.7565
| TOTAL FOR SECTION A CARRIED FORWARD TO SUMMARY |  |  |  | R | R

## D
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
| SABS 1200 D | SECTION D: EARTHWORKS
D1 SC | PSD 8.3.2 | EXCAVATION
| 8.3.2a | Excavate in all materials and use for backfill, or dispose as ordered:
|  | (a) Tower Foundation (measured under Work Packages) | m³ | 228 | 0
|  | (b) Valve Chamber | m³ | 353 | 250
D1.2 | 8.3.2b | Excavate in all materials to spoil:
|  | (a) Tower Foundation | m³ | 491.0146 | 300
|  | (b) Valve Chamber | m³ | 140.5241 | 300
D1.3 | 8.3.2c | Extra over items D1.1 to D1.4 for excavation in:
|  | (a) Intermediate material | m³ | 181.8808 | 400
|  | (b) Hard rock material | m³ | 60.6269 | 600
D1.4 | 8.3.2d | Extra over items D1.1 to D1.4 for excavation in:
|  | Hand excavation or other method (excluding blasting) to remove rock outcrops or rock underbreak after bulk excavation to form level site (alternative for soilcrete backfilling in rock overbreak) | m³ | 20 | 250
D2 |  | EXISTING SERVICES
D2.1 | PSD8.3.8.1 | Hand excavation for locationg and exposing existing services in:
|  | (a) Roadways | m³ | 30 | 300
|  | (b) All other areas | m³ | 30 | 300
D3 |  | Topsoiling from stockpile 75 mm layer:
| PSD 8.3.10 | Level on Site | m³ | 113.7675 | 300
D4 SC |  | Extra over items PSD 8.3.2. for
| PSD 8.3.14 | (a) Temporary stockpiling | m³ | 353 | 250
| PSD 8.3.15 | (b) Disposing of spoil material on a site provided by The Contractor (measured under Work Packages) | m³ | 631.5387 | 0
D5 SC |  | Grassing
| PGENRD 8 | Grassing (Kikuyu instant lawn) (measured under Work Packages) | m³ | 1517 | 0
| TOTAL FOR SECTION D CARRIED FORWARD TO SUMMARY |  |  |  | R | R

## DB
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
| SABS 1200 DB | SECTION DB: PIPE TRENCHES
DB1 |  | EXCAVATION
DB1.1 | PSDB8.3.2a | Excavate by machine in all materials for trenches, backfill, compact and dispose of surplus or unsuitable material for pipes up to 650 mm diameter for dephts:
Over and up to
|  | (a) 0,0 m 1,0 m | m | 66 | 200
|  | (b) 1,0 m 2,0 m | m | 1021.9 | 250
|  | (c) 2,0 m 3,0 m | m | 289.3 | 300
DB1.2 | 8.3.2b | Extra-over items DB1.1 to DB1.3 for excavation in (provisional):
|  | (a) Intermediate material | m³ | 492 | 200
|  | (b) Hard rock material | m³ | 164 | 600
DB1.3 | 8.3.2c | Excavate unsuitable material from trench bottom and dispose of it | m³ | 65 | 225
DB2 | 8.3.3 | EXCAVATION ANCILLARIES
DB2.1 | 8.3.3.1a | Imported backfill materials from trench excavation or stockpiles on site:
|  | Acquire, deliver, place and compact imported selected backfill to fill over-excavation under pipe bedding where unsuitable material under item DB1.5 is removed | m³ | 65 | 250
DB2.2 | PSDB8.3.2(4) | Backfill stabilized with 5% cement where directed by the Engineer | m³ | 10 | 0
DB2.3 | PSDB8.3.2(5) | Soilcrete backfill where directed by the Engineer | m³ | 15 | 0
| TOTAL FOR SECTION DB CARRIED FORWARD TO SUMMARY |  |  |  | R | R

## G
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
| SABS | SECTION G: CONCRETE
| 1200 G | (STRUCTURAL)
G1 | 8.2 | FORMWORK
| 8.2.2 | Smooth vertical plane to:
G1.1 |  | Tower Foundation | m² | 123 | 450
G1.2 |  | Chambers and thrust blocks | m² | 164 | 650
| 8.2 | FORMWORK
| 8.2.2 | Special smooth vertical plane to:
G1.3 |  | Internal and External Shaft Walls | m² | 1240 | 825
G1.4 |  | Internal and External Tank Walls | m² | 828 | 1050
| 8.2.2 | Smooth horizontal to:
G1.5 |  | Circular landing at top of internal tank walls | m² | 12.7172 | 2350
G1.6 |  | Chamber soffits | m² | 70.2621 | 500
| 8.2.2 | Smooth inclined formwork:
G1.7 |  | Inclined portion of tank walls | m² | 789 | 2750
| 8.2.4 | Smooth domed formwork:
G1.8 |  | Domed Roof | m² | 178 | 1025
| 8.2.5 | Narrow Widths
G1.9 |  | Chamber Bases | m | 48.51 | 175
G1.10 |  | Tower Dome Roof | m | 62 | 375
G1.11 |  | Chamber Roofs | m | 48.51 | 210
BOX OUT HOLES/FORM VOIDS
| PSG 8.10 | Small circular holes of diameter up to 0.35m sealed with a bentonite strip when grouted.
G1.12 |  | Scour and overflow pipes | No | 5 | 2000
| PSG 8.10 | Small circular holes of diameter 0.35m up to 0.65m sealed with a bentonite strip when grouted.
G1.13 |  | Inflow and Outflow pipes | No | 8 | 3500
G2 | 8.3 | REINFORCEMENT
G2.1 | 8.3.1 | Mild steel bars:
|  | Diameters 8 mm to 40 mm: average price for manholes | t | 22.3 | 16500
G2.2 | 8.3.1 | High-tensile steel bars average
price:
|  | Diameters 10 mm to 40 mm: average price as indicated on schedules | t | 223 | 16500
G3 | 8.4 | CONCRETE
G3.1 | 8.4.2 | Blinding layer in 15 MPa/19 mm concrete:
|  | 50 mm minimum thickness | m² | 650 | 380
G3.2 | 8.4.3 | Mass concrete: 15MPa/19 mm:
|  | Below tower foundation | m³ | 12.375 | 1600
|  | TOTAL CARRIED FORWARD |  |  | R | R
|  | TOTAL BROUGHT FORWARD |  |  | R | R
| 8.4.3 | Strength concrete: 20 MPa/19 mm:
G3.3 |  | Concrete for Scour tank base | m³ | 1.8942 | 1650
| 8.4.3 | Strength concrete: 30 MPa/19 mm:
G3.4 |  | Tower Base | m³ | 478 | 1750
G3.5 |  | Chamber Base and Thrust blocks | m³ | 19.4597 | 1750
| 8.4.3 | Strength concrete: 35 MPa/19 mm:
G3.6 |  | Shaft Walls | m³ | 179 | 2100
G3.7 |  | Chamber and scour Walls | m³ | 24.0612 | 2100
G3.8 |  | Dome Roof | m³ | 53.9 | 2100
G3.9 |  | Chamber Roof | m³ | 17.5655 | 2100
| 8.4.3 | Strength concrete: 40 MPa/19 mm:
G3.10 |  | Tank Walls | m³ | 290.2877 | 2850
G4 | 8.4.4 | UNFORMED SURFACE FINISHINGS
Wood floated finishings:
G4.1 |  | Top of Tower base | m² | 195 | 75
G4.2 |  | Top of dome roof and ringbeam | m² | 194 | 95
G4.3 |  | Chamber Base and Overflow tank | m² | 76.5761 | 75
G4.4 |  | Chamber roof | m² | 70.2621 | 80
G5 | PSG8.9 | CONCRETE CUBE-TESTING MACHINE
G5.1 |  | Testing of concrete cubes | No | 179.4239 | 300
G5.2 |  | Supply cube-testing machine on site with
|  | recent calibration certificate and water trough | Sum | 1 | 6000
| TOTAL FOR SECTION G CARRIED TO SUMMARY |  |  |  | R | R
Note on E44: 190kg/m3 concrete added 10% extra

## HA
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
| SABS | SECTION HA : STRUCTURAL
| 1200 HA | STEELWORK
H1 | 8.3.1 | SUPPLY AND FABRICATION
H1.1 SC | 8.3.1.1 | Preparation and submission to the Engineer for approval of shop detail drawings. (measured under Work Packages) | t | 11.5115 | 0
H2 |  | Supply and fabrication of steelwork
A. Hot rolled steel
(a) PFC Sections for platforms
H2.1 SC |  | 1. 230 x 90 mm (measured under Work Packages) | t | 11.5115 | 0
H2.2 |  | Trial assembly of platforms (measured under Work Packages) | No | 8 | 0
H3 | 8.3.2 | DELIVERY
H3.1 SC | 8.3.2.1 | Delivery of steelwork to site of all items under 8.3.1 above (measured under Work Packages) | t | 11.5115 | 0
H4 | 8.3.3 | ERECTION
H4.1 SC |  | Offloading of steel, stacking on site, and erection of steelwork of all items under 8.3.1 above (measured under Work Packages) | t | 11.5115 | 0
H5 | 8.3.4 | ERECTION BOLTS
Supply, deliver and storage of bolts, washer and nuts as indicated on drawing 1440a/WA/DET09
H5.1 SC |  | (a) M16 (measured under Work Packages) | t | 1.1512 | 0
H6 | 8.3.7 | HANDRAILS
Handrails assembly complete as per drawing 1440a/WA/DET09
H6.1 SC |  | a) Horisontal (measured under Work Packages) | m | 63.36 | 0
H6.2 SC |  | b) Sloping on stairs at 45 deg angle (measured under Work Packages) | m | 66.352 | 0
H7 | 8.3.8 | LADDERS
H7.1 SC |  | Supply and install Hot dip galvanized mild steel Catladders as detailed on drawing 1440aWA/DET03 (measured under Work Packages) | m | 26.664 | 0
H8 | 8.3.9 | FLOORING
H8.1 SC |  | Hot dip galvanized open grid flooring complete and installed with frames for floors and stairs (measured under Work Packages) | m² | 174.68 | 0
H9 | 8.3.10 | NON-DESTRUCTIVE TESTING
H9.1 SC |  | Testing of welding as indicated by the engineer including supply of test certificates. (measured under Work Packages) | No. | 120 | 0
H10 | 8.3.12 | SECURITY DOOR
H10.1 SC |  | Supply and Install "TDL" type door from STRONG DOOR or similar approved. (measured under Work Packages) | No | 2 | 0
| TOTAL FOR SECTION HA CARRIED TO SUMMARY |  |  |  | R | R

## HC
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
| SABS 1200 HC | SECTION HC: CORROSION PROTECTION OF STRUCTURAL STEELWORK
HC1 | 8.2.3 | SURFACE PREPARATION AND COATING APPLICATION
Shopwork:
HC1.1 |  | Surface preparation (acid bath) and cleaning | t | 11.5115 | 2500
HC1.2 |  | Hot dip Galvanzied coating | t | 11.5115 | 7500
| TOTAL FOR SECTION HC CARRIED TO SUMMARY |  |  |  | R

## L
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
| SABS 1200 L | SECTION L: WATER MAINS
L1 | 8.2.2 | PIPE LINE
Supplying, laying, and jointing of water pipes SAW to API 5L Grade X42, 6mm thick with 6mm CML and Rigid Polyurethane coating.
|  | (a) 650mm Steel | m | 1100 | 4100
|  | (b) 550mm Steel | m | 30 | 3550
|  | (c) 450mm Steel | m | 30 | 2541.716
|  | (d) 200mm Steel | m | 7 | 525.1479
L2 |  | Supplying, laying, and jointing of water pipes, Grade 316 Stainless Steel, according to SABS719, irrespective of depth.
|  | (a) 650mm Stainless Steel | m | 42 | 40800
|  | (b) 550mm Stainless Steel | m | 36 | 29211.8343
|  | (c) 250mm Stainless Steel | m | 48 | 6035.503
|  | (d) 200mm Stainless Steel | m | 36 | 3862.7219
L3 |  | CONNECTION INTO EXISTING
Connection to existing pipeline complete as shown on drawings including excavation and all specials
L3.1 |  | Connection to existing pipe junctions including excavation and making good. | No | 2 | 25000
L3.2 |  | Connection to existing pipe junction at Reservoir site including excavation, breaking through walls and making good. | No | 1 | 250000
L4 |  | Bends
|  | (a) Item 1.1: S.S 90 deg 650mm dia | No | 2 | 28560
|  | (b) Item 1.2: S.S 45 deg 650mm dia | No | 2 | 28560
|  | (c) Item 1.3: S.S 43.5 deg 550mm dia | No | 1 | 20448.284
|  | (d) Item 1.4: S.S 90 deg 550mm dia | No | 1 | 20448.284
|  | (e) Item 1.5: S.S. 45 deg 250mm dia | No | 2 | 14640.4874
|  | (f) Item 1.6: S.S. 90 deg 250mm dia | No | 2 | 14640.4874
|  | (g) Item 1.8: S.S. 45 deg 200mm dia | No | 4 | 9369.9119
|  | (h) Item 1.9 M.S. 90 deg 650mm dia fully flanged | No | 1 | 5616
|  |  | No | 2 | 6240
|  | (j) Item 1.11: M.S. 55 deg 550mm dia bevel edged bend | No | 1 | 5616
|  | (k) Item 1.12: M.S. 90 deg 250mm dia Bevel edged bend | No | 1 | 1194.2149
L5 |  | Valves
|  | (a) Item 2.1: 200mm dia, cast iron, gate valve (See SANS1123 Table 1600) | No | 1 | 40000
|  | (b) Item 2.2: 400mm dia, cast iron, gate valve (See SANS1123 Table 1600) | No | 9 | 79524.72
|  | (c) Item 2.3: 400mm dia, cast iron, Combination control Valve | No | 1 | 1080000
|  | (d) Item 2.4: 250mm dia, cast iron, Combination control Valve | No | 6 | 675000
|  | (e) Item 2.5: 250mm dia, cast iron, NRV | No | 3 | 49702.95
L6 |  | Cut Lengths
L6.1 |  | Item 4.1: SS 650mm dia pipe (l=2000) One End Flanged. | No | 2 | 7500
|  | TOTAL CARRIED FORWARD |  |  |  | R
|  | TOTAL BROUGHT FORWARD |  |  |  | R
L6.2 |  | Item 4.2: SS 650mm dia pipe (l=6000) Flanged Both Ends | No | 4 | 15000
L6.3 |  | Item 4.3: SS 650mm dia pipe (l=1260) No Flanges | No | 1 | 2500
L6.4 |  | Item 4.4: SS 650mm dia pipe (l=400) Flange one end | No | 1 | 7500
L6.5 |  | Item 4.5: SS 650mm dia pipe (l=2075) One End Flanged | No | 1 | 7500
L6.6 |  | Item 4.6: SS 650mm dia pipe (l=2520) One End Flanged | No | 1 | 7500
L6.7 |  | Item 4.7: SS 550mm dia pipe (l=300) One End Flanged | No | 1 | 7500
L6.8 |  | Item 4.8: SS 550mm dia pipe (l=6000) Flanged Both Ends | No | 4 | 12000
L6.9 |  | Item 4.9: SS 550mm dia pipe (l=2660) One End Flanged | No | 1 | 6000
L6.10 |  | Item 4.10: SS 550mm dia pipe (l=1350) Flanged One End | No | 1 | 6000
L6.11 |  | Item 4.11: SS 750mm dia pipe (l=300) No Flanges | No | 1 | 25000
L6.12 |  | Item 4.12: SS 250mm dia pipe (l=350) One End Flanged | No | 1 | 1000
L6.13 |  | Item 4.13: SS 250mm dia pipe (l=6000) Flanged Both Ends | No | 3 | 3500
L6.14 |  | Item 4.14: SS 250mm dia pipe (l=2260) One End Flanged | No | 1 | 2000
L6.15 |  | Item 4.15: SS 250mm dia pipe (l=350) One end flanged | No | 1 | 2000
L6.16 |  | Item 4.16: SS 250mm dia pipe (l=3900) One End Flanged | No | 1 | 3500
L6.17 |  | Item 4.17: SS 250mm dia pipe (l=980) One End Flanged | No | 1 | 2500
L6.18 |  | Item 4.18: SS 200mm dia pipe (l=300) One End Flanged | No | 3 | 1250
L6.19 |  | Item 4.19: SS 200mm dia pipe (l=415) Flanged Both Ends | No | 1 | 1500
L6.20 |  | Item 4.20: SS 200mm dia pipe (l=6000) Both Ends Flanged | No | 3 | 9530
L6.21 |  | Item 4.21: SS 200mm dia pipe (l=1875) Flanged Both Ends | No | 1 | 2750
L6.22 |  | Item 4.22: SS 200mm dia pipe (l=350) One End Flanged | No | 1 | 1250
L6.23 |  | Item 4.26: MS 650mm dia pipe (l=19100) One End Flanged, one edge bevelled | No | 1 | 112320
L6.24 |  | Item 4.27: MS 650mm dia pipe (l=1744) Bevel edged | No | 1 | 2750
L6.25 |  | Item 4.28: MS 650mm dia pipe (l=510) One end Flanged other bevelled | No | 1 | 1800
L6.26 |  | Item 4.29: MS 400mm dia pipe (l=500) bevel edged | No | 1 | 2250
L6.27 |  | Item 4.30: MS 550mm dia pipe (l=10910) Flanged Both Ends | No | 1 | 56160
L6.28 |  | Item 4.31: MS 550mm dia pipe (l=4481) Flanged Both Ends | No | 1 | 1000
L6.29 |  | Item 4.32: SS 250mm dia pipe (l=495) Flanged One End | No | 1 | 3474.9
|  | TOTAL CARRIED FORWARD |  |  |  | R
|  | TOTAL BROUGHT FORWARD |  |  |  | R
L6.29 |  | Item 4.33: MS 550mm dia pipe (l=586) Both ends flanged | No | 1 | 900
L6.30 |  | Item 4.34: MS 550mm dia pipe (l=2187) One end Flanged | No | 1 | 2150
L6.31 |  | Item 4.35: MS 550mm dia pipe (l=12631) Bevelled edges | No | 1 | 15500
L6.32 |  | Item 4.36: MS 400mm dia pipe (l=3955) Both ends flanged | No | 1 | 7580
L6.33 |  | Item 4.37: MS 400mm dia pipe (l=2293) Both ends flanged | No | 1 | 4850
L6.34 |  | Item 4.38: MS 350mm dia pipe (l=4895) Both ends flanged | No | 1 | 5200
L6.35 |  | Item 4.39: MS 250mm dia pipe (l=958) Both ends flanged | No | 1 | 1200
L6.36 |  | Item 4.40: MS 250mm dia pipe (l=1053) Both ends flanged | No | 1 | 1250
L6.37 |  | Item 4.41: MS 250mm dia pipe (l=2508) Both ends flanged | No | 1 | 2650
L6.38 |  | Item 4.42: MS 250mm dia pipe (l=1377) Both ends flanged | No | 1 | 1450
L6.39 |  | Item 4.43: MS 250mm dia pipe (l=150) Both ends flanged | No | 3 | 750
L5 |  | Reducers
L5.1 |  | Item 5.1: SS 1000 x 750mm dia Eccentric reducer | No | 1 | 17500
L5.2 |  | Item 5.2: SS 750 x 500mm dia Eccentric reducer | No | 1 | 15250
L5.3 |  | Item 5.3: SS 500 x 300mm dia Eccentric reducer | No | 1 | 12300
L5.4 |  | Item 5.4: SS 300 x 250mm dia Eccentric reducer | No | 1 | 9750
L5.5 |  | Item 5.5: MS 650 x 400mm dia Concentric reducer | No | 3 | 13000
L5.6 |  | Item 5.6: MS 550 x 400mm dia Concentric reducer | No | 7 | 9600
L5.7 |  | Item 5.7: MS 400 x 350mm dia Concentric reducer | No | 1 | 7250
L5.8 |  | Item 5.8: MS 400 x 250mm dia Concentric reducer | No | 1 | 6500
L5.9 |  | Item 5.9: MS 350 x 250mm dia Concentric reducer | No | 1 | 5500
L6 |  | General
L6.1 |  | Item 1.7: SS 250mm by 200mm Reducing Tee | No | 1 | 3000
L6.2 |  | Item 3.1: SS 650mm dia pipe (l=1255) with puddle flange | No | 1 | 3000
L6.3 |  | Item 3.2: SS 650mm dia pipe (l=1085), one end flanged with puddle flange | No | 1 | 3000
|  | Item 3.3: SS 250mm dia pipe (l=995), Paddle flange only | No | 1 | 2500
L6.4 |  | Item 3.4: SS 200mm dia pipe (l=1000), One end flanged with paddle flange | No | 1 | 2500
L6.7 |  | Item 3.9: MS 650mm dia pipe (l=1045) fully flanged with puddle flange | No | 3 | 7500
L6.8 |  | Item 3.10: MS 550mm dia pipe (l=1655) fully flanged with puddle flange | No | 2 | 2750
L6.9 |  | Item 3.11: MS 400mm dia Equal tee, fuly flanged with 505mm spool piece | No | 4 | 12500
|  | TOTAL CARRIED FORWARD |  |  |  | R
|  | TOTAL BROUGHT FORWARD |  |  |  | R
L6.10 |  | Item 3.12 MS 650mm dia S-Bend pipe both ends flanged | No | 1 | 12500
L6.11 |  | Item 3.13 MS 550mm dia S-Bend pipe both ends flanged | No | 1 | 12500
L6.12 |  | Item 3.14 MS 650mm Blind flange | No | 1 | 2500
L6.13 |  | Item 3.15: MS 550mm dia pipe (l=1045) fully flanged with puddle flange | No | 3 | 12500
L6.14 |  | Item 3.16: MS 550 x 300mm dia tee with 300mm spool piece fully flanged | No | 1 | 10300
L6.15 |  | Item 3.17: MS 550mm Blind flange | No | 2 | 8750
L6.16 |  | Item 3.18: MS 300mm Blind flange | No | 1 | 6275
L6.17 |  | Item 3.19: MS 650mm dia 37.65 deg long radius bend with spool piece fully flanged | No | 1 | 11250
L6.18 |  | Item 3.20: MS 500mm dia Tee with 505 spool piece fully flanged | No | 2 | 8900
L6.19 |  | Item 3.21: MS 400mm dia Tee with 505 spool piece fully flanged | No | 2 | 6500
L6.20 |  | Item 3.22: MS 250mm dia Tee with 505 spool piece fully flanged | No | 1 | 3500
L6.21 |  | Item 3.23: MS 400mm dia Sweeping Tee with 505 spool piece fully flanged | No | 3 | 15000
L7 |  | Expansion Joints
L7.1 |  | Item 6.1: SS 650mm dia Expansion Joint | No | 1 | 47745
L7.2 |  | Item 6.2: SS 550mm dia Expansion Joint | No | 1 | 38580
L7.3 |  | Item 6.3: SS 250mm dia Expansion Joint | No | 1 | 17002.5
L8 |  | Supply, install and commission Pumps
L8.1 |  | KSB SA OMEGA 250-480A (423 impeller) with a WEG 250kW 380v 355 M/L 4p motor or similar approved including base plate, supply and delivery pipe modifications to ensure fit, capable of following duty: 275l/s at 51.5m with range from 43.5 to 57 | Item | 3 | 727276.55
L8.2 |  | Provisional sum to change pipe work to suit selected pump in and outlets | Sum | 1 | 300000
L8.3 |  | Provisional sum MCC and electrical controls | Sum | 1 | 2106650
L8.4 |  | Provisional sum for lighting, socket outlets, cables, earthing and bonding, ups and lightning protection. | Sum | 1 | 392600
L9 |  | Pipeline route markers
L9.1 | PSL 8.2.18 | Route markers are to be constructed with a 100mm pvc sleeve filled with 20MPa concrete, as per drawing 1440b/WA/Lay01RR & 02RR | No | 10 | 1500
L10 | PL GD | Standby Generator
L10.1 |  | Design and other documentation | Item | 1 | 20000
L10.2 |  | Procurement/Fabrication/Installation, Testing and delivery | Item | 1 | 700000
L10.3 |  | Installation/Testing and comssioning | Item | 1 | 80000
| TOTAL FOR SECTION L CARRIED FORWARD TO SUMMARY |  |  |  |  | R

## LB
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
| SABS 1200 LB | SECTION LB: BEDDING FOR PIPES
LB1 | 8.2.1 | PROVISION OF BEDDING
Available from trench excavation without the need for screening or treatment:
Steel pipes (non flexible pipe bedding)
LB1.1 |  | (a) Selected granular material | m³ | 326 | 100
LB1.2 |  | (b) Selected fill material | m³ | 975 | 100
Including screening and/or other treatment:
Steel pipes (non flexible pipe bedding)
LB1.3 |  | (a) Selected granular material | m³ | 66 | 350
LB1.4 |  | (b) Selected fill material | m³ | 195 | 350
LB2 | 8.2.2 | Supply of imported bedding material from:
| 8.2.2.2 & 8.2.2.3 | Borrow pits or commercial sources (Provisional)
LB2.1 |  | (a) Selected granular material | m³ | 32.6 | 400
LB2.2 |  | (b) Selected fill material | m³ | 97.5 | 400
LB2.3 |  | Supply and place 6-20 mm graded stone as directed by the Engineer | m³ | 75 | 450
LB2.4 | PSLB 8.2.6 | Extra over items 8.2.1 and 8.2.2 for bedding stabilized with 5% cement | m³ | 15 | 0
| TOTAL FOR SECTION LB CARRIED FORWARD TO SUMMARY |  |  |  | R | R

## ME
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
| SABS 1200 ME | SECTION ME: SUBBASE
ME1 | 8.3.2 | SUBBASE
ME1.1 SC |  | Construct gravel subbase with material from commercial source and compact to 97% Mod AASHTO for paved areas (measured under Work Packages) | m³ | 130 | 781.25
ME2 | 8.3.5 | Process material by means of:
ME2.1 SC |  | (a) Stabilization (measured under Work Packages) | m³ | 130 | 0
ME3 | 8.3.8 | STABILIZING AGENT
ME3.1 SC |  | Portland cement (measured under Work Packages) | t | 11.96 | 0
| TOTAL FOR SECTION ME CARRIED TO SUMMARY |  |  |  | R | R

## LD
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | TENDER | RATE | ADJUSTED RATE | AMOUNT
| SANS 1200 LD | SECTION LD : SEWERS
LD1 |  | PIPE WORK
Supply, handle, lay, join (butt-fusion) bed in specified class, test and disinfect HDPE pipe PE100, PN12,5, SDR 13,6 (SANS 4427):
LD1.1 SC |  | (a) 110 mm dia (measured under Work Packages) | m | 157.3 | 0
LD2 | 8.2.3 | MANHOLES
Manholes (1000mm inside diameter) to complete with concrete cover and frame, for depths :
Over and up to :
LD2.1 SC |  | (a) 3.0 m 4,0 m (measured under Work Packages) | No | 4 | 0
LD2.2 SC |  | Extra-over items LD2.1 to LD2.3 for "Heavy Duty" cover and frame in road areas (measured under Work Packages) | No | 4 | 0
LD2.3 SC | 8.2.7 | Encasing 110mm dia pipes in 15 MPA concrete (measured under Work Packages) | m³ | 6.25 | 0
LD2.4 SC | 8.2.11 | Break into existing manhole, connect new network and make good (measured under Work Packages) | No | 1 | 0
| TOTAL FOR SECTION LD CARRIED TO SUMMARY |  |  |  | R | R

## LG
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | ADJUSTED RATE | AMOUNT
| SANS 1200LG | SECTION LG: PIPE JACKING
PIPE JACKING AT ROAD CROSSINGS
LG1 | 8.2.1 | Jacking Establishment for 2 positions:
LG1.1 |  | Fixed charges | Sum | 2
LG1.2 |  | Time related charges | Sum | 2
LG2 | 8.2.2 | Supply and delivery of pipes to be jacked:
LG2.1 |  | 900 mm ø Class 100-D with In-the-wall rubber ring joint. | m | 55
LG3 | 8.2.3 | Jacking of pipes:
LG3.1 |  | 900 mm ø Class 100-D with In-the-wall rubber ring joint. | m | 55
LG4 | 8.2.4 | Excavation for jacking using hand held pneumatic tools:
LG4.1 |  | Soft excavation-with clay spade attachments | m3 | 53
LG4.2 |  | Intermediate | m3 | 13.25
LG4.3 |  | Extra over LG4.1 for unforseen rock or boulders in the Jacking pit | m3 | 13.25
LG6 | 8.2.9 | Stabilization of unstable areas and grouting of voids where necessary
LG6.1 |  | Provision and establishment of equipment on site and removal on completion | No | 2
LG6.2 |  | Operation of equipment | Day | 2
LG6.3 |  | Material used based on 10:1 sand cement mix | m3 | 32.9242
TOTAL FOR SECTION LG CARRIED TO SUMMARY
R

## MJ
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
SECTION MJ : SEGMENTED PAVING
MJ1 |  | CONSTRUCT PRECAST CONCRETE SEGMENTED PAVING
MJ1.1 SC | PSMJ 8.2.2 | Provide and construct segmented paving lain in Herringbone pattern 60 mm thick, 25 Mpa Type S-A concrete paving blocks. Price must include bedding, sand layer, compaction and finishing (Colour to suit Client) (measured under Work Packages) | m² | 738.1 | 0
MJ1.2 SC | 8.2.3 | Cut units to fit edge restraints (measured under Work Packages) | m | 258 | 0
MJ1.3 SC | 8.2.4 | Roll to Locked-up Condition as Specified in clause 5.6.2 (provisional) (measured under Work Packages) | m² | 738.1 | 0
| TOTAL FOR SECTION MJ CARRIED FORWARD TO SUMMARY |  |  |  | R | R

## MK
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
SECTION MK : KERBING AND CHANNELLING
MK1 SC | 8.2.1 | CONCRETE KERBING
Figure 8 b precast kerbs for new construction
MK1.1 SC |  | Radius over 20m (measured under Work Packages) | m | 215 | 0
MK1.2 SC |  | Radius less than 20m (measured under Work Packages) | m | 43 | 0
MK1.3 SC |  | Figure 13 precast edge beam for new construction (measured under Work Packages) | m | 258 | 0
MK2 SC |  | TRANSITIONS
|  | From mountable kerb to vertical kerb (measured under Work Packages) | No | 2 | 0
MK3 SC |  | TRIMMING
Trimming of excavations for mountable kerbs :
|  | (a) Soft (measured under Work Packages) | m² | 60 | 0
|  | (b) Intermediate (measured under Work Packages) | m² | 10 | 0
| TOTAL FOR SECTION MK CARRIED FORWARD TO SUMMARY |  |  |  | R | R

## PLB
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
| PART SPEC PLB | SECTION PB: MISCELLANEOUS WORK FOR TANKS
PLB1 | PLB 8.1 | STERILIZATION
PLB1.1 |  | Reservoir and internal pipes | Sum | 1 | 120000
PB1.2 |  | Supply pipeline | Sum | 1 | 50000
PB2 | PLB 8.2 | WATER TIGHTNESS
PB2.1 |  | Test for reservoir and pipes for water tightness | Sum | 1 | 80000
PB3 |  | PROTECTION SYSTEMS
PB3.2 |  | Aircraft warning light | Prov. Sum | 1 | 90000 | 112500 | 112500
PLB3.3 |  | CP and DC Mitigation - Professional services and Installation | Prov. Sum | 1 | 2280000 | 2850000 | 2850000
PLB3.4 |  | Contractors mark-up on PB3.3 above | % | 2850000 | 10%
PLB4 | PGENR B1 | FENCING
PLB4.1 SC |  | 2.4m high concrete fence as per drawing 1440a/WT/DET08RR (measured under Work Packages) | m | 302 | 2500
PLB4.2 SC | PGENR B1 | Supply and install double sliding gate to match security fencing as per drawing 1440a/WT/DET08RR (measured under Work Packages) | No | 1 | 45000
PLB5 |  | GUARD HOUSE
PLB5.1 SC | PSTRU E | Construct guard house complete as per drawing 1440a/WT/DET06RR (measured under Work Packages) | Sum | 1 | 700000
PLB6 |  | VALVE ROOM
PLB6.1 SC | PSTRU E | Construct Valve Room as per drawing 1440a/WT/DET07RR (measured under Work Packages) | Sum | 1 | 750200
PLB6.2 SC |  | Supply and Install overhead Gantry beams complete with 3 ton Block and Tackle (measured under Work Packages) | Sum | 1 | 75000
PLB7 |  | GENERATOR ROOM
PLB7.1 SC | PSTRU E | Modify existing Pump station to accommodate new generator (measured under Work Packages) | Prov. Sum | 1 | 125000 | 125000 | 125000
| TOTAL FOR SECTION PLB CARRIED TO SUMMARY |  |  |  | R | R

## PLG
ITEM NO | PAYMENT REFERS | SHORT DESCRIPTION | UNIT | QUANTITY | RATE | ADJUSTED RATE | AMOUNT
| PART SPEC PL G | SECTION PLG: ELECTRICAL WORKS
PLG1 |  | LV Network and power supplies
PLG1.1 SC |  | Provisional amount for a 40A, Single phase ESKOM connection fee to the tower site in a position to be indicated on site. (measured under Work Packages) | P. Sum | 1 | 0 | 43750 | 43750
PLG1.2 SC |  | Contractor's overhead, surcharge and profit on item PA1.1 (measured under Work Packages) | % | 43750 | 0%
PLG1.3 SC |  | Supply and install a single phase metering kisok to Eskom specification complete with meter and circuit breaker (measured under Work Packages) | No | 1 | 0
PLG2 |  | Conduit and Wiring
PLG2.1 SC |  | Conduit installed in ceiling void, masonry walls, floors, etc complete with all fixing accessories, couplings, bushes, locknuts, end boxes (50 x 100mm or 100 x 100mm as the case may be), terminations and male adapters
Supply, deliver and Install
|  | (a) 25mm Ø galvanized steel (measured under Work Packages) | m | 200 | 0
|  | (b) 25mm Ø u-PVC (measured under Work Packages) | m | 50 | 0
PLG2.2 SC |  | Supply, deliver and install insulated stranded copper conductors
|  | (a) 4 mm² (measured under Work Packages) | m | 150 | 0
|  | (b) 6 mm² (measured under Work Packages) | m | 100 | 0
|  | (c) 16mm² 4-core PVC/SWA/PVC (measured under Work Packages) | m | 50 | 0
PLG2.3 SC |  | Supply deliver and install insulated copper earth conductors
|  | (a) 4 mm² (measured under Work Packages) | m | 150 | 0
|  | (b) 6 mm² (measured under Work Packages) | m | 100 | 0
|  | (c) 6mm² BCEW (measured under Work Packages) | m | 30 | 0
PA3 |  | Distribution Boards
PA3.1 SC |  | Design and manufacture new factory wired distribution board complete as per schematic diagram and specification. Delivery, offloading, installation and commissioning of new factory wired distribution board
|  | (a) DB-Main at Guard House (measured under Work Packages) | No | 1 | 0
|  | (b) Sub DB for Valve room (measured under Work Packages) | No | 1 | 0
PA4 |  | Luminaires
PA4.1 SC |  | Light fittings complete with lamps and fixing accessories with 5Amp plugs and boxes
|  | (a) Supply, deliver and install Type 1 luminaire (2x54W Open channel) (measured under Work Packages) | No | 10 | 0
|  | (b) Supply, deliver and install Beka Dart, spotlight with 70W MH lamp (or similar approved). (measured under Work Packages) | No | 8 | 0
PA5 |  | Socket Outlets
PA5.1 SC |  | Supply, deliver and install 16A normal surface mounted outdoor water proof single socket outlet complete. (measured under Work Packages) | No | 4 | 0
PA5.2 SC |  | Supply, deliver and install 16A normal embedded in the wal single socket outlet complete. (measured under Work Packages) | No | 6 | 0
|  | TOTAL CARRIED FORWARD |  |  | R | R
|  | TOTAL BROUGHT FORWARD |  |  | R | R
PA6 SC |  | Light switches complete as specified
|  | Supply, deliver and install 16A single lever one-way light switch (measured under Work Packages) | No | 6 | 0
|  | Provisional Sum for Solar Led Flood Lightining as per below specifications | Prov sum | 1 |  | 500000 | 500000
Solar LED High Masts Floodlights complete as per and in accordance Clause PSW1,PSW2,PSW3,PSW4,PSW5,PSW6,PSW7,PSW8 of portion C: Particular Project Specification.
| TOTAL FOR SECTION PLG CARRIED TO SUMMARY |  |  |  | R | R

## 450mm Bedding (hidden)
BEDDING QUANTITIES
Class B (Concrete and vitrified clay) |  |  |  | 3.1416
Length of pipe(m) | 143 | sewer
Diameter(mm) | 110
(100mm bed,300mm sa) |  | (dia/4 bed,300mm sa) |  | (dia/4 bed,400mm sa) |  | (200mm bed,400mm sa) |  | (200mm bed,500mm sa)
For 0 to 400 diam |  | For 401 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 2000 diam
Granular cradle(m3) | 15.0577 | Granular cradle(m3) | 7.6967 | Granular cradle(m3) | 10.0562 | Granular cradle(m3) | 32.5037 | Granular cradle(m3) | 32.5037
Fill Blanket(m3) | 35.3637 | Fill Blanket | 35.3637 | Fill Blanket | 45.5167 | Fill Blanket | 45.5167 | Fill Blanket | 55.6697
Class C (Steel)
(100mm bed,300mm sa) |  | (100mmbed,400mm sa) |  | (dia/8 bed,400mm sa) |  | (dia/8 bed,500mm sa) |  | (200mm bed,500mm sa)
For 0 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 1600 diam |  | For 1601 to 20000 diam
Granular cradle(m3) | 11.8909 | Granular cradle(m3) | 15.2753 | Granular cradle(m3) | 4.0515 | Granular cradle(m3) | 4.9691 | Granular cradle(m3) | 34.5326
Fill Blanket(m3) | 38.5304 | Fill Blanket | 49.7321 | Fill Blanket | 49.7321 | Fill Blanket | 60.9337 | Fill Blanket | 60.9337
Flexible Pipe
(100mm bed,300mm sa) |  | (dia/4bed,300mm sa) |  | (dia/4 bed,400mm sa) |  | (200 bed,400mm sa) |  | (200mm bed,500mm sa)
For 0 to 400 diam |  | For 401 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 20000 diam
Granular cradle(m3) | 30.1153 | Granular cradle(m3) | 22.7544 | Granular cradle(m3) | 29.5469 | Granular cradle(m3) | 51.9943 | Granular cradle(m3) | 63.7203
Fill Blanket(m3) | 20.306 | Fill Blanket | 20.306 | Fill Blanket | 26.026 | Fill Blanket | 26.026 | Fill Blanket | 31.746

## 450mm Bedding (2) (hidden)
BEDDING QUANTITIES
Class B (Concrete and vitrified clay) |  |  |  | 3.1416
Length of pipe(m) | 1153.9 | all steel pipes
Diameter(mm) | 650
(100mm bed,300mm sa) |  | (dia/4 bed,300mm sa) |  | (dia/4 bed,400mm sa) |  | (200mm bed,400mm sa) |  | (200mm bed,500mm sa)
For 0 to 400 diam |  | For 401 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 2000 diam
Granular cradle(m3) | 421.5596 | Granular cradle(m3) | 511.7081 | Granular cradle(m3) | 624.2133 | Granular cradle(m3) | 686.9566 | Granular cradle(m3) | 686.9566
Fill Blanket(m3) | 710.0346 | Fill Blanket | 710.0346 | Fill Blanket | 854.2721 | Fill Blanket | 854.2721 | Fill Blanket | 998.5096
Class C (Steel)
(100mm bed,300mm sa) |  | (100mmbed,400mm sa) |  | (dia/8 bed,400mm sa) |  | (dia/8 bed,500mm sa) |  | (200mm bed,500mm sa)
For 0 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 1600 diam |  | For 1601 to 20000 diam
Granular cradle(m3) | 265.7103 | Granular cradle(m3) | 313.7894 | Granular cradle(m3) | 282.4178 | Granular cradle(m3) | 326.1698 | Granular cradle(m3) | 552.2621
Fill Blanket(m3) | 865.884 | Fill Blanket | 1060.1238 | Fill Blanket | 1060.1238 | Fill Blanket | 1254.3637 | Fill Blanket | 1254.3637
Flexible Pipe
(100mm bed,300mm sa) |  | (dia/4bed,300mm sa) |  | (dia/4 bed,400mm sa) |  | (200 bed,400mm sa) |  | (200mm bed,500mm sa)
For 0 to 400 diam |  | For 401 to 700 diam |  | For 701 to 800 diam |  | For 801 to 1000 diam |  | For 1001 to 20000 diam
Granular cradle(m3) | 843.1193 | Granular cradle(m3) | 933.2677 | Granular cradle(m3) | 1143.8545 | Granular cradle(m3) | 1206.5978 | Granular cradle(m3) | 1425.8388
Fill Blanket(m3) | 288.475 | Fill Blanket | 288.475 | Fill Blanket | 334.631 | Fill Blanket | 334.631 | Fill Blanket | 380.787

## Calcs (hidden)
ITEM | QUANTITY | UNIT | DESCRIPTION |  | Formulae
[5 empty] | Cylinder Volume | V=πr2h
PORTION A (Cylindrical Portion) |  |  |  |  | Dome Cap Volume |  |  | where a = Radius | (1/3)πh2(3r-h) | 28.8716
Water Tower Outer Wall Dia. | 19.6 | m | Measured from .DWG |  | Conical Volume | V=1/3πh(a2+ab+b2) where a = Upper Radii and b = lower radii)
Water Tower Inner Wall Dia. | 19 | m | Measured from .DWG |  | Surface Area Cone | A=π(a+b)l where a = Upper Radii and b = lower radii)
Water Tower Outer Wall Radius | 9.8 | m |  |  | Surface Area Dome | A=2πrh
Water Tower Inner Wall Radius | 9.5 | m |  |  | Surface area Cylinder | A=2πrh
Water Tower Wall Thickness | 0.3 | m | Measured from .DWG |  | Area Circle | A=πr2
Circumference of Water Tower Outer Wall | 61.5752 | m
Circumference of Water Tower Inner Wall | 59.6903 | m
Height (Portion A Only) | 5.8 | m | Height from WL (+35.10) to 45 deg Point
Water Tower Wall Height | 6.2 | m | Full Height of cylindrical portion of Water Tower
PORTION B (Conical Portion)
Area in Cross Section | 27.4831 | m2 | Area in section obtained from the .dwg
Height (Portion B Only) | 5.93 | m
Upper Diameter | 19.1 | m
Lower Diameter | 7.1 | m
Upper Radius | 9.55 | m
Lower Radius | 3.55 | m
Cone Staircase Upper Radius | 3.6621 | m | Radius from centre of staircase to Outer Wall of staircase
Cone Staircase Lower Radius | 5.2 | m | Radius from centre of staircase to Outer Wall of staircase
Cone Staircase Height | 0.738 | m
Upper Staircase Outer Dia. | 3.4 | m
Upper Staircase Inner Dia. | 2.8 | m
Upper Staircase Outer Radius | 1.7 | m
Upper Staircase Inner Radius | 1.4 | m
Upper Staircase Wall Thickness | 0.3 | m
Circumference of Upper Staircase Outer Wall | 10.6814 | m
Circumference of Upper Staircase Inner Wall | 8.7965 | m
Upper Staircase Full Height | 11.2 | m | Measured from .DWG
Conical Staircase Height | 1.8 | m
Lower Staircase Outer Dia. | 6.2 | m
Lower Staircase Inner Dia. | 5.6 | m
Lower Staircase Outer Radius | 3.1 | m
Lower Staircase Inner Radius | 2.8 | m
Lower Staircase Wall Thickness | 0.3 | m
Lower Staircase Full Height | 23.13 | m
Circumference of Lower Staircase Outer Wall | 19.4779 | m
Circumference of Lower Staircase Inner Wall | 17.5929 | m
Dome Roof Thickness | 0.3 | m | Tapers from 0.300m to 0.125m
Dome Outer Height | 2.85 | m
Dome Inner Height | 2.7 | m
Dome Outer Dia. | 19.6 | m
Dome Inner Dia. | 19 | m
Dome Outer Radius | 9.8 | m
Dome Inner Radius | 9.5 | m
WATER VOLUME CAPACITY
Portion A Water Volume | 1591.8073 | m3 | Volume of Water Tower Inner Wall - Volume of Upper Staircase Outer Wall
Portion B Water Volume | 761.9566 | m3 | Cone Volume of Portion B - Cylindrical Staircase Outer Wall of Portion B - Conical Volume of Staircse of Portion B
Water Tower Total WATER Volume | 2354 | m3 | Total Volume of Water Capacity up to WL = +35.10
Water Tower Total WATER Volume | 2354 | kl
Base Length | 15 | m
Base Width | 15 | m
Base Height | 1.85 | m
Blinding Layer Length | 15.5 | m
Blinding Layer Width | 15.5 | m
Blinding Layer thickness | 0.05 | m
Lower Staircase Base Diameter | 6.2 | m
Lower Staircase Base Radius | 3.1 | m
Lower Staircase Base Height | 0.6 | m
BLINDING CONCRETE VOLUME
125mm Blinding Concrete | 12.0125 | m3
Total Blinding Concrete Volume | 13 | m3
CONCRETE VOLUME
Concrete Base | 416.25 | m3
Lower Staircase Base (0.6m High) | 18.1144 | m3
Lower Staircase Wall Volume | 128.6171 | m3 | 26m = Lower Staircase Height
Lower Staircase Platform Volume | 0 | m3 | 0.00m = Platform Thickness
Upper Staircase Wall Volume | 32.7228 | m3 | 11.2m = Upper Staircase Height
Upper Staircase Platform Volume | 1.2315 | m3
Conical Staircase Wall Volume Upper Portion | 4.8016 | m3 | Measured from .dwg: Height = 0.729m Outer Radii: a = 1.831m b = 2.6m Inner Radii: a = 1.4m b = 1.9671m
Conical Staircase Wall Volume Lower Portion | 25.0096 | m3 | Measured from .dwg: Height = 1.071m Outer Radii: a = 3.1m b = 4.1341m Inner Radii: a = 1.9671m b = 2.8m
Cylindrical Water Tower Wall (Portion A) | 112.7769 | m3
Conical Water Tower Wall (Portion B) | 121.3098 | m3 | Measured from .dwg: Height = 5.930m Outer Radii: a = 4.1341m b = 9.7m Inner Radii: a = 3.4m b = 9.4m
Dome Roof volume | 49 | m3 | 28.8716
Spiral Staircase Volume |  | m3 | TBC - Concrete or steel?
m3
Total Concrete Volume | 910 | m3
SURFACE AREA
Dome Outside | 175.4894 | m2
Dome Inside | 161.1637 | m2
Cylindrical Water Tower Wall Outside | 381.7663 | m2
Cylindrical Water Tower Wall Inside | 370.0796 | m2
Conical Water Tower Wall Outside | 391.0082 | m2 | l = 9.5009m
Conical Water Tower Wall Inside | 325.9573 | m2 | l = 8.4354m
Conical Water Tower Horizontal Lip | 15.0796 | m2 | Outer Radius of Lip = 3.4m; Inner Radius of Lip = 2.6m
Upper Staircase Outer Wall | 119.6318 | m2
Upper Staircase Inner Wall | 98.5203 | m2
Lower Staircase Outer Wall | 450.5232 | m2
Lower Staircase Inner Wall | 406.9242 | m2
Lower Staircase Base Outer | 174.3584 | m2
Lower Staircase Base Top | 676.6676 | m2
Conical Staircase Outside | 18.7033 | m2 | l = 1.2403m
Conical Staircase Inside | 32.2384 | m2 | l = 2.2804m
Lower Staircase Floor | 24.6301 | m2
Total Surface Area | 3823 | m2
Site Clearance - Measured from CAD | 2255 |  | Measrued from CAD
Blinding area | 240.25
narrow width on dome outside | 67.7327
Total Base excavation | 718.08 | m3
Valve Chamber excavation | 492.6188 | m3
Scour box excavation | 0 | m3 | On top of base
walkway fwk on top of internal walls | 11.5611 | m2
Tower base wood float | 194.386
Valve room - Length | 10.42 |  | Length
Width | 6.13 |  | Width
Wall height | 2.2
Brick wall height | 3.3
Total Height | 5.5
Base thickness | 0.25
Guard house | 3 |  | Length
| 5.475 |  | Width
sewer line length | 143 | measured on Google earth
Paving area | 738.1 | measrued from C3d
Pipe Length |  |  |  | 0m-1m | 1m-2m | 2m-3m
650mm supply | 1000 |  | 650mm supply | 0 | 880 | 120
400mm at reservoir | 30 |  | 400mm at reservoir |  | 30
550mm | 19 |  | 550mm |  | 19
total | 1153.9 |  | Sewer |  |  | 143
|  |  | Electrical from Connection to Main DB | 40 |  |  | Estimated from site layout + Risk
|  |  | Telemetry sleeves | 20 |  |  | Measrued from Site layout
|  |  | Total | 60 | 929 | 263
overflow/scour box | 4.1 | length
| 0.3 | base height
| 2.075 | wall height
| 0.2 | wall t
| 1.4 | width

## Pipe Fittings (hidden)
[5 empty] | nrv | non return valve | [5 empty] | ecc | eccentric |  |  | pf | puddle flange
[12 empty] | con | concentric |  |  | oef | one end flanged
[12 empty] | ff | fully flanged |  |  | bef | both ends flanged
BENDS |  |  |  | VALVES |  |  | CUT LENGTHS |  |  |  | REDUCERS |  |  |  | GENERAL
Item No | Quantity | Description | Length | Item No | Quantity | Description | Item No | Quantity | Description | Length | Item No | Quantity | Description | Length | Item No | Quantity | Description | Length
1.1 | 2 | SS 650mm dia | 90 deg | 2.1 | 1 | 200mm Gate valve | 4.1 | 2 | ss 650 oef | 2000 | 5.1 | 1 | 1000 to 750 | ecc | 1.7 | 1 | 250 by 200 reducing tee | 90 and 100
1.2 | 2 | SS 650mm dia | 45 deg | 2.2 | 9 | 400mm gate valve | 4.2 | 4 | ss 650 bef | 6000 | 5.2 | 1 | 750 to 500 | ecc | 3.1 | 1 | SS 650, pf | 1255
1.3 | 1 | SS 550mm dia | 43.5 deg | 2.3 | 1 | 400mm combination control valve | 4.3 | 1 | ss 650 oef | 1260 | 5.3 | 1 | 500 to 300 | ecc | 3.2 | 1 | SS 550, pf, oef | 1085
1.4 | 1 | SS 550mm dia | 90 deg | 2.4 | 6 | 250mm combi control valve | 4.4 | 1 | ss650 oef | 400 | 5.4 | 1 | 300 to 250 | ecc | 3.3 | 1 | SS 250, pf | 995
1.5 | 2 | SS 250mm dia | 45 deg | 2.5 | 3 | 250mm NRV | 4.5 | 1 | ss 650 oef | 2075 | 5.5 | 3 | 650 to 400 | con ff | 3.4 | 1 | SS 200 pf, oef | 1000
1.6 | 1 | SS 250mm dia | 90 deg |  |  |  | 4.6 | 1 | ss 650 oef | 2520 | 5.6 | 7 | 550 to 400 | con ff | 3.5
1.7 |  | See GENERAL |  |  |  |  | 4.7 | 1 | ss550 oef | 300 | 5.7 | 1 | 400 to 350 | con ff | 3.6
1.8 | 4 | SS 200mm dia | 45 deg |  |  |  | 4.8 | 3 | ss550 bef | 6000 | 5.8 | 1 | 400 to 250 | con ff | 3.7
1.9 | 1 | SS 200mm dia | 90 deg |  |  |  | 4.9 | 1 | ss550 oef | 2660 | 5.9 | 1 | 350 to 250 | con ff | 3.8
1.1 | 2 | MS 650mm dia | 47.83 deg |  |  |  | 4.101 | 1 | ss550 oef | 1350 |  |  |  |  | 3.9 | 3 | MS 650 , pf, ff | 1045
1.11 | 1 | MS 550mm dia | 55 deg |  |  |  | 4.11 | 1 | ss750 | 300 |  |  |  |  | 3.101 | 2 | MS 550, pf, ff | 1655
1.12 | 1 | MS 250mm dia | 90 deg |  |  |  | 4.12 | 1 | ss350 oef | 350 |  |  |  |  | 3.11 | 4 | MS 400 ,ff, tee, 505 spool | 610
[7 empty] | 4.13 | 4 | ss250 bef | 6000 |  |  |  |  | 3.119 | 1 | MS 650,ff, s-bend 45 deg | 3350
[7 empty] | 4.14 | 1 | ss250 oef | 2260 |  |  |  |  | 3.128 | 1 | ms 550, s-bend 45 deg
[7 empty] | 4.15 | 1 | ss250 oef | 350 |  |  |  |  | 3.137 | 1 | ms 650 blind flange
[7 empty] | 4.16 | 1 | ss250oef | 3900 |  |  |  |  | 3.146 | 1 | ms 550 pf, ff | 1045
[7 empty] | 4.17 | 1 | ss250oef | 980 |  |  |  |  | 3.155 | 1 | ms 550 by 300 tee
[7 empty] | 4.18 | 3 | ss200oef | 300 |  |  |  |  | 3.173 | 2 | ms 550 blind flange
[7 empty] | 4.19 | 1 | ss200 | 415 |  |  |  |  | 3.182 | 1 | ms 300 blind flange
[7 empty] | 4.201 | 3 | ss200 bef | 6000 |  |  |  |  | 3.191 | 1 | ms 650 long radius bend | ff
[7 empty] | 4.21 | 1 | ss200 bef | 1875 |  |  |  |  | 3.2 | 2 | ms 500 equal t
[7 empty] | 4.22 | 1 | ss200oef | 350 |  |  |  |  | 3.209 | 2 | ms 400 equal t
[7 empty] | 4.23 | [7 empty] | 3.218 | 1 | 350 by 250 reducing t
[7 empty] | 4.24 | [7 empty] | 3.227 | 3 | 400 by 250 sweeping tee
4.25
[7 empty] | 4.26 | 1 | ms650 oef | 19100
[7 empty] | 4.27 | 1 | ms650 bevelled | 1744
[7 empty] | 4.28 | 1 | ms650 oef | 510
[7 empty] | 4.29 | 6 | ms400 bef | 500
[7 empty] | 4.3002 | 1 | ms550ff | 10910
[7 empty] | 4.31 | 1 | ms550 ff | 2675
[7 empty] | 4.32 | 1 | ss250 oef | 495
[7 empty] | 4.33 | 1 | ms 550 bef | 586
[7 empty] | 4.34 | 1 | ms 550 oef | 2187
[7 empty] | 4.35 | 1 | ms 550 oef | 12631
[7 empty] | 4.36 | 1 | ms 400 bef | 3955
[7 empty] | 4.37 | 1 | ms 400 bef | 2293
[7 empty] | 4.38 | 1 | ms 350 bef | 4895
[7 empty] | 4.39 | 1 | ms 250 bef | 958
[7 empty] | 4.4 | 1 | ms 250 bef | 1053
[7 empty] | 4.41 | 1 | ms 250 oef | 2508
[7 empty] | 4.42 | 1 | ms 250 oef | 1377
[7 empty] | 4.43 | 3 | ms 150bef | 150