## Bill of Quantities
JOHANNESBURG WATER
GREATER ORANGE FARM PHASE 3A WATER INFRASTRUCTURE RENEWAL PROJECT
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
1 | SABS 1200A & 1200AB | SCHEDULE A: PRELIMINARY AND GENERAL
| 8.3 | FIXED-CHARGE ITEMS
1.1 | 8.3.1 | Contractual requirements (sureties, insurance of the Works and plant, third party or public liability insurance and unemployment insurance to cover his compliance with the requirements of the Workmen's Compensation Act, 1941 (Act NO. 30 of 1941) and any other initial financing obligations of a preliminary and general nature, such as contributions to the CEITB). | Sum | 1
| 8.3.2 | PROVISION OF FACILITIES ON SITE:
| 8.3.2.1 | Facilities for Engineer:
1.2 | PSA 8.3.2.1 | a) Engineers Office Type 2 | Sum | 1
|  | b) JW Engineering Team (No.2) | Sum | 1
|  | c) QCO's and CLO Office (No.2) | Sum | 1
|  | d) Boardroom (No:1) | Sum | 1
|  | e) Parking (No.2) | Sum | 1
|  | f) Nameboards (No.4) | Sum | 1
|  | g) Communication | Sum | 1
|  | h) Telephone and Computer facilities for Complaints Handler Team (No.4) | Sum | 1
|  | i) Ablution and latrine facilities | Sum | 1
1.3 | 8.3.2.2 | Facilities for the Contractor
|  | a) Offices and storage sheds | Sum | 1
|  | b) Workshops | Sum | 1
|  | e) Ablution and latrine facilities | Sum | 1
|  | f) Tools and equipment | Sum | 1
|  | g) Water supplies, electric power and communications | Sum | 1
|  | h) Dealing with water (SANS 1200A 5.5) | Sum | 1
|  | i) Access (see sub-clause 5.8) | Sum | 1
1.4 | PSA 8.3.2.2 | FACILITIES FOR SMME Fixed Charged Items
|  | a) Establishment of storage and Facilities for the SMMEs | Sum | 1
|  | b) Tools and equipment | Sum | 1
|  | c) Other Fixed related obligations | Sum | 1
|  | d) Removal of Facilities | Sum | 1
1.5 | PSA 8.3.2.3 | Satellite Facilities for CLO & QCO Team
|  | a) Office for CLO & QCO Team Type 2 (No,4) | Sum | 1
|  | b) Water supplies and electric power | Sum | 1
|  | c) Ablution & Latrine facilities | Sum | 1
|  | d) Removal of facilities | Sum | 1
1.6 | PSA 8.3.5.2 | OHS Act Obligations | Sum | 1
1.7 | PSA 8.3.5.3 | EMP Obligations | Sum | 1
1.8 | PSA 8.3.5.3 | Issuing of notices to Customers | Sum | 1
1.9 | PSA 8.3.5.4 | Other fixed charged obligations (The rate shall include the cost of additional fixed charge contractual and legislative obligations which which are not provided foranywhere else in the bill of quantities) | Sum | 1
1.10 | 8.3.4 | Removal of site Establishment | Sum | 1
1.11 | PSA 8.4 | TIME RELATED ITEMS
1.12 | 8.4.1 | Contractual requirements | Month | 15
1.13 |  | Contractor's Supervision for the duration of construction | Month | 15
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
1.14 | PSA 8.4.2 | Facilities for Engineer:
|  | a) Engineers Office Type 2 | Month | 15
|  | b) JW Engineering Team (No.2) | Month | 15
|  | c) Boardroom (No:1) | Month | 15
|  | d) Parking (No.2) | Month | 15
. |  | e) Nameboards (No.4) | Month | 15
|  | f) Communication | Month | 15
|  | g) Telephone and Computer facilities for Complaints Handler Team (No.4) | Month | 15
|  | h) Ablution and latrine facilities | Month | 15
1.15 | 8.4.2.2 | Facilities for the Contractor:
|  | a)Contractor's head office overhead costs for the duration of the Contract | Month | 15
|  | b) Offices and storage sheds | Month | 15
|  | c) Ablution and latrine facilities | Month | 15
|  | d) Tools and equipment | Month | 15
|  | e) Water supplies, electric power and communications | Month | 15
|  | f) Dealing with water (SANS 1200A 5.5) | Month | 15
| PS 7 | g) Access (see SANS sub-clause 5.8) | Month | 15
1.16 | PSA 8.4.4 | OHS Act Obligations | Month | 15
1.17 | PSA 8.4.5 | EMP Obligations | Month | 15
1.18 | PSA 8.4.6 | Security Services | Month | 15
1.19 | PSA 8.4.7 | Contractor's Supervision of SMMEs for the duration of construction | Month | 15
1.20 | PSA 8.4.8 | Facilities for SMMEs Time Related Items
|  | c) Other time related obligations | Month | 15
1.21 |  | SMMEs Preliminary and General | Prov Sum | 1 | 6000000 | 6000000
|  | a) Extra over items 1.16 above for overhead charges and profit | % | 6000000
1.22 | PSA 8.4.9 | Satellite Facilities for CLO & QCO Team
|  | a) Office for CLO & QCO Team Type 2 (No,4) | Month | 15
|  | b) Water supplies and electric power | Month | 15
|  | c) Ablution & Latrine facilities | Month | 15
|  | d) Security services | Month | 15
1.22 | PSA 8.9 | Political and Community Unrest (Standing time) | Prov. Sum | 0 | 2000000 | 0
1.22.1 |  | Overheads, charges and profit on item 1.22 | % | 0 | 10% | 0
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
1.23 | PSA 8.5 | PROVISIONAL SUMS STATED BY ENGINEER
|  | a) Community Liaison Officer Salaries and cellphone allowance (No 3) | Prov. Sum | 1 | 540000
|  | b) JW ISD representative (Community facilitator-including team leader and Complaints handler) | Prov. Sum | 1 | 1270500
|  | c) Community awareness material | Prov. Sum | 1 | 100000
|  | d) QCF and QCO(No:5) | Prov. Sum | 1 | 660000
|  | e) Training but not limited to the following: Plumbing | Prov. Sum | 1 | 300000
|  | f) MIS System or similar approved Training | Prov. Sum | 1 | 100000
|  | g) Reinstatement of Asphalt by JRA | Prov. Sum | 1 | 150000
| PSA 8.5 | h) Fulltime Complaints Handler | Prov. Sum | 1 | 750000
1.25.1 |  | Overheads, charges and profit on item 1.23 (a) to 1.23 (h) | % | 3870500
1.26 |  | TEMPORARY WORKS
| 8.8.4 | Existing Services
| PSA 8.4.12 | a) Excavation by hand in all material to expose existing services | m3 | 400
| PSA 8.4.13 | b) Temporary protection of services | Sum | 1
| PSA 8.4.14 | c)Accomodation of traffic | Sum | 1
| PSA 8.4.15 | d) Provision of photographic records | Sum | 1
1.27 | PSA 8.16 | DAY WORKS (the rate shall cover overhead charges and profit of all day works items listed) (to be executed on instruction from the Engineer)
1.27.1 |  | Labour
|  | a) Unskilled | hr | 20
|  | b) Semi skilled | hr | 20
|  | c) Skilled | hr | 20
|  | d) Armed Security guard | hr | 20
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
1.27.2 |  | TLB's (Tractor loader backhoe)
|  | a) 2x4 | hr | 15
|  | b) 4x4 | hr | 15
1.27.3 |  | Compactors
|  | a) Wacker | hr | 10
|  | b) Plate compactor | hr | 10
1.27.4 |  | Generator (Wet Rate)
|  | a) 3kVA | hr | 10
|  | b) 5kVa | hr | 10
TOTAL CARRIED FORWARD TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
2 | SABS 1200C | SCHEDULE B: SITE CLEARANCE
2.1 | PSC 8.2.1 | Clear and grub (2 metre width) | m | 12191
2.2 | PSC 8.2.14 | Protection of trees as ordered by Engineer | No. | 20
2.3 | 8.2.10 | Remove topsoil to nominal depth of 150mm and stockpile for re-use as directed by Engineer | m3 | 250
2.4 | PSC 8.2.11b | Removal of man-made surfaces, stockpile materials for later re-use
a) Footways and driveways
|  | i) Asphalt (≤ 50mm thickness) | m2 | 2925.84
|  | ii) Asphalt (≥ 50 - 100mm thickness) | m2 | 800
|  | iii) Interlocking concrete segmental paving blocks (all colours) | m2 | 3901.12
|  | iv) Concrete slabs (450 x 450mm) | m2 | 150
|  | v) Brick paving | m2 | 2500
|  | vi) Grassing and vegetation | m2 | 3900
|  | vii) Unreinforced concrete <75mm thick | m³ | 350
|  | viii) Reinforced concrete <75mm thick | m³ | 250
|  | ix) Kerbing (All types of kerbs) | m | 1500
|  | x) Dump rock/Stone pitching | m³ | 250
|  | xi) Steel palisade | m | 650
|  | xii) Concrete palisade | m | 650
|  | xiii) Removal of all other fences | m | 500
|  | xiv) Demolish of 115mm brick boundary wall | m | 1000
|  | xv) Demolish of 230mm brick boundary wall | m | 1000
2.5 | PSC 8.2.12 | Backfilling and reinstatement of man-made surfaces
a) Backfilling and reinstatement of footways and driveways using materials recovered in item 2.4 above
|  | i) Interlocking concrete segmental paving blocks (all colours) | m2 | 3120.896
|  | ii) Concrete slabs (450 x 450mm) | m2 | 150
|  | iii) Brick paving | m2 | 1500
|  | iv) Grassing and vegetation | m2 | 2340
|  | v) Kerbing (All types of kerbs) | m | 900
|  | vi) Dump rock/Stone pitching | m³ | 200
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
2.6 | PSC 8.2.12.2 | a) Backfilling and reinstatement of footways and driveways using new materials
|  | i) Asphalt (≤ 50mm thickness) | m2 | 2925.84
|  | ii) Asphalt (≥ 50 - 100mm thickness) | m2 | 800
|  | iii) Interlocking concrete segmental paving blocks (all colours) | m2 | 780.224
|  | iv) Concrete slabs (450 x 450mm) | m2 | 150
|  | v) Brick paving all colours | m2 | 1000
|  | vi) Grassing and vegetation | m2 | 1560
|  | vii) Unreinforced concrete <75mm thick | m³ | 350
|  | viii) Reinforced concrete <75mm thick | m³ | 250
|  | ix) Kerbing (All types of kerbs) | m | 600
|  | x) Dump rock/Stone pitching | m³ | 50
|  | xi) Steel palisade | m | 650
|  | xii) Concrete palisade | m | 650
|  | xiii) All other fences | m | 500
|  | xiv) 115mm brick boundary wall including plastering | m | 1000
|  | xv) 230mm brick boundary wall including plastering | m | 1000
TOTAL CARRIED FORWARD TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | RATE | AMOUNT
3 | SABS 1200DB | SCHEDULE C: EARTHWORKS (PIPE TRENCHES)
3.1 | 8.3.2 | Excavation
3.1.1 | PSDB 8.3.2(a) | Excavate in all material for trenches, shore and dispose of surplus material using labour intensive construction methods for the depths of:
|  | i) Over 0,0m and up to 1,5m | m³ | 13200
|  | ii) Over 1,5m and up to 2,5m | m³ | 500
|  | iii) Over 2,5m | m³ | 150
3.1.2 | PSDB 8.3.2(3) | Excavate by hand in all material for tie-ins, house connections, backfill and compact including disposal of surplus unsuitable material for depth:
|  | a) Over 0,0m and up to 1,0m | m³ | 6000
|  | b) Over 1,0m and up to 1,5m | m³ | 200
|  | c) Over 1,5m | m³ | 100
3.1.3 | 8.3.2(b) | Extra over Item 3.1.1 above for : Please refer to PSD 3.1.3 for Classification of materials for hand excavations
|  | a) Intermediate excavation. | m³ | 1462.92
|  | b) Hard excavation. | m³ | 1462.92
|  | c) Rock excavation | m³ | 1219.1
3.2 | SANS 8.3.3 | Excavation Ancillaries
3.2.1 | 8.3.3.1 | Make up deficiency in backfill material (Provisional)
|  | a) from other necessary excavations on site | m³ | 731.46
|  | b) by importation from designated borrow pits | m³ | 487.64
|  | c) by importation from commercial or off site sources selected by the Contractor | m³ | 365.73
3.3 | PSDB 8.3.3.3 | a) Additional compaction to 95% mod AASHTO density in road crossings | m³ | 200
3.4 | PSDB 8.3.4 (a) | a)Shore trench opposite structure or service (Provisional) | m | 1080
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
3.5 | PSDB 8.3.5(a) | a) Services that intersect a trench
|  | i) Water house connections. | No. | 30
|  | ii) Sewer pipes up to 300mm Dia. | No. | 20
|  | iii) Cables. | No. | 20
|  | iv) Stormwater pipes up to 1050mm dia. | No. | 20
|  | v) Kerbs and Channels | No. | 20
|  | vi) Water pipes of any diameter | No. | 5
|  | vii) Irrigation pipes | No. | 5
3.6 | 8.3.5(b) | b) Services that adjoin a trench
|  | i) Water house connections | m | 3500
|  | ii) Sewer pipes up to 600mm Dia. | m | 1500
|  | iii) Cables. | m | 12191
|  | iv) Stormwater pipes up to 1050mm dia. | m | 1000
|  | v) Kerbs and Channels | m | 1000
|  | vi) Water pipes of any diameter | m | 1500
|  | vii) Irrigation pipes | m | 500
3.7 | PSDB 8.3.5( c ) | Services that require special care | No | 30
3.8 | PSDB 8.3.6 | Trimming of tree roots on pipe alignment( This item will be measured as number of trees) | No | 20
CARRIED FORWARD TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
4 | SABS 1200LB | SCHEDULE D: BEDDING (PIPES)
4.1 | PSLB 8.2.1 | Provision of bedding from trench excavation
|  | a) Selected granular material | m³ | 3413.48
|  | b) Selected fill material | m³ | 2438.2
| PSLB 8.2.1.1 | c) Extra over item 4.1(a) and (b) for sieving where ordered by Engineer | m³ | 1024.044
4.2 | 8.2.2.3 | Provision of bedding imported from commercial sources (Provisional)
|  | a) Selected granular material | m³ | 900
|  | b) Selected fill material | m³ | 900
| PSLB 8.2.2.3 (c ) | c) 19mm Crushed stones bedding | m³ | 350
4.3 | 8.2.4 | a) Encasing of pipe in 20MPa concrete (Provisional) | m³ | 50
| PSLB 8.2.3 | b) Concrete for Thrust/anchor blocks (including all required formwork) as per detail JW100-DET05-W01 | m³ | 150
TOTAL CARRIED FORWARD TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
5 | SABS 1200L | SCHEDULE E: MEDIUM PRESSURE PIPELINES
5.1 | 8.2.1 | a) Supply, lay, bed (class B bedding), all test and disinfect, backfill complete with victaulic couplings denso wrapped including knock on collars at joints, high impact mPVC Class 16 pipes:
|  | i) DN110 | m | 8756
|  | ii) DN160 | m | 2337
|  | iii) DN200 | m | 1285
5.2 |  | Fittings to suit High Impact Class 16 mPVC pipes
5.2.1 | 8.2.2 | a) Shouldered end Steel Bends Fusion Bonded Epoxy coated 250 microns including thrust blocks to suit high impact mPVC pipe:
DN110
|  | i) 11¼° | No. | 10
|  | ii) 22.5° | No. | 10
|  | iii) 45° | No. | 10
|  | iv) 90° | No. | 10
DN160
|  | i) 11¼° | No. | 10
|  | ii) 22.5° | No. | 10
|  | iii) 45° | No. | 10
|  | iv) 90° | No. | 10
DN200
|  | i) 11¼° | No. | 5
|  | ii) 22.5° | No. | 5
|  | iii) 45° | No. | 5
|  | iv) 90° | No. | 5
| 8.2.2 | b) Shouldered end Steel Reducer Fusion Bonded Epoxy coated 250 microns to suit High Impact mPVC pipe:
|  | i) 150mm x 100mm dia. | No. | 8
|  | ii) 200mm x 100mm dia. | No. | 6
|  | iii) 200mm x 150mm dia. | No. | 4
| 8.2.2 | c) Steel Tees Fusion Bonded Epoxy coated 250 microns to suit High Impact mPVC piping including thrust block
|  | i) 100mm dia. equal tee | No. | 10
|  | ii) 150mm dia. equal tee | No. | 10
|  | iii) 200mm dia. equal tee | No. | 5
|  | iv) 150mm x 100mm dia. reducing tee | No. | 5
|  | v) 200mm x 100mm dia. reducing tee | No. | 5
|  | vi) 200mm x 150mm dia. reducing tee | No. | 5
d) Steel Flanged Crosses, Fusion Bonded Epoxy coated 250 microns to suit High Impact mPVC piping including thrust block
|  | i) 100mm dia. equal cross | No. | 2
|  | ii) 150mm dia. equal cross | No. | 2
|  | iii) 200mm dia. equal cross | No. | 2
e) Steel End Caps Fusion Bonded Epoxy coated 250 microns to suit High Impact mPVC piping including thrust block
|  | i)DN110 | No. | 6
|  | ii) DN160 | No. | 5
|  | iii) DN200 | No. | 5
|  | Extra-over item 8.2.2 for encasing joints (Denso wrapping or similar approved of metal joints). | No. | 30
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
5.3 |  | Valves & Appurtenances
5.3.1 | PSL 8.2.19 | a) Supply, fixing and bedding of valves with its fittings complete (including chambers as per drawing JW100-DET03-W01. Gate Valves Class 16, anti-clockwise closing for the following pipe sizes: Valves to be manufactured in accordance with SANS 664
|  | i) DN100 RSV Class 16 Non rising spindle Detail JW100-DET03-W01 | No. | 30
|  | ii) DN150 RSV Class 16 Non rising spindle Detail JW100-DET03-W01 | No. | 14
|  | iii) DN200 Wedge Type Class 16 Non rising spindle Detail JW100-DET03-W01 | No. | 8
5.3.2 | PSL 8.2.19 | b) Supply, fixing and bedding of above ground fire hydrants with fittings and galvanised pipe for connection to the main line as per detail JW100-DET06-W01 (Rate to include all fittings required to connect to main line e.g. tees, bends, distance piece, approved coating on the fire hydrant etc.)
|  | i) DN80 fire Hydrant mainline 110mm dia | No. | 30
|  | ii) DN80 fire Hydrant mailine 160mm dia | No. | 12
|  | iii) DN80 fire Hyadrant mainline 200mm dia | No. | 8
5.4 | 8.2.4 | Extra-over 5.1 for cutting and joining of pipes to length where required:
5.4.1 |  | a) '"Press on" shouldered end collars including 1 victaulic coupling for mPVC pressure pipe:
|  | i) DN110 | No. | 30
|  | ii) DN160 | No. | 20
|  | iii) DN200 | No. | 10
5.4.2 |  | b) Steel Flanged Adaptors with victaulic ends, Fusion Bonded Epoxy coated 250 microns to suit High Impact mPVC piping including thrust block
|  | i) DN110 | No. | 10
|  | ii) DN160 | No. | 10
|  | iii) DN200 | No. | 10
5.4.3 |  | c) Steel flanged adaptors (VJ type), Fusion Bonded Epoxy coated 250 microns to suit High Impact mPVC piping including thrust block
|  | i) DN110 | No. | 10
|  | ii) DN160 | No. | 10
|  | iii) DN200 | No. | 10
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
5.5 | 8.2.15 | Special wrapping in corrosive soil per joint as instructed by Engineers | No. | 20
5.6 |  | Tying into existing Pipes
5.6.1 | PSL 8.2.17 | Tying into existing water line. Supply all fittings to suit pipe size including labour for the following pipe sizes, excavations will be allowed under pipe excavations:
a) Tying new 110mm-160mm HDPE/mPVC into existing steel/HDPE/AC/uPVC pipes for the following pipe sizes:
|  | i) 100mm to 200mm | No. | 12
|  | ii) 201mm to 400mm | No. | 5
b) Tying new 200mm-250mm HDPE/MPVC into existing steel/HDPE/AC/uPVC pipe for the following pipe sizes:
|  | i) 100mm to 200mm | No. | 3
5.7 | PSL 8.2.24.2 | Supply, handle, install the following HDPE pipes using Horizontal Directional Drilling (HDD) in soft and intermediate material for any depth
|  | a) DN110 (HDPE pipe, Class 16 PE100 SDR 11) | m | 550
|  | b) DN160 (HDPE pipe, Class 16 PE100 SDR 11) | m | 300
|  | c) DN200 (HDPE pipe, Class 16 PE100 SDR 11) | m | 200
5.8 |  | Extra over item 5.6 for Horizontal Direction Drilling in rock material | m | 630
5.8.1 |  | Excavate in all materials Launching and reception shafts/pits | m³ | 150
5.8.2 | 8.2.2 | b) Stub and Flange for HDPE PN16 PE100 SDR11
|  | i) Stub and Flange couple for 110 diameter pipe | No. | 26
|  | ii) Stub and Flange couple for 160 diameter pipe | No. | 10
|  | iii) Stub and Flange couple for 200 diameter pipe | No. | 10
5.9 | PSL 8.2.18 | a) Recover valves, fittings, meters, specials of all sizes etc and deliver to the respective Depot or as instructed by the Employer's Agent.
i) Valves following sizes:
|  | 1) 100mm to 300mm | No. | 45
|  | ii) Fire Hydrants all sizes | No. | 25
CARRIED FORWARD TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
6. | SANS1200 LF | SCHEDULE F: ERF CONNECTIONS
6.1 | SANS1200 DB | EXCAVATIONS
| 8.3.2(a) | Excavate in all materials for trenches 400mm wide, backfill, compact, dispose of surplus / unsuitable material, levelling and cleaning for the following pipe diameters:
|  | a) 0 - 40mm diameter | m³ | 11079.3067
|  | b) 40mm - 50mm diameter | m³ | 2818.1554
6.2 | 8.3.2 (b) | Extra-over items (8.3.1 (a)) for
|  | i) Intermediate excavation | m³ | 2500
|  | ii) Hard rock excavation | m³ | 500
6.3 |  | ERF CONNECTIONS
6.3.1 | PSLF 8.2.9 | Illegal erf connection locating and removal | No. | 1700
6.3.2 | PSLF 8.2.10 | Erf connection provision and installation
a) Using open trench construction
|  | a) 15mm dia. erf connections | No. | 1800
|  | b) 25mm dia. erf connections | No. | 10
|  | c) 32mm dia. erf connections | No. | 10
|  | d) 40mm-50mm dia. erf connections | No. | 5
6.3.3 | PSLF 8.2.11 | Horizonal driling long erf connection
|  | a) 15mm dia. erf connections | m | 1500
|  | b) 25mm diameter erf connections | m | 1000
|  | c) 32 mm diameter erf connections | m | 3000
|  | c) 40 mm - 50mm diameter erf connections | m | 450
6.3.3.1 |  | Excavate in all materials Launching and reception shafts | m³ | 250
6.3.3.2 |  | Extra-over item for horizontal drilling through rock. | m | 800
6.3,4 |  | Saddles (to suit High Impact mPVC pipes): Complete with bolts , nuts, flat gaskets, seals and stiffened ring.Include drilling hole DN of fitting Ø.Offtake to be BSP threaded (Plasson or similar approved by the Engineer in writing)Include for painting bolts with bituminous corrosion protection
|  | i) 110mm x 15mm | No. | 1762
|  | ii) 110mm x 32mm | No. | 4
|  | iii) 110mm x 40mm | No. | 4
|  | iv) 110mm x 50mm | No. | 4
|  | v) 110mm x 63mm | No. | 4
|  | vi) 160mm x 15mm | No. | 1000
|  | vii) 160mm x 32mm | No. | 4
|  | viii) 160mm x 40mm | No. | 4
|  | ix) 160mm x 50mm | No. | 4
|  | x) 160mm x 63mm | No. | 4
|  | xi) 200mmx 15mm | No. | 350
|  | xii) 200mm x 32mm | No. | 4
|  | xiii) 200mm x 40mm | No. | 4
|  | xiv) 200mm x 50mm | No. | 4
|  | xv) 200mm x 63mm | No. | 4
TOTAL CARRIED FORWARD
TOTAL BROUGHT FORWARD
6.4 | PSLF 8.2.12 | BALL VALVES
Provision and installation of ball valves
a) Ball valves (Supply and install brass ball/gate valve stopcock, rate to include all fittings to connect to the HDPE pipes)
6.4.1 |  | For existing and new erf connections. (Less than 500mm deep)
|  | 1) 15 mm diameter ball valve | No. | 3000
|  | 2) 25mm- 32mm diameter ball valve | No. | 10
|  | 3) 40mm diameter ball valve | No. | 10
|  | 4) 50mm diameter ball valve | No. | 10
6.4.2 |  | b) Ball valves (Supply and install brass ball/gate valve stopcock, rate to include all fittings to connect to the HDPE pipes)
For existing erf connections. (More than 500mm deep)
|  | 1) 15 mm diameter ball valve | No. | 100
|  | 2) 25mm- 32mm diameter ball valve | No. | 25
|  | 3) 40mm diameter ball valve | No. | 25
|  | 4) 50mm diameter ball valve | No. | 25
6.4.3 |  | Extra over item for valve installation for existing pipes other than HDPE | Prov. Sum | 1 | 100000 | 100000
6.4.4 |  | Overheads, charges and profit on item 6.5 | % | 100000
TOTAL CARRIED FORWARD TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
7 |  | SCHEDULE G: YARD CONNECTIONS
7.1 | PA 8.2.17 | YARD CONNECTIONS
7.1.1 |  | Provision and installation of yard connections | Prov.Sum | 1 | 7590909 | 7590909
7.1.2 |  | Extra over items 7.1.1 above for overhead charges and profit | % | 7590909
7.2 |  | LEAK DETECTION
7.2.1 | PA8.2.19 | Leak free tests | No. | 1000
TOTAL CARRIED FORWARD TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
8 |  | SCHEDULE H: ON-PROPERTY PLUMBING RETROFITTING
8.1 | PA 8.2.20 | Preparation and delivery of notice to owner | No. | 3000
8.2 | PA 8.2.21 | 100% pre-intervention survey on customer properties | No. | 3000
8.3 | PA 8.2.22 | Provision and installation of on-property plumbing retrofitting | Prov.Sum | 1 | 13000000 | 13000000
8.4 |  | Extra over items 8.3 above for overhead charges and profit | % | 13000000
TOTAL CARRIED TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
9. |  | SCHEDULE I: CUSTOMER METER INSTALLATION
9.1 | PF22.7 | a) Supply of 15mm diameter STS Pre-payment water meter as per JW Metering Guidelines complete inclusive of couplings and Meter Box Unit (MBU) | No. | 3000
9.2 | PF22.9 | STS Customer Interface Unit (CIU-IOT) (Supply and pairing of STS meter & Switching of meters from Conventional to Prepaid Mode ) | No. | 3000
9.3 | PF22.10 | Annual Data Management Fee IOT Network Hosting for 3 years after completion of the contract. (To cover cost for meter reading, meter performance audit and reporting) Please refer to Schedule A and B in the specifications. | No. | 3000
9.4 | PF22.8 | “Installation complete with couplings supplied by Contractor (Meter-IOT) | No. | 3000
9.5 |  | TRAINING
9.5.1 | PF22.2.1 | Training for Employer’s staff per session (20 people per group) | No. | 5
9.5.2 | PF22.2.3 | Meter demonstration per stand by the Supplier’s technicians | No. | 3000
9.6 | PF22.3 | TECHNICAL SUPPORT
9.6.1 | PF22.3.1 | On- Site Support during construction | Month | 15
9.6.2 | PF22.3.2 | After hours On-Ste Support | No. | 500
9.6.3 | PF 22.3.4 | On-Site Support-for12 months after completion of the contract. | No. | 800
9.6.4 | PF22.4 | Removal of existing meters | No. | 1000
TOTAL CARRIED FORWARD TO SUMMARY
Item No. | Payment Clause | Description | Unit | Qty | Rate | Amount
10. |  | SCHEDULE J: OCCUPATIONAL HEALTH AND SAFETY
| PO1.1 | SUPPLY OF ALL ITEMS OF PERSONAL PROTECTIVE CLOTHING/EQUIPMENT & ENSURE USE THEREOF FOR FULL COMPLIANCE
10.1 |  | Steel toe capped safety boots | No. | 200
10.2 |  | Appropriate protective clothing | No. | 200
10.3 |  | Gloves | No. | 200
10.4 |  | Colour coded hardhats | No. | 200
10.5 |  | Induction tags /cards | No. | 200
10.6 |  | Luminous high visibility safety vests | No. | 200
10.7 |  | Additional items: Contractor to specify (To be approved by the Engineer) | No. | 200
10.8 |  | BARRICADING
Supply & install Proper Safety Nets, including removal upon completion to ensure full compliance to legislation
10.8.1 |  | Rigid type barricading | m | 350
10.8.2 |  | Additional items: As specified by the Engineer | Prov.Sum | 1 | 100000 | 100000
10.8.3 |  | Profit on item 10.8.2 above | % | 100000
TOTAL CARRIED FORWARD TO SUMMARY

## SUMMARY
JOHANNESBURG WATER
CONTRACT NUMBER: JW14427A
GREATER ORANGE FARM PHASE 3A WATER INFRASTRUCTURE RENEWAL PROJECT
DESCRIPTION |  | AMOUNT
SCHEDULE A: PRELIMINARY AND GENERAL |  | R
SCHEDULE B: SITE CLEARANCE |  | R
SCHEDULE C: EARTHWORKS (PIPE TRENCHES) |  | R
SCHEDULE D: BEDDING (PIPES) |  | R
SCHEDULE E: MEDIUM PRESSURE PIPELINES |  | R | 0 | #DIV/0! | 45 | 35
SCHEDULE F: ERF CONNECTIONS |  | R
SCHEDULE G: YARD CONNECTIONS |  | R
SCHEDULE H: ON PROPERTY PLUMBING |  | R
SCHEDULE I: METER INSTALLATION |  | R | 0 | #DIV/0! | 55 | 45
0
SCHEDULE J: OCCUPATIONAL HEALTH AND SAFETY |  | R |  |  |  | 20
|  |  |  | CAPEX | OPEX | 100
SUBTOTAL 1……………………………………..…………………………………………… |  | R | 0 | 0 | 0
Escalation
SUBTOTAL 2……………………………………..……………………………………………
Add Estimated Escalation (@ 7% of Subtotal 1) |  | R | 0 | 0 | 0
SUBTOTAL 2 |  | R | 0 | 0 | 0
Add Contingencies (@ 10% of Subtotal 2) |  | R | 0 | 0 | 0
SUBTOTAL 3……………………………………..…………………………………………… |  | R | 0 | 0 | 0
Add VAT (@ 15% of Subtotal 3) |  | R | 0 | 0 | 0
AMOUNT INCL.VAT |  | R | 0 | 0 | 0
|  |  | Capex | #DIV/0!
|  |  | Opex | #DIV/0!
#DIV/0!
PF22.3.2
PF22.4